NORTHERN TERRITORY OF AUSTRALIA

water supply and sewerage REGULATIONS

As in force at 1 July 1999

Table of provisions

1	Citation	1

2	Definitions	1

3	Accuracy of meter	1

3A	Charges for sewerage service	1

3C	Water charges	2

4	Pro rata sewerage charges	2

6	Permit to carry out work	2

7	Estimates of costs of connections, &c.	2

8	Loan not to exceed proportion of estimated cost	2

9	Period, &c., of loan	3

10	Fees	3

Schedule 1	Fees

Schedule 2	Cost of travel

ENDNOTES

NORTHERN TERRITORY OF AUSTRALIA

____________________

As in force at 1 July 1999

____________________

water supply and sewerage REGULATIONS

Regulations under the Water Supply and Sewerage Act

1	Citation

These Regulations may be cited as the Water Supply and Sewerage Regulations.

2	Definitions

In these Regulations, unless the contrary intention appears:

fitting means a soil type fitting cleansed by a flushing device and includes a closet pan, urinal stall, pan washer or sterilizer, slop hopper, napkin disposal unit, floor waste, camp or caravan park sewage dump point and each 600 mm of continuous trough or slab for use as a urinal.

3	Accuracy of meter

The prescribed tolerance in the accuracy of the performance of a meter installed under the Act on land or at a location to which the Authority's water supply service is made available is ± 2%.

3A	Charges for sewerage service

(2)	The Minister may, by notice in the Gazette, fix charges for sewerage services to land to which they are made available and the periods to which those charges relate.

(2A)	Where before the expiration of the period for which a charge was fixed under subregulation (2) (the expired period) the Minister had not, under that subregulation, fixed in respect of a period next following the expired period a charge for sewerage services to land to which they are made available, he shall, for the purposes of this regulation and regulation 3B(2), be deemed to have fixed a period of the same duration as the expired period commencing on that expiration, and to have fixed the same charges as those fixed in respect of the expired period, as the period and charges under subregulation (2).

(3)	Where the Minister fixes a charge and a period under subregulation (2) the charge so fixed is the charge payable for the service during that period.

3C	Water charges

(1)	The charge for the supply of water through a meter referred to in section 27 of the Act on or after 1 July 1999 is $0.80 per kilolitre.

(2)	The charge for the supply of water to an automatic fire sprinkler system that is not supplied through a meter is $200 per annum.

4	Pro rata sewerage charges

(1)	For the purposes of section 33(7)(h) of the Act, pro rata sewerage charges shall be calculated by multiplying the amount of the charge by the fraction formed by the number of days in the charge period after the date when the sewerage service first became available divided by the number of days in the charge period.

(2)	Where a sewerage service first becomes available during a charge period, the amount calculated under subregulation (1) is the charge for the service during that period and is payable in advance.

6	Permit to carry out work

The prescribed details of a plan under section 39(3) of the Act submitted with an application for a permit to carry out work are:

(a)	a site plan to scale 1:500;

(b)	an architectural floor plan; and

(c)	details of floor levels and levels of external finished surfaces.

7	Estimates of costs of connections, &c.

An application under section 74(1) of the Act for assistance to pay for work or repairs shall be accompanied by at least 2 estimates furnished by licensed persons which set out the total cost of carrying out the work or repairs.

8	Loan not to exceed proportion of estimated cost

A loan offered by the Authority under section 74(3)(a) of the Act shall not exceed 85% of total estimated cost of carrying out the work or repairs furnished under regulation 6.

9	Period, &c., of loan

(1)	Where an applicant accepts the offer of a loan and enters into an agreement with the Authority under section 74(4) of the Act:

(a)	the principal shall be repaid in quarterly instalments that are, as near as practicable, equal, being:

(i)	where the loan does not exceed $2,000 – not more than 20 instalments;

(ii)	where the loan exceeds $2,000 but does not exceed $5,000 – not more than 30 instalments; and

(iii)	where the loan exceeds $5,000 – not more than 40 instalments; and

(b)	the loan shall be subject to interest calculated in accordance with subregulation (2) payable in quarterly instalments and charged at the rate per centum equal to the average rate paid at the date of the agreement by the Treasurer to the Commonwealth plus 1%.

(2)	The interest referred to in subregulation (1)(b) shall be calculated in advance on the balance of the loan including arrears of interest, if any, remaining unpaid at each quarterly instalment date.

10	Fees

(1)	The fee payable for reading a meter on the request of the owner of the land to which water is supplied through the meter is $50.

(2)	The fee for a matter or service specified in Column 2 of Schedule 1 in relation to the section of the Act specified opposite in Column 1 is the fee specified in relation to the matter or service in Column 3.

(3)	In Schedule 1, cost of travel means the amount calculated in accordance with Schedule 2 in respect of the matter or service specified in Column 2 of Schedule 1 to which it relates.

(4)	In Schedules 1 and 2, business hours means the period between 8.00 am and 4.30 pm inclusive.

Schedule 1	Fees

regulation 10

| Column 1 | Column 2 | Column 3 |
| --- | --- | --- |
| Section of Act | Matter or service | Fee |
| section 15 | Application for sewerage service to land | nil |
| section 16 | Application for installation of service pipe to supply water to land: (a) if pipe size equal to or less than 25mm | $140 plus the cost of travel |
|  | (b) if pipe size exceeds 25mm but does not exceed 50mm | $175 plus the cost of travel |
|  | (c) if pipe size exceeds 50mm but does not exceed100 mm | $275 plus the cost of travel |
|  | (d) if pipe size exceeds 100mm but does not exceed 150 mm | $300 plus the cost of travel |
|  | (e) if pipe size exceeds 150mm | $350 plus the cost of travel |
| section 17 | Application for supply of water service to land to which a service pipe has been installed | $55 plus the cost of travel |
| section 18(3) and (4) | Inspection of pumping installation after defects of bore installation connection to water supply service remedied Fee for each subsequent inspection if further defects apparent | $140 plus the cost of travel $95 plus |
| section 25 | Application for re-connection of water supply or removal of device restricting supply of water: (a) if re-connection or removal of restriction will occur within business hours (b) if re-connection or removal of restriction will occur outside business hours | $55 plus the cost of travel $70 plus the cost of travel |
| section 26(5) | Application for testing of meter: (a) if meter size equal to or less than 25 mm | $165 plus the cost of travel |
|  | (b) if meter size exceeds 25 mm | $235 plus the cost of travel |
| section 47(3) | Request to enter into trade waste agreement | $100 |
| section 69(3) | Copy of or extract from plan: (a) size A4 per page (b) other size per page | $1.00 $2.00 |

Schedule 2	Cost of travel

regulation 10

The cost of travel is the sum of the amounts payable, if any, for each of the following:

|  | Within business hours | Outside business hours |
| --- | --- | --- |
| (a) cost of labour during travelling time after the first hour (b) cost of motor vehicle if necessary to travel to a place that is more than 50km: (i) if travelling from Darwin – from the GPO in Darwin; or (ii) if travelling from Katherine, Tennant Creek or Alice Springs – from the PO in that place (c) travel allowance (d) cost of air travel | $60 per hour NT Fleet charge out rates plus 15c per km if vehicle weight is less than 2t or 20c per km if vehicle weight is 2t more actual cost actual cost | $85 per hour NT Fleet charge out rates plus 15c per km if vehicle weight is less than 2t or 20c per km if vehicle weight is 2t or more actual cost actual cost |

ENDNOTES

1	KEY

Key to abbreviations

amd = amended 				od = order

app = appendix				om = omitted

bl = by-law					pt = Part

ch = Chapter					r = regulation/rule

cl = clause					rem = remainder

div = Division					renum = renumbered

exp = expires/expired				rep = repealed

f = forms					s = section

Gaz = Gazette					sch = Schedule

hdg = heading					sdiv = Subdivision

ins = inserted					SL = Subordinate Legislation

lt = long title					sub = substituted

nc = not commenced

2	LIST OF LEGISLATION

| Water Supply and Sewerage Regulations (SL No. 20, 1983) |  |
| --- | --- |
| Notified | 1 July 1983 |
| Commenced | 1 July 1983 |
| Amendments of the Water Supply and Sewerage Regulations (SL No. 20, 1985) |  |
| Notified | 1 July 1985 |
| Commenced | 1 July 1985 |
| Amendment of the Water Supply and Sewerage Regulations (SL No. 21, 1986) |  |
| Notified | 1 July 1986 |
| Commenced | 1 July 1986 |
| Water Supply and Sewerage Amendment Act 1986 (Act No. 69, 1986) |  |
| Assent date | 19 December 1986 |
| Commenced | 1 July 1986 (s 2) |
| Amendments of the Water Supply and Sewerage Regulations (SL No. 37, 1987) |  |
| Notified | 18 September 1987 |
| Commenced | 18 September 1987 |
| Amendments of the Water Supply and Sewerage Regulations (SL No. 41, 1988) |  |
| Notified | 30 September 1988 |
| Commenced | 30 September 1988 |
| Amendment of the Water Supply and Sewerage Regulations (SL No. 27, 1989) |  |
| Notified | 2 October 1989 |
| Commenced | 2 October 1989 |
| Amendments of Water Supply and Sewerage Regulations (SL No. 8, 1991) |  |
| Notified | 28 March 1991 |
| Commenced | 28 March 1991 |
| Real Property (Consequential Amendments) Act 1991 (Act No. 33, 1991) |  |
| Assent date | 25 June 1991 |
| Commenced | 1 October 1991 (Gaz S49, 1 October 1991) |
| Amendments of Water Supply and Sewerage Regulations (SL No. 44, 1991) |  |
| Notified | 11 September 1991 |
| Commenced | 11 September 1991 |
| Statute Law Miscellaneous Amendments Act 1991 (Act No. 77, 1991) |  |
| Assent date | 16 December 1991 |
| Commenced | 16 December 1991 |
| Amendments of the Water Supply and Sewerage Regulations (SL No. 76, 1991) |  |
| Notified | 20 December 1991 |
| Commenced | 2 January 1992 (r 1) |
| Amendment of Water Supply and Sewerage Regulations (SL No. 47, 1992) |  |
| Notified | 30 September 1992 |
| Commenced | 1 October 1992 (r 1) |
| Amendment of Water Supply and Sewerage Regulations (SL No. 21, 1995) |  |
| Notified | 30 June 1995 |
| Commenced | 1 July 1995 (r 1) |
| Amendments of Water Supply and Sewerage Regulations 1999 (SL No. 24, 1999) |  |
| Notified | 1 July 1999 |
| Commenced | 1 July 1999 |

3	LIST OF AMENDMENTS

r 2	sub No. 20, 1985, r 3

amd Act No. 69, 1986, s 19

r 3	amd No. 37, 1987, r 5

r 3A	ins No. 20 1985, r 4

amd No. 21 1986, r 3; Act No. 69, 1986, s 19; No. 37, 1987, r 2; No. 41, 1988, r 1; Act No. 77, 1991, s 12

r 3B	ins No. 20, 1985, r 4

sub Act No. 69 1986, s 19

amd Act No. 77, 1991, s 12

rep No. 76, 1991, r 3

r 3C	ins No. 20, 1985, r 4

sub Act No. 69, 1986, s 19

amd No. 37, 1987, r 3

sub No. 27, 1989; No. 8, 1991

amd No. 76, 1991, r 4

sub No. 47, 1992, r 2; No. 21, 1995, r 2; No. 24, 1999, r 3

r 3CA	ins No. 37, 1987, r 4

amd No. 41, 1988, r 2

rep No. 27, 1989

r 3D	ins Act No, 69, 1986, s 19

amd No. 37, 1987 r 5; Act No. 33, 1991, s 7

rep No. 76, 1991, r 5

r 4	sub Act No. 69, 1986, s 19

r 5	rep No. 24, 1999, r 4

r 8	amd No. 37, 1987 r 5

r 9	amd No. 37, 1987, r 5

r 10	sub No. 24, 1999, r 5

sch 	amd No. 37, 1985, r 5

sub No. 44, 1991, r 10; No. 24, 1999, r 6

sch 2	ins No. 24, 1999, r 6