NORTHERN TERRITORY OF AUSTRALIA

ELECTRICAL WORKERS AND CONTRACTORS REGULATIONS

As in force at 15 July 2001

Table of provisions

Part I	Preliminary

1	Citation	1

2	Commencement	1

3	Repeal	1

4	Interpretation	1

Part II	Qualifications for electrical workers' licences

5	Electrical worker's licence endorsed as electrical mechanic grade A	2

6	Electrical worker's licence endorsed as electrical fitter grade A	3

7	Electrical worker's licence endorsed as electrical linesman grade A	5

8	Electrical worker's licence endorsed as electrical cable jointer grade A	6

9	Electrical worker's licence endorsed as electrical mechanic grade B	7

10	Electrical worker's licence endorsed as electrical fitter grade B	8

11	Electrical worker's licence endorsed as refrigeration mechanic grade R	9

12	Electrical worker's licence endorsed as instrument fitter grade R	11

13	Application for electrical worker's licence	12

14	Form of electrical worker's licence	12

15	Rights and duties of holders of licences	12

16	Application for renewal of licence	12

Part III	Electrical contractors' licences

17	Application by natural person for electrical contractor's licence	13

18	Application by incorporated or unincorporated body, &c., for electrical contractor's licence	13

19	Fee for application by natural person	13

20	Fee for application by incorporated or unincorporated body, &c.	13

21	Form of licence	13

22	Application for renewal of licence	13

Part IV	Apprentices

23	Examination	14

Part V	Miscellaneous

24	Fee for copy of licence or permit	14

25	Prescription for purposes of section 53	14

Schedule 1

Schedule 2

Schedule 3

ENDNOTES

NORTHERN TERRITORY OF AUSTRALIA

____________________

As in force at 15 July 2001

____________________

ELECTRICAL WORKERS AND CONTRACTORS REGULATIONS

Regulations under the Electrical Workers and Contractors Act

Part I	Preliminary

1	Citation

These Regulations may be cited as the Electrical Workers and Contractors Regulations.

2	Commencement

These Regulations shall come into operation on the commencement of the Electrical Workers and Contractors Amendment Act 1983.

3	Repeal

The Electrical Workers and Contractors Regulations, being Regulations No. 38 of 1978, are repealed.

4	Interpretation

In these Regulations, unless the contrary intention appears:

College means the Darwin Institute of Technology continued in existence by the Advanced Education and Darwin Institute of Technology Act or the Community College of Central Australia.

tradesman's certificate means:

(a)	a tradesman's certificate issued under the Tradesmen's Rights Regulation Act 1946 of the Commonwealth; or

(b)	another document issued under that Act which attests that the holder of the document would be eligible to hold a tradesmen's certificate provided certain residency requirements were met or the holder was no longer a member of the Defence Forces of Australia.

Part II	Qualifications for electrical workers' licences

5	Electrical worker's licence endorsed as electrical mechanic grade A

The qualifications required for the granting of an application for an electrical worker's licence endorsed as electrical mechanic grade A are that the applicant:

(a)	was, immediately before the commencement of the Electrical Workers and Contractors Amendment Act 1983, the holder of an electrical mechanic's licence grade A under the Electrical Workers and Contractors Act as then in force;

(b)	has:

(i)	completed an apprenticeship to the trade of electrical mechanics or electrical fitter/mechanic under the Industry and Employment Training Act;

(ii)	satisfactorily completed the course of instruction for electrical fitter/mechanic apprentices at a College; and

(iii)	during his apprenticeship, obtained at least 12 months experience in the trade work of an electrical mechanic;

(c)	has, outside the Territory:

(i)	completed an apprenticeship to the trade of electrical mechanic or electrical fitter/ mechanic;

(ii)	satisfactorily completed a course of instruction for electrical mechanic or electrical fitter/mechanic apprentices; and

(iii)	within the period of 12 months immediately before the date of his application, been the holder of a licence or certificate specified in Schedule 1;

(d)	has, in the opinion of the Board, sufficient knowledge of the trade of electrical mechanic, evidenced, where the Board thinks fit, by an examination conducted or approved by the Board, and:

(i)	he is the holder of an electrical worker's licence endorsed as electrical fitter grade A and has obtained at least 12 months experience in the trade work of electrical mechanic;

(ii)	he is the holder of an electrical worker's licence endorsed as electrical mechanic grade B and, after the granting of the licence, has obtained at least 12 months experience in the trade work of electrical mechanic;

(iii)	he has completed an apprenticeship to the trade of electrical mechanic but has failed to complete satisfactorily the course of instruction for electrical fitter/mechanic apprentices referred to in paragraph (b); or

(iv)	he is the holder of a tradesman's certificate endorsed as electrical mechanic; or

(e)	has:

(i)	in the opinion of the Board, sufficient knowledge of the trade of electrical mechanic, evidenced, where the Board thinks fit, by an examination conducted or approved by the Board; and

(ii)	within the period of 12 months immediately before the date of his application, been the holder of a licence or certificate specified in Schedule 1 and it was granted based upon an examination or practical experience and training of the applicant and that experience and training is, in the opinion of the Board, at least equivalent to the experience and training which an electrical fitter/mechanic apprentice would obtain during his apprenticeship in the Territory.

6	Electrical worker's licence endorsed as electrical fitter grade A

The qualifications required for the granting of an application for an electrical worker's licence endorsed as electrical fitter grade A are that the applicant:

(a)	was, immediately before the commencement of the Electrical Workers and Contractors Amendment Act 1983, the holder of an electrical mechanic's licence grade R endorsed for electrical fitting without restriction, under the Electrical Workers and Contractors Act as then in force;

(b)	has:

(i)	completed an apprenticeship to the trade of electrical fitter or fitter/mechanic under the Industry and Employment Training Act;

(ii)	satisfactorily completed the course of instruction for electrical fitter/mechanic apprentices at a College; and

(iii)	during his apprenticeship, has obtained at least 12 months experience in the trade work of electrical fitter;

(c)	has, outside the Territory:

(i)	completed an apprenticeship to the trade of electrical fitter or electrical fitter/ mechanic;

(ii)	satisfactorily completed a course of instruction for electrical fitter apprentices; and

(iii)	within the period of 12 months immediately before the date of his application, been the holder of a licence or certificate specified in Schedule 2;

(d)	has, in the opinion of the Board, sufficient knowledge of the trade of electrical mechanic, evidenced, where the Board thinks fit, by an examination conducted or approved by the Board, and he:

(i)	is the holder of an electrical worker's licence endorsed as electrical mechanic grade A and has at least 12 months experience in the trade work of electrical fitter;

(ii)	is the holder of an electrical worker's licence endorsed as electrical fitter grade B and, after the granting of the licence, has obtained at least 12 months experience in the trade work of electrical fitter;

(iii)	has completed an apprenticeship to the trade of electrical fitter but has failed to complete satisfactorily the course of instruction for electrical fitter/mechanic apprentices at a College; or

(iv)	is the holder of a tradesman's certificate endorsed as electrical fitter; or

(e)	has sufficient knowledge of the trade of electrical fitter, evidenced, where the Board thinks fit, by an examination conducted or approved by the Board, and he has:

(i)	within the period of 12 months immediately before the date of his application, been the holder of a licence or certificate specified in Schedule 2 and it was granted based upon an examination or practical experience and training of the applicant and that experience and training is, in the opinion of the Board, at least equivalent to the experience and training which an electrical fitter apprentice would obtain during his apprenticeship in the Territory; or

(ii)	completed an apprenticeship to the trade of electrical fitter or electrical fitter/ mechanic and satisfactorily completed a course of instruction for electrical fitter apprentices, outside the Territory but in a State, other Territory or New Zealand, which does not licence electrical fitters.

7	Electrical worker's licence endorsed as electrical linesman grade A

The qualifications required for the granting of an application for an electrical worker's licence endorsed as electrical linesman grade A are that the applicant:

(a)	was, immediately before the commencement of the Electrical Workers and Contractors Amendment Act 1983, the holder of an electrical mechanic's licence grade R endorsed as a linesman without restriction, under the Electrical Workers and Contractors Act as then in force;

(b)	has:

(i)	completed an apprenticeship to the trade of electrical linesman/X.P.L.E. cable jointing under the Industry and Employment Training Act; and

(ii)	satisfactorily completed the course of instruction for electrical linesman/ X.P.L.E. cable jointing apprentices at a College;

(c)	has, in the opinion of the Board, sufficient knowledge of the trade of electrical linesman, evidenced, where the Board thinks fit, by an examination conducted or approved of by the Board, and he:

(i)	holds an electrical worker's licence endorsed as electrical mechanic or electrical fitter, has at least 3 months experience working on overhead electrical line construction or maintenance and produces a certificate from an electrical engineer or the holder of an electrical worker's licence endorsed as electrical linesman grade A stating that the applicant has had at least 300 hours experience working up a pole on dead line work and that, in the opinion of the engineer or holder, the applicant is suitable for this class of work; or

(ii)	has completed an apprenticeship to the trade of electrical linesman but has failed to complete satisfactorily the course of instruction for electrical linesman/X.P.L.E. cable jointing apprentices at a College; or

(d)	has, in the opinion of the Board, sufficient knowledge of the trade of electrical linesman evidenced, where the Board thinks fit, by an examination conducted or approved by the Board, and he:

(i)	has been employed outside the Territory as an electrical linesman for at least 2 years; and

(ii)	produces a certificate from his employer for the period stating that the applicant's conduct has been satisfactory and outlining the experience the applicant has had in the construction and maintenance of overhead electrical lines and the previous employment and experience is, in the opinion of the Board, at least equivalent to the experience and training which an electrical linesman/X.P.L.E. cable jointer apprentice would obtain during his apprenticeship in the Territory.

8	Electrical worker's licence endorsed as electrical cable jointer grade A

The qualifications required for the granting of an application for an electrical worker's licence endorsed as an electrical cable jointer grade A are that the applicant:

(a)	was immediately before the commencement of the Electrical Workers and Contractors Amendment Act 1983, the holder of an electrical mechanic's licence grade R endorsed as a cable jointer without restriction, under the Electrical Workers and Contractors Act as then in force;

(b)	has, in the opinion of the Board, sufficient knowledge of the trade of electrical cable jointer evidenced, where the Board thinks fit, by an examination conducted or approved by the Board and he:

(i)	has been employed as an assistant in electrical cable jointing work for at least 2 years, has satisfactorily completed a theoretical and practical training course, satisfactory to the Board, in relation to electrical cable jointing, produces a certificate from his employer for the period stating that the applicant's conduct has been satisfactory and outlining the experience he has had in the electrical industry and produces a certificate from an electrical engineer or the holder of an electrical worker's licence endorsed as electrical cable jointer grade A stating that the applicant has at least 300 hours experience in jointing and terminating cables that are not energized and that, in the opinion of the engineer or holder, the applicant is suitable for this class of work;

(ii)	is the holder of an electrical worker's licence endorsed as electrical mechanic or electrical fitter, produces evidence of at least 3 months experience in the work of an electrical cable jointer and produces a certificate from an electrical engineer or the holder of an electrical worker's licence endorsed as electrical cable jointer grade A stating that the applicant has at least 300 hours experience in jointing and terminating cables that are not energized and that, in the opinion of the engineer or holder, the applicant is suitable for this class of work; or

(iii)	has been employed outside the Territory as an electrical cable jointer for at least 2 years and produces a certificate from his employer for that period stating that his conduct has been satisfactory and outlining the experience he has had in the work of an electrical cable jointer and the certificate and experience outlined in it are satisfactory to the Board.

9	Electrical worker's licence endorsed as electrical mechanic grade B

(1)	The qualifications required for the granting of an application for an electrical worker's licence endorsed as electrical mechanic grade B are that the applicant:

(a)	was, immediately before the commencement of the Electrical Workers and Contractors Amendment Act 1983, the holder of a "B" grade licence endorsed as an electrical mechanic under the Electrical Workers and Contractors Act as then in force;

(b)	has, in the opinion of the Board, sufficient knowledge of the trade of electrical mechanic evidenced, where the Board thinks fit, by an examination conducted or approved by the Board and has:

(i)	within the Territory:

(A)	completed an apprenticeship to the trade of electrical fitter/mechanic under the Industry and Employment Training Act; and

(B)	during his apprenticeship, obtained at least 12 months experience in the trade work of an electrical mechanic,

but has failed to satisfactorily complete the course of instruction for electrical fitter/mechanic apprentices at a College;

(ii)	outside the Territory:

(A)	completed an apprenticeship to the trade of electrical mechanic or electrical fitter/mechanic; and

(B)	during his apprenticeship obtained at least 12 months experience in the trade work of an electrical mechanic,

but has failed to satisfactorily complete a course of instruction for electrical mechanic or electrical fitter/mechanic apprentices; or

(iii)	within the period of 12 months immediately before the date of his application, been the holder of a licence from a State, Territory or New Zealand to carry out work equivalent to the work the holder of an electrical worker's licence endorsed as electrical mechanic grade B is permitted to carry out and the licence was granted based upon an examination or practical experience and training of the applicant and that experience and training is, in the opinion of the Board, equivalent to the experience and training which an apprentice electrical fitter/mechanic would obtain during his apprenticeship in the Territory.

10	Electrical worker's licence endorsed as electrical fitter grade B

The qualifications required for the granting of an application for an electrical worker's licence endorsed as electrical fitter grade B are that the applicant has, in the opinion of the Board, sufficient knowledge of the trade of electrical fitter or electrical fitter/mechanic evidenced, where the Board thinks fit, by an examination conducted or approved by the Board and he has:

(a)	within the Territory:

(i)	completed an apprenticeship to the trade of electrical fitter or electrical fitter/mechanic under the Industry and Employment Training Act; and

(ii)	during his apprenticeship, obtained at least 12 months experience in the trade work of an electrical fitter,

but has failed to satisfactorily complete the course of instruction for electrical fitter or electrical fitter/mechanic apprentices at a College;

(b)	outside the Territory:

(i)	completed an apprenticeship to the trade of electrical fitter or electrical fitter/ mechanic; and

(ii)	during his apprenticeship, obtained at least 12 months experience in the trade work of an electrical fitter,

but has failed to satisfactorily complete a course of instruction for electrical fitter or electrical fitter/mechanic apprentices; or

(c)	within the period of 12 months immediately before the date of his application, been the holder of a licence from a State, Territory or New Zealand to carry out work equivalent to the work the holder of an electrical worker's licence endorsed as electrical fitter grade B is permitted to carry out and the licence was granted based upon an examination or practical experience and training of the applicant and that experience and training is, in the opinion of the Board, at least equivalent to the experience and training which an electrical fitter apprentice would obtain during his apprenticeship in the Territory.

11	Electrical worker's licence endorsed as refrigeration mechanic grade R

(1)	For the purposes of section 18(1)(e) of the Act, refrigeration mechanic is a prescribed trade classification.

(2	The qualifications required for the granting of an application for an electrical worker's licence endorsed as refrigeration mechanic grade R are that the applicant:

(a)	was, immediately before the commencement of the Electrical Workers and Contractors Amendment Act 1983, the holder of an electrical mechanics licence grade R endorsed as a refrigeration mechanic, under the Electrical Workers and Contractors Act as then in force; or

(b)	has, in the opinion of the Board, sufficient knowledge of the trade of refrigeration mechanic evidenced, where the Board thinks fit, by an examination conducted or approved by the Board and:

(i)	within the Territory, he has completed an apprenticeship to the trade of refrigeration mechanic under the Industry and Employment Training Act;

(ii)	outside the Territory, he has completed an apprenticeship to the trade of refrigeration mechanic;

(iii)	he is the holder of a tradesman's certificate in a classification which, in the opinion of the Board, is appropriate;

(iv)	within the period of 12 months immediately before the date of his application, he has been the holder of a licence from a State, Territory or New Zealand to carry out work at least equivalent to the work the holder of an electrical worker's licence endorsed as refrigeration mechanic grade R is permitted to carry out; or

(v)	he has completed an apprenticeship to another trade classification and subsequently:

(A)	obtained experience in the trade of refrigeration mechanic; and

(B)	satisfactorily completed a course of instruction in relation to refrigeration mechanics,

and that experience and course is, in the opinion of the Board, at least equivalent to the experience and course which a refrigeration mechanic apprentice would obtain or complete, as the case may be, during his apprenticeship in the Territory.

12	Electrical worker's licence endorsed as instrument fitter grade R

(1)	For the purposes of section 18(1)(e) of the Act, instrument fitter is a prescribed trade classification.

(2)	The qualifications required for the granting of an application for an electrical worker's licence endorsed as instrument fitter grade R are that he:

(a)	was, immediately before the commencement of the Electrical Workers and Contractors Amendment Act 1983, the holder of an electrical mechanic's licence grade R endorsed as instrument fitter, under the Electrical Workers and Contractors Act as then in force; or

(b)	has, in the opinion of the Board, sufficient knowledge of the trade of instrument fitter evidenced, where the Board thinks fit, by an examination conducted or approved by the Board and:

(i)	within the Territory, he has completed an apprenticeship to the trade of instrument fitter under the Industry and Employment Training Act;

(ii)	outside the Territory, he has completed an apprenticeship to the trade of instrument fitter;

(iii)	he is the holder of a tradesman's certificate in a classification which, in the opinion of the Board, is appropriate;

(iv)	within the period of 12 months immediately before the date of his application, he has been the holder of a licence from a State, Territory or New Zealand to carry out work equivalent to the work the holder of an electrical worker's licence endorsed as instrument fitter grade R is permitted to carry out; or

(v)	he has completed an apprenticeship to another trade classification and subsequently:

(A)	obtained experience in the trade of instrument fitting; and

(B)	satisfactorily completed a course of instruction in relation to instrument fitting,

and that experience and course is, in the opinion of the Board, at least equivalent to the experience and course which an instrument fitter apprentice would obtain or complete, as the case may be, during his apprenticeship in the Territory.

13	Application for electrical worker's licence

For the purposes of:

(a)	section 21(1)(f) of the Act, the prescribed fee is:

(i)	$50.00; or

(ii)	where the applicant is already the holder of an electrical worker's licence, $10.00; and

(b)	section 21(1A) of the Act, an application under section 21(1) for an electrical worker's licence shall be in accordance with Form 1.

14	Form of electrical worker's licence

For the purposes of section 24(1)(a) of the Act, an electrical worker's licence shall be in accordance with Form 2.

15	Rights and duties of holders of licences

(1)	It is a condition of every licence that, subject to subsection (2), the licence entitles the holder to carry out electrical work in the trade classification for which it is endorsed subject to conditions specified in the licence.

(2)	An electrical worker's licence does not entitle the holder to carry out electrical work unless it is carried out:

(a)	otherwise than for a fee or reward;

(b)	for the purpose of wiring his own or his employer's premises or capital equipment; or

(c)	as an employee of the holder of an electrical contractor's licence.

16	Application for renewal of licence

For the purposes of section 25 of the Act:

(a)	an application for renewal of an electrical worker's licence shall be in accordance with Form 3; and

(b)	the prescribed fee is $50.00.

Part III	Electrical contractors' licences

17	Application by natural person for electrical contractor's licence

For the purposes of section 33(1) of the Act, an application by a natural person for an electrical contractor's licence shall be in accordance with Form 4.

18	Application by incorporated or unincorporated body, &c., for electrical contractor's licence

For the purposes of section 33(2) of the Act, an application by an incorporated or unincorporated body or other association of persons for an electrical contractor's licence shall be in accordance with Form 5.

19	Fee for application by natural person

For the purposes of section 34(1)(b) of the Act, the prescribed fee for an application by a natural person for an electrical contractor's licence is $215.00 or, where the applicant is already the holder of an electrical contractor's licence, $25.00.

20	Fee for application by incorporated or unincorporated body, &c.

For the purposes of section 34(2)(e) of the Act, the prescribed fee for an application by an incorporated or unincorporated body or other association of persons for an electrical contractor's licence is $215.00 or, where the applicant is already the holder of an electrical contractor's licence, $25.00.

21	Form of licence

For the purposes of section 37(1)(a) of the Act, an electrical contractor's licence shall be in accordance with Form 6.

22	Application for renewal of licence

For the purposes of section 38 of the Act:

(a)	an application for renewal of an electrical contractor's licence shall be in accordance with Form 7; and

(b)	the prescribed fee is $215.00.

Part IV	Apprentices

23	Examination

For the purposes of section 42B(1)(b) of the Act, a prescribed examination is an examination which is conducted by a College at the completion of the second year of an apprentice's course and covers the theoretical and practical subjects which are part of the apprentice's course up to that date.

Part V	Miscellaneous

24	Fee for copy of licence or permit

For the purposes of section 52 of the Act, the prescribed fee for the issue of a copy of:

(a)	an electrical worker's licence is $10.00;

(b)	a permit is $10.00; and

(c)	an electrical contractor's licence is $25.00

25	Prescription for purposes of section 53

For the purposes of section 53(g) of the Act, a prescribed body includes a College.

Schedule 1

Certificate of competency endorsed as an electrical mechanic, issued under the Electricity Act 1976 of Queensland and Regulations under that Act.

A Grade Electrical Worker's Licence, or an unrestricted "B" Grade Electrical Worker's Licence endorsed for installing, issued under the Electricity Act, 1945 of Western Australia and Regulations under that Act.

Electrician's licence issued under the Electricity Development Act, 1945 of New South Wales and Regulations under that Act.

A Grade electrical mechanic's licence issued under the State Electricity Commission Act 1958 of Victoria and Regulations under that Act.

A grade electrical mechanic's licence issued under the Hydro-Electric Commission Act 1944 of Tasmania and Regulations under that Act.

A Class Electrical Worker's Licence issued under the Electrical Workers and Contractors Licensing Act, 1965-1978 of South Australia and Regulations under that Act.

Electrician's licence, Grade A issued under the Electricity Ordinance 1972 of the Australian Capital Territory and Regulations under that Act.

Certificate of Registration as an electrical technician or electrician, issued under the Electrical Registration Act 1979 of New Zealand and Regulations under that Act.

Schedule 2

Certificate of competency endorsed as an electrical fitter, issued under the Electricity Act 1976 of Queensland and Regulations under that Act.

A Grade Electrical Worker's Licence, or an unrestricted "B" Grade Electrical Worker's Licence endorsed for Fitting, issued under the Electricity Act, 1945 of Western Australia and Regulations under that Act.

A Class Electrical Worker's Licence issued under the Electrical Workers and Contractors Licensing Act, 1965-1978 of South Australia and Regulations under that Act.

Schedule 3

FORM 1

regulation 13

NORTHERN TERRITORY OF AUSTRALIA

Electrical Workers and Contractors Act

APPLICATION FOR ELECTRICAL WORKER'S LICENCE

To the Electrical Workers and Contractors Board

1.	I, .............................................................................................................

(full name)

of ........................................................................................................................

(residential address)

hereby apply for an electrical worker's licence endorsed as:

*electrical mechanic grade A/grade B/grade R

*electrical fitter grade A/grade B/grade R

*electrical linesman grade A/grade R

*electrical cable jointer grade A/grade R

*refrigeration mechanic grade R

*instrument fitter grade R.

2.	Accompanying this application is:

(a)	evidence of service of apprenticeship, if any;

(b)	evidence of examinations passed by me, if any;

(c)	evidence of my experience in electrical work, if any;

(d)	a statement of results that I have obtained in a colour identification test;

(e)	a statutory declaration specifying all licences and permits in relation to electrical work which I hold or held in the 2 years immediately before the date of this application and which specifies whether those licences and permits are current, have expired or have been suspended, cancelled or otherwise dealt with; and

(f)	the prescribed fee.

3.	My postal address is ................................................................................

Dated this                                                day of                                       , 19   .

.....................................

(signature of applicant)

* Delete where inapplicable.

FORM 2

regulation 14

NORTHERN TERRITORY OF AUSTRALIA

Electrical Workers and Contractors Act

ELECTRICAL WORKER'S LICENCE

The Electrical Workers and Contractors Board, in pursuance of section 22(1) of the Electrical Workers and Contractors Act, hereby issues to .........................................................................................................................

an electrical worker's licence endorsed as ..................................................... grade .......... licence number ..............., which entitles .................................... to carry out the electrical work of ................................ subject to the conditions set out below.

Dated this                                               day of                                         , 19....

.........................

Chairman

CONDITIONS

FORM 3

regulation 16

NORTHERN TERRITORY OF AUSTRALIA

Electrical Workers and Contractors Act

APPLICATION FOR RENEWAL OF ELECTRICAL WORKER'S LICENCE

To the Electrical Workers and Contractors Board

1.	I, .............................................................................................................

(full name)

the holder of an electrical worker's licence endorsed as ...................... grade ..... licence number........, hereby apply for the renewal of my licence.

2.	Details of my experience in electrical work during the currency of my licence are ........................................................................................................

Dated this                                                day of                                        , 19....

.....................................

(signature of applicant)

FORM 4

regulation 17

NORTHERN TERRITORY OF AUSTRALIA

Electrical Workers and Contractors Act

APPLICATION BY NATURAL PERSON FOR ELECTRICAL CONTRACTOR'S LICENCE

To the Electrical Workers and Contractors Board

1.	I, ..............................................................................................................

(full name)

of ......................................................................................................................,

(residential address)

hereby apply for an electrical contractor's licence.

2.	Accompanying this application is:

(a)	evidence that I have been the holder of an electrical worker's licence endorsed as electrical mechanic grade A for 2 years or more;

(b)	evidence that I am competent, by reason of experience in performing electrical installation work and supervising others in performing such work, to carry on the business of an electrical contractor; and

(c)	the prescribed fee.

3.	*I trade under the business name of ........................................... which is a registered business name, No....................

4.	My postal address is ...............................................................................

Dated this                 day of                , 19.....

.......................................

(signature of applicant)

*Delete where inapplicable.

FORM 5

regulation 18

NORTHERN TERRITORY OF AUSTRALIA

Electrical Workers and Contractors Act

APPLICATION BY .............................

FOR ELECTRICAL CONTRACTOR'S LICENCE

To the Electrical Workers and Contractors Board

1.	I, ............................................................................................................

(full name)

of ......................................................................................................................

(residential address)

hereby apply for an electrical contractor's licence on behalf of ...........................................................................................................................

2.

PART A* – INCORPORATED BODY

................................................. is an incorporated body under the Corporations Act 2001 and its registered office is located at ............. ....................................................... ................................................................

The following persons are the directors of the incorporated body

............................. of .........................

............................. of .........................

............................. of .........................

and ......................... of .........................

is the secretary.

PART B* – INCORPORATED ASSOCIATION OF PERSONS

.......................................... which carries on business at ........................................... ........................................................ is an incorporated association under the Associations Incorporation Act.  The name of the association's public officer is ...................................... and his address is ............................................... .......................................................

*Delete where inapplicable.

PART C – UNINCORPORATED BODY OR ASSOCIATION OF PERSONS

...................................................... is an unincorporated association of the following persons:

............................. of .........................

............................. of .........................

............................. of .........................

3.	Accompanying this application by a body or other association of persons is:

(a)	a copy of the instrument defining its powers;

(b)	a list of its directors, partners, committee or other governing body;

(c)	a list of its secretary, managers and other executives;

(d)	such evidence as the applicant wishes the Board to consider:

(i)	of the applicant's good repute and fitness to carry on business as an electrical contractor; and

(ii)	concerning the person whom it nominates as the holder of an electrical worker's licence endorsed as electrical mechanic grade A; and

(e)	the prescribed fee.

4.	*The body or other association of persons trades under the business name of ............................... which is a registered business name, No...................

5.	The body or other association of persons has as one of its members or employees in the Territory ...............................................................................

of .............................................................................................................. who is qualified under section 33(1) of the Act to be the holder of an electrical contractor's licence in his own right.

The licence number of the electrical worker's licence endorsed as electrical mechanic grade A held by ................................................................. is .......................................................

Dated this                 day of                 , 19....

FORM 6

regulation 21

NORTHERN TERRITORY OF AUSTRALIA

Electrical Workers and Contractors Act

ELECTRICAL CONTRACTOR'S LICENCE

The Electrical Workers and Contractors Board, in pursuance of section 37(1)(a) of the Electrical Workers and Contractors Act, hereby issues to ..............................................................................., * a natural person/an incorporated body/incorporated association of persons/unincorporated association of persons an electrical contractor's licence, licence number ........., subject to the conditions set out below.

Dated this                 day of                 , 19....

..................

Chairman

*  Delete where inapplicable

CONDITIONS

FORM 7

regulation 22(a)

NORTHERN TERRITORY OF AUSTRALIA

Electrical Workers and Contractors Act

APPLICATION FOR RENEWAL OF ELECTRICAL CONTRACTOR'S LICENCE

........................................................ ........................................................ the holder of an electrical contractor's licence, licence number ............, hereby applies for renewal of the licence.

Dated this                 day of                 , 19....

.....................................

(Signature of applicant)

ENDNOTES

1	KEY

Key to abbreviations

amd = amended 				od = order

app = appendix				om = omitted

bl = by-law					pt = Part

ch = Chapter					r = regulation/rule

cl = clause					rem = remainder

div = Division					renum = renumbered

exp = expires/expired				rep = repealed

f = forms					s = section

Gaz = Gazette					sch = Schedule

hdg = heading					sdiv = Subdivision

ins = inserted					SL = Subordinate Legislation

lt = long title					sub = substituted

nc = not commenced

2	LIST OF LEGISLATION

| Electrical Workers and Contractors Regulations (SL No. 56, 1984) |
| --- |
| Notified | 26 September 1984 |
| Commenced | 26 September 1984 (r 1, s 2 Electrical Workers and Contractors Amendment Act 1983 (Act No. 72, 1983) and Gaz G38, 26 September 1984, p 2) |
| Amendment of the Electrical Workers and Contractors Regulations (SL No. 24, 1985) |
| Notified | 9 October 1985 |
| Commenced | 9 October 1985 |
| Statute Law Revision Act (No. 2) 1987 (Act No. 59, 1987) |
| Assent date | 31 December 1987 |
| Commenced | 31 December 1987 |
| Amendment of Electrical Workers and Contractors Regulations (SL No. 6, 1997) |
| Notified | 9 April 1997 |
| Commenced | 9 April 1997 |
| Corporations Reform (Consequential Amendments NT) Act 2001 (Act No. 17, 2001) |
| Assent date | 29 June 2001 |
| Commenced | s. 17(1) and (6): 1 July 2000; rem: 15 July 2001 (s 2, s 2 Corporations Act 2001 (Cth Act No. 50, 2001) and Cth Gaz S285, 13 July 2001) |

3	LIST OF AMENDMENTS

r 4	amd Act No. 59, 1987, s 6

r 5	amd No. 24, 1985, r 1; Act No. 59, 1987, s 6

rr 6 – 7	amd Act No. 59, 1987, s 6

rr 9 – 12	amd Act No. 59, 1987, s 6

r 13	amd No. 6, 1997, r 2

r 16	amd No. 6, 1997, r 3

r 19	amd No. 6, 1997, r 4

r 20	amd No. 6, 1997, r 5

r 22	amd No. 6, 1997, r 6

r 24	amd No. 6, 1997, r 7

r 25	amd Act No. 59, 1987, s 6

sch 3	amd Act No. 59, 1987, s 6; Act No. 17, 2001, s 22