The current version of the National Electricity Rules, as modified by these Regulations, is available at: http://www.aemc.gov.au/Energy-Rules/National-electricity-rules/National-Electricity-Rules-(Northern-Territory)

NORTHERN TERRITORY OF AUSTRALIA

NATIONAL ELECTRICITY (NORTHERN TERRITORY) (NATIONAL UNIFORM LEGISLATION) (MODIFICATION) REGULATIONS

As in force at 1 July 2017

Table of provisions

Part 1 	Preliminary matters

1	Citation	1

2	Commencement	1

2A	Definitions	1

Part 2	Modifications to National Electricity Regulations

3	National Electricity Regulations modified	1

Part 3	Modifications to National Electricity Rules

4	Interpretation	2

5	National Electricity Rules modified	2

5A	Application of Rules in this jurisdiction	2

6	Modification to operation of clause 6.6.1 in relation to local events	3

6A	Modification to operation of clause 6.6.1 in relation to NT transitional regulatory change event	4

7	Modification to operation of clause 6.6.1AB	5

8	Further modifications to operation of Rules	6

9	Further modifications to operation of Rules commencing on 1 December 2017	6

9A	Further modifications to operation of Rules commencing on 1 July 2019	6

Part 4	Matters prescribed for National Electricity (NT) Rules

10	Local event	7

10A	NT transitional regulatory change event	7

Part 5	Expiry of provisions

11	Expiry of certain provisions	8

Schedule 1	Modifications to National Electricity Regulations

Part 1	Preliminary matters

1	Regulations modified	10

Part 2	Modifications

2	Regulation 8 modified	10

3	Regulation 9 modified	10

4	Schedule 2 modified	11

Schedule 2	Further modifications to operation of National Electricity Rules

Part 1	Preliminary matters

1	Rules modified	12

Part 2	Modifications

2	Clauses 1.7.1A and 1.7.1B inserted	12

3	Clause 1.8.1 modified	13

4	Rule 1.11 modified	14

5	Chapters 2, 2A, 3 and 4 modified	14

6	Rules 5.0 and 5.0A inserted	14

7	Rules 5.1 to 5.9 modified	15

8	Clause 5.10.1 modified	16

9	Clause 5.10.2 modified	16

10	Clause 5.10.3 modified	17

11	Rule 5.11 modified	17

12	Clause 5.11.1 modified	17

13	Clause 5.11.2 modified	18

14	Rule 5.12 modified	18

15	Clause 5.12.1 modified	18

16	Clause 5.12.2 modified	19

17	Rule 5.13 modified	19

18	Clause 5.13.1 modified	20

19	Clause 5.13.2 modified	20

20	Rule 5.13A modified	20

21	Rules 5.14 to 5.22 modified	21

22	Schedules 5.1a to 5.6 modified	21

23	Schedule 5.7 modified	21

24	Schedule 5.8 modified	21

25	Schedule 5.9 modified	22

26	Clause 5A.A.0 inserted	22

27	Clause 5A.A.2 modified	23

28	Clause 5A.A.3 modified	24

29	Chapter 5A, Part B modified	24

30	Clause 5A.B.3 modified	25

31	Clause 5A.B.5 modified	25

32	Chapter 5A, Part C modified	25

33	Clause 5A.C.1 modified	25

34	Chapter 5A, Part D modified	26

35	Clause 5A.D.1 modified	26

36	Clause 5A.D.1A modified	26

37	Clause 5A.E.2 modified	26

38	Clause 5A.E.3 modified	27

39	Clause 5A.E.4 modified	27

40	Chapter 5A, Part F modified	27

41	Clause 5A.F.5 modified	28

42	Chapter 5A, Part G modified	28

43	Schedule 5A.1 modified	28

44	Rules 6.0 and 6.0A inserted	28

45	Clause 6.1.3 modified	30

46	Clause 6.2.5 modified	30

47	Clause 6.4.1 modified	31

48	Clause 6.4.3 modified	32

49	Clause 6.4.4 modified	33

50	Clause 6.4.5 modified	33

51	Rule 6.4A modified	34

52	Clause 6.5.1 modified	34

53	Clause 6.5.2 modified	35

54	Clause 6.5.8 modified	35

55	Clause 6.5.8A modified	36

56	Clause 6.6.1 modified	36

57	Clause 6.6.1 modified (expires when NERL applied)	36

58	Clause 6.6.1 modified (expires on 1 July 2024)	37

59	Clauses 6.6.1AA and 6.6.1AB inserted	37

60	Clause 6.6.2 modified	44

61	Clause 6.6.3 modified	45

62	Clause 6.6.4 modified	45

63	Clause 6.6A.1 modified	45

64	Clause 6.8.1 modified	45

65	Clause 6.8.1A modified	46

66	Clause 6.10.1 modified	46

67	Clause 6.11.1 modified	47

68	Rule 6.14A modified	47

69	Clause 6.15.3 modified	48

70	Clause 6.15.4 modified	48

71	Clause 6.17.1A inserted	48

72	Clause 6.17.1B inserted	49

73	Clause 6.18.5 modified	49

74	Clause 6.18.9 modified	50

75	Chapter 6, Parts J to N modified	50

76	Rule 6.27A inserted	50

77	Clause S6.1.1 modified	51

78	Clause S6.1.2 modified	53

79	Clause S6.2.1 modified	54

80	Clause S6.2.1 modified	55

81	Clause S6.2.2 modified	55

82	Clause S6.2.2A modified	56

83	Clause S6.2.2B modified	56

84	Clause S6.2.3A inserted	56

85	Chapters 6A and 6B modified	59

86	Chapter 7 modified	59

87	Chapter 7A inserted	60

88	Clause 8.1.3 modified	159

89	Chapter 8, Part B modified	159

90	Clause 8.6.1 modified	159

91	Clause 8.6.2 modified	159

92	Clause 8.6.5 replaced	160

93	Clauses 8.6.6 and 8.6.7 modified	160

94	Clause 8.7.1 modified	160

95	Clause 8.7.2 modified	161

96	Clause 8.7.6 modified	162

97	Chapter 8, Parts E and G modified	162

98	Chapter 8, Parts H modified	163

99	Chapter 10 modified	163

100	Chapter 10 modified (expires on 1 July 2019)	173

101	Chapter 10 modified (expires on 1 July 2024)	174

102	Chapter 10 modified (expires on 1 July 2029)	176

103	Chapter 10 modified (expires when NERL is applied)	177

104	Chapter 11 modified	177

105	Clause 11.93.1 modified	177

106	Chapter 11A inserted	178

Schedule 3	Further modifications to operation of National Electricity Rules commencing on 1 December 2017

1	Rules modified	183

2	Clause 8.6.1A replaced	183

3	Chapter 10 modified	183

Schedule 4	Further modifications to operation of National Electricity Rules commencing on 1 July 2019

1	Rules modified	184

2	Chapter 10 modified	184

ENDNOTES

NORTHERN TERRITORY OF AUSTRALIA

____________________

As in force at 1 July 2017

____________________

NATIONAL ELECTRICITY (NORTHERN TERRITORY) (NATIONAL UNIFORM LEGISLATION) (MODIFICATION) REGULATIONS

Regulations under the National Electricity (Northern Territory) (National Uniform) Legislation Act

Part 1 	Preliminary matters

1	Citation

These Regulations may be cited as the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations.

2	Commencement

(1)	Regulation 9 and Schedule 3 commence on 1 December 2016.

(2)	The remaining provisions of these Regulations commence on 1 July 2016.

2A	Definitions

In these Regulations:

2014 NT Network Price Determination, for Part 3, see regulation 4(1).

applicable regulatory instruments, for Part 3, see regulation 4(1).

local support, for Part 3, see regulation 4(1).

Part 2	Modifications to National Electricity Regulations

3	National Electricity Regulations modified

For section 13(2)(b) of the Act, the regulations in force from time to time under Part 4 of the National Electricity (South Australia) Act 1996 (SA) are modified as set out in Schedule 1.

Part 3	Modifications to National Electricity Rules

4	Interpretation

(1)	In this Part:

2014 NT Network Price Determination, see the National Electricity (NT) Rules, Chapter 10.

applicable regulatory instruments, see the 2014 NT Network Price Determination, Part B, Schedule 1, clause 1.1.

local support means credit support as defined in the 2014 NT Network Price Determination, Part B, Schedule 1, clause 1.1.

(2)	An expression used in regulation 6, 6A or 7 that is italicised has the same meaning as it has in the National Electricity (NT) Rules.

5	National Electricity Rules modified

For section 13(2)(c) of the Act, the operation of the National Electricity Rules is modified as set out in this Part for the purpose of their having the force of law in this jurisdiction under section 9 of the National Electricity (NT) Law.

5A	Application of Rules in this jurisdiction

(1)	The following provisions of the National Electricity (NT) Rules have no effect in this jurisdiction:

(a)	Chapter 1, rule 1.11;

(b)	Chapters 2, 2A, 3 and 4;

(c)	Chapter 5, rules 5.1 to 5.9, clauses 5.10.1, 5.10.3, 5.12.1(b)(3) and 5.12.2(c)(1), (5)(v), (6) and (8), rules 5.14 to 5.22, schedules 5.1a to 5.6, schedule 5.8, paragraphs (b)(5)(iii), (h) and (i) and schedule 5.9, paragraph (h);

(d)	Chapter 5A, clauses 5A.A.3, 5A.D.1(a)(7) and (b) and 5A.D.1A and Part G;

(e)	Chapter 6, clauses S6.2.1(d) and S6.2.2;

(f)	Chapters 6A, 6B and 7;

(g)	Chapter 8, clauses 8.1.3(b)(5) and (7), 8.6.1(d) and (e), 8.6.2(l), 8.6.6, 8.6.7, 8.7.2(a)(2) and (4) and (b)(2) and 8.7.6 and Parts E and G;

(h)	Chapter 11, Parts A to ZZI, ZZK, ZZL, ZZN (except for clause 11.86.8), ZZO to ZZT, ZZV and ZZX.

(2)	The following provisions of the National Electricity (NT) Rules have no effect in this jurisdiction until 1 July 2019:

(a)	Chapter 5, rules 5.0 and 5.0A, clause 5.10.2, rules 5.11, 5.12 (other than clauses 5.12.1(b)(3) and 5.12.2(c)(1), (5)(v), (6) and (8)), 5.13 and 5.13A and schedules 5.7, 5.8 (other than paragraphs (b)(5)(iii), (h) and (i)) and 5.9 (other than paragraph (h));

(b)	Chapter 5A, clause 5A.A.2, Parts B, C (other than clause 5A.C.1(c) and (d)) and D (other than clauses 5A.D.1(a)(7) and (b) and 5A.D.1A), clauses 5A.E.2 and 5A.E.4 (other than the note to paragraph (c)), Part F (other than clause 5A.F.5(b)(2)) and schedule 5A.1;

(c)	Chapter 6, clause 6.18.9(a)(3), Parts J to N and clause S6.2.2B(b) and (c);

(d)	Chapter 7A;

(e)	Chapter 8, Parts B and H;

(f)	Chapter 11A.

(3)	The following provisions of the National Electricity (NT) Rules have no effect in this jurisdiction until the National Energy Retail Law is applied as a law of this jurisdiction:

(a)	Chapter 5A, clause 5A.C.1(c) and (d), the note to clause 5A.E.4(c) and clause 5A.F.5(b)(2);

(b)	Chapter 6, clause 6.6.1(a1)(4), (c)(6)(iii), (l) and (m).

6	Modification to operation of clause 6.6.1 in relation to local events

(1)	This regulation applies in relation to a positive change event that is a local event prescribed by regulation 10.

(2)	Under clause 6.6.1(c) of the National Electricity (NT) Rules, the written statement in relation to the positive change event must specify evidence of:

(a)	the amount to which the Distribution Network Service Provider is entitled under any relevant local support; and

(b)	the maximum amount of local support (if any) that the Distribution Network Service Provider was entitled to request the retailer to provide under the applicable regulatory instruments; and

(c)	any amount that the Distribution Network Service Provider is likely to receive on a winding-up of the retailer.

(3)	For the purposes of calculating, under clause 6.6.1 of the National Electricity (NT) Rules, the eligible pass through amount in relation to the positive change event, the increase in costs is the retailer insolvency costs excluding:

(a)	any amount recovered or recoverable from a retailer or a guarantor of a retailer under any relevant local support; and

(b)	amounts that the Distribution Network Service Provider is likely to receive on a winding-up of the retailer; and

(c)	any costs that are recoverable on account of the retailer insolvency under any retailer of last resort scheme established under the applicable regulatory instruments.

(4)	The amount the AER determines, under clause 6.6.1 of the National Electricity (NT) Rules, should be passed through to Distribution Network Users in respect of the positive change event must be taken to be a cost that can be passed through and not a revenue impact of the event.

6A	Modification to operation of clause 6.6.1 in relation to NT transitional regulatory change event

In relation to a pass through event that is a NT transitional regulatory change event prescribed by regulation 10A, the operation of clause 6.6.1 of the National Electricity (NT) Rules is modified as follows:

(a)	the reference in clause 6.6.1(c) to "within 90 business days of the relevant positive change event occurring" must be regarded as a reference to "within 90 business days of the commencement of the 1st regulatory control period";

(b)	the reference in clause 6.6.1(c)(5), (d)(2) and (e)(2) to "in the regulatory year in which, and each regulatory year after that in which, the positive change event occurred" must be regarded as a reference to "in each regulatory year of the 1st regulatory control period";

(c)	the text in clause 6.6.1(f)(3)(i) and (ii) must be regarded as a reference to "the end of the 1st regulatory control period";

(d)	the reference in clause 6.6.1(f)(5) and (g)(2)(ii) to "in the regulatory year in which, and each regulatory year after that in which, the negative change event occurred" must be regarded as a reference to "in each regulatory year of the 1st regulatory control period";

(e)	the text in clause 6.6.1(j)(2)(i) and (ii) and (2A)(i) and (ii) must be regarded as a reference to "the end of the 1st regulatory control period";

(f)	the reference in clause 6.6.1(j)(4) to "regulatory control period in which the pass through event occurred" must be regarded as a reference to "1st regulatory control period";

(g)	the reference in clause 6.6.1(j)(7) to "regulatory control period in which the pass through event occurred or will be factored into the calculation of the Distribution Network Service Provider’s annual revenue requirement for a subsequent regulatory control period" must be regarded as a reference to "1st regulatory control period";

(h)	all references in clause 6.6.1 to "required pass through amount" must be regarded as references to "the costs of providing distribution services or transmission services that are direct control network services (as opposed to the revenue impact) that, as a result of the negative change event, the Network Service Provider has saved, and is likely to save, until the end of the 1st regulatory control period".

7	Modification to operation of clause 6.6.1AB

(1)	This regulation applies in relation to an NT positive change event that is a retailer insolvency event as defined in the 2014 NT Network Price Determination, Part B, Schedule 1, clause 1.1.

(2)	Under clause 6.6.1AB(c) of the National Electricity (NT) Rules, the written statement in relation to the NT positive change event must specify evidence of:

(a)	the amount to which the Distribution Network Service Provider is entitled under any relevant local support; and

(b)	the maximum amount of local support (if any) that the Distribution Network Service Provider was entitled to request the retailer to provide under the applicable regulatory instruments; and

(c)	any amount that the Distribution Network Service Provider is likely to receive on a winding-up of the retailer.

(3)	For the purposes of calculating, under clause 6.6.1AB of the National Electricity (NT) Rules, the eligible pass through amount in relation to the NT positive change event, the increase in costs is the retailer insolvency costs excluding:

(a)	any amount recovered or recoverable from a retailer or a guarantor of a retailer under any relevant local support; and

(b)	amounts that the Distribution Network Service Provider is likely to receive on a winding-up of the retailer; and

(c)	any costs that are recoverable on account of the retailer insolvency under any retailer of last resort scheme established under the applicable regulatory instruments.

(4)	The amount the AER determines, under clause 6.6.1AB of the National Electricity (NT) Rules, should be passed through to Distribution Network Users in respect of the NT positive change event must be taken to be a cost that can be passed through and not a revenue impact of the event.

8	Further modifications to operation of Rules

Schedule 2 has effect.

9	Further modifications to operation of Rules commencing on 1 December 2017

Schedule 3 has effect.

9A	Further modifications to operation of Rules commencing on 1 July 2019

Schedule 4 has effect.

Part 4	Matters prescribed for National Electricity (NT) Rules

10	Local event

(1)	For clause 6.6.1(a1)(1AA) of the National Electricity (NT) Rules, a local event is the failure of a retailer during a regulatory control period, to pay a Distribution Network Service Provider an amount to which the provider is entitled for the provision of direct control services, if:

(a) 	an insolvency official has been appointed in respect of that retailer; and

(b) 	the provider is not entitled to payment of that amount in full under the terms of any local support in respect of that retailer.

(2)	In this regulation:

2014 NT Network Price Determination, see the National Electricity (NT) Rules, Chapter 10.

local support means credit support as defined in the 2014 NT Network Price Determination, Part B, Schedule 1, clause 1.1.

(3)	An expression used in subregulation (1) that is italicised has the same meaning as it has in the National Electricity (NT) Rules.

10A	NT transitional regulatory change event

(1)	For clause 6.6.1(a1)(1AB) of the National Electricity (NT) Rules, a NT transitional regulatory change event is the sum of the changes in relevant obligations that occur between 1 July 2017 and 30 June 2019 if those changes, taken as a sum:

(a)	substantially affect the manner in which a Network Service Provider provides direct control services; and

(b)	result in a material increase or material decrease in the costs of providing those services.

(2)	For regulation 10A(1)(b), a material increase or material decrease in the costs of providing direct control services occurs if the change in costs (as opposed to the revenue impact) incurred, or likely to be incurred, by a Network Service Provider in any regulatory year of the 1st regulatory control period exceeds 1% of the annual revenue requirement for the Network Service Provider for that regulatory year.

(3)	In this regulation:

direct control service means a distribution service or transmission service that is a direct control network service.

relevant obligation means a regulatory obligation or requirement, other than an obligation or requirement:

(a)	in an Act or instrument that was enacted or made on or before 1 July 2017 (even if the obligation or requirement commences after 1 July 2017); or

(b)	arising from any repeal, amendment, variation or modification to the National Electricity Law, National Electricity Regulations or National Electricity Rules except as made by or under the Act; or

(c)	that the AER has considered or accounted for in a distribution determination for the 1st regulatory control period.

(4)	An expression used in this regulation that is italicised has the same meaning as it has in the National Electricity (NT) Rules.

(5)	For subregulation (3), definition relevant obligation, the reference in section 2D of the National Electricity (NT) Law, definition regulatory obligation or requirement, subsection (1)(b)(v) to "materially affects" must be regarded as a reference to "affects".

Part 5	Expiry of provisions

11	Expiry of certain provisions

(1)	Schedule 2, clauses 64, 65, 71, 76 and 100 expire on 1 July 2019.

(2)	The following expire on 1 July 2024:

(a)	regulations 6A, 7 and 10A;

(b)	Schedule 1, clause 3;

(c)	Schedule 2, clauses 46, 48, 58, 59, 66, 67, 73 and 101.

(3)	Schedule 2, clauses 77, 78, 80, 82 and 102 expire on 1 July 2029.

(4)	The following expire when the National Energy Retail Law is applied as a law of this jurisdiction:

(a)	regulations 6 and 10;

(b)	Schedule 2, clauses 57 and 103.

(5)	Regulations 2A and 4 expire on the later of the following:

(a)	the day on which the National Energy Retail Law is applied as a law of this jurisdiction;

(b)	1 July 2024.

(6)	This Part expires on the later of the following:

(a)	the day on which the National Energy Retail Law is applied as a law of this jurisdiction;

(b)	1 July 2029.

- Schedule 1	Modifications to National Electricity Regulations

regulation 3

Part 1	Preliminary matters

1	Regulations modified

This Schedule modifies the regulations mentioned in regulation 3.

Part 2	Modifications

2	Regulation 8 modified

After regulation 8(2)

insert

(2A)	For the purposes of subregulation (1)(d), the reference to “the national electricity system” in the national electricity objective stated in section 7 of the new National Electricity Law must be regarded as including a reference to one or more, or all, of the local electricity systems, as the case requires.

- 3	Regulation 9 modified

(1)	Before regulation 9(1)

insert

(1AA)	For the purposes of paragraph (a) of the definition of reviewable regulatory decision in section 71A of the new National Electricity Law, if a distribution determination accounts for an amount mentioned in clause 6.6.1AA, 6.6.1AB or 6.11.1(ba) of the Rules, the distribution determination is not a reviewable regulatory decision to the extent it accounts for that amount.

(2)	After regulation 9(1)

insert

(1A)	However, a determination that, under clause 6.6.1AA of the Rules, is taken to have been made under clause 6.6.1(d) or 6.6.1(g) of the Rules is not a reviewable regulatory decision.

(3)	Regulation 9, at the end

insert

Note–

The modifications to this regulation expire on 1 July 2024.

- 4	Schedule 2 modified

Schedule 2, clause 22, at the end

insert

However, this clause has no effect in this jurisdiction.

- Schedule 2	Further modifications to operation of National Electricity Rules

regulation 8

Part 1	Preliminary matters

1	Rules modified

This Schedule modifies the operation of the National Electricity Rules with effect from 1 July 2016.

Part 2	Modifications

2	Clauses 1.7.1A and 1.7.1B inserted

After clause 1.7.1

insert

1.7.1A	Inconsistency with National Measurement Act

If there is an inconsistency between the Rules and the National Measurement Act, the National Measurement Act prevails to the extent of the inconsistency.

1.7.1B	Instruments

(a)	In an instrument made under the Rules:

(1)	a reference to the “National Electricity Law”, “Law” or “NEL” must be regarded as a reference to the National Electricity (NT) Law; and

(2)	a reference to the “National Electricity Rules”, “Rules” or “NER” must be regarded as a reference to the National Electricity Rules as defined in section 2(1) of the National Electricity (NT) Law.

(b)	Paragraph (a) applies despite any provision to the contrary in an instrument.

(c)	For the purposes of the application in this jurisdiction of an instrument made under the Rules:

(1)	the reference to “the national electricity system” in the national electricity objective stated in section 7 of the Law must be regarded as a reference to one or more, or all, of the local electricity systems, as the case requires;

(2)	if the context or subject matter indicates or requires, a reference in the instrument to:

(i)	“regulatory control period” must be regarded as including a reference to the 2009-14 NT regulatory control period and the 2014-19 NT regulatory control period; and

(ii)	“distribution determination” must be regarded as including a reference to the 2009 NT Network Price Determination and the 2014 NT Network Price Determination; and

(3)	the AER must interpret the instrument consistently with the objects of the application Act of this jurisdiction and the modifications made to the National Electricity Law and the Rules by or under that Act.

(d)	In this clause:

2009 NT Network Price Determination means the “Final Determination – Networks Pricing: 2009 Regulatory Reset” made by the Utilities Commission under the Utilities Commission Act (NT), Electricity Reform Act (NT) and Chapter 6 of the NT Network Access Code that applied from 1 July 2009 to 30 June 2014.

3	Clause 1.8.1 modified

Clause 1.8.1(b)

omit

of Registered Participants maintained by AEMO

insert

kept by the Utilities Commission under section 37 of the Electricity Reform Act (NT)

4	Rule 1.11 modified

After rule 1.11, heading

insert

Note:

- This rule has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

5	Chapters 2, 2A, 3 and 4 modified

After Chapters 2,  2A, 3, and 4, headings

insert

Note:

- This Chapter has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of this Chapter will be revisited as part of the phased implementation of the Rules in this jurisdiction.

6	Rules 5.0 and 5.0A inserted

After Chapter 5, Part A, heading

insert

- 5.0	Principles

Note

This rule has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

This Part A is based on the following principles relating to connection to the national grid:

(a)	all Registered Participants should have the opportunity to form a connection to a network and have access to the network services provided by the networks forming part of the national grid;

(b)	the terms and conditions on which connection to a network and provision of network service is to be granted are to be set out in commercial agreements on reasonable terms entered into between a Network Service Provider and other Registered Participants.

- 5.0A	Obligations of Network Service Providers and Connection Applicants

Note

This rule has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

(a)	A Connection Applicant may submit an application to connect to the relevant Network Service Provider.

(b)	A Network Service Provider must review and process applications to connect that are submitted to it and must enter into a connection agreement with each Registered Participant and any other person to which it has provided a connection in accordance with this Part to the extent that the connection point relates to its part of the national grid.

(c)	Upon the submission of an application to connect, and so long as the Connection Applicant wishes to pursue the application, both the Network Service Provider and the Connection Applicant must use reasonable endeavours to:

(1)	negotiate with each other in respect of the provision of connection and any other matters relevant to the provision of connection;

(2)	negotiate in good faith with any other person with which the Connection Applicant must negotiate in respect of the connection; and

(3)	enter into a connection agreement.

(d)	The terms and conditions of a connection agreement must be reasonable.

7	Rules 5.1 to 5.9 modified

After rules 5.1, 5.2, 5.3, 5.3A, 5.4, 5.4A, 5.4AA, 5.5, 5.7, 5.8 and 5.9, headings

insert

Note

This rule has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of this rule will be revisited as part of the phased implementation of the Rules in this jurisdiction.

8	Clause 5.10.1 modified

After clause 5.10.1, heading

insert

Note

Clause 5.10.1 has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of clause 5.10.1 will be revisited as part of the phased implementation of the Rules in this jurisdiction.

9	Clause 5.10.2 modified

(1)	After clause 5.10.2, heading

insert

Note

Clause 5.10.2 has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

(2)	Clause 5.10.2, definition design fault level

omit

performance standard

insert

relevant standard

(3)	Clause 5.10.2, definition replacement transmission network asset

omit

$5 (all references)

insert

$2.5

(4)	Clause 5.10.2, definition replacement transmission network asset

omit

(as varied in accordance with a cost threshold determination)

10	Clause 5.10.3 modified

After clause 5.10.3, heading

insert

Note

Clause 5.10.3 has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of clause 5.10.3 will be revisited as part of the phased implementation of the Rules in this jurisdiction.

11	Rule 5.11 modified

After rule 5.11, heading

insert

Note

Rule 5.11 has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

12	Clause 5.11.1 modified

(1)	Clause 5.11.1(a)

omit

, market network service

(2)	Clause 5.11.1(b)

omit

, market network services

(3)	Clause 5.11.1(c)

omit

or market network services

(4)	Clause 5.11.1(d)

omit

and AEMO

13	Clause 5.11.2 modified

(1)	Clause 5.11.2(b) and (c)

omit

and AEMO

(2)	Clause 5.11.2(c)(1)

omit

dual function assets or

14	Rule 5.12 modified

After rule 5.12, heading

insert

Note

Rule 5.12 has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

15	Clause 5.12.1 modified

(1)	After clause 5.12.1, heading

insert

Note

Clause 5.12.1(b)(3) has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of clause 5.12.1(b)(3) will be revisited as part of the phased implementation of the Rules in this jurisdiction.

(2)	Clause 5.12.1(a)

omit

market network service,

(3)	Clause 5.12.1(b)(4)

omit

in the market

insert

via a transmission or distribution system in this jurisdiction

16	Clause 5.12.2 modified

(1)	After clause 5.12.2, heading

insert

Note

Clause 5.12.2(c)(1), (5)(v), (6) and (8) has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of clause 5.12.2(c)(1), (5)(v), (6) and (8) will be revisited as part of the phased implementation of the Rules in this jurisdiction.

(2)	Clause 5.12.2(a)

omit

Subject to paragraph (b), by 30 June

insert

By 31 December

(3)	Clause 5.12.2(b)

omit, insert

(b)	A Network Service Provider may publish its Transmission Annual Planning Report in the same document as its Distribution Annual Planning Report.

(4)	Clause 5.12.2(c)(5)(vi) and (7)(iv)

omit

interconnectors, generation options, demand side options, market network service options

insert

generation options, demand side options

17	Rule 5.13 modified

After rule 5.13, heading

insert

Note

This rule has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

18	Clause 5.13.1 modified

(1)	Clause 5.13.1(d)(2)(iii)

omit

power system security or

(2)	Clause 5.13.1(d)(3)(i)

omit, insert

(i)	carry out the requirements of any relevant regulatory investment test; and

(3)	Clause 5.13.1(g)

omit

2013

insert

2020

19	Clause 5.13.2 modified

Clause 5.13.2(b), note

omit, insert

Note

Under clause 5.12.2(b), a Network Service Provider may publish its Transmission Annual Planning Report in the same document as its Distribution Annual Planning Report under this clause 5.13.2.

20	Rule 5.13A modified

(1)	After rule 5.13A, heading

insert

Note

Rule 5.13A has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

(2)	Rule 5.13A(a), definition ten year zone substation report

omit

the commencement of this rule 5.13A

insert

1 July 2019

21	Rules 5.14 to 5.22 modified

After rules 5.14, 5.15, 5.16, 5.17, 5.18, 5.18A, 5.19, 5.20, 5.21 and 5.22, headings

insert

Note

This rule has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of this rule will be revisited as part of the phased implementation of the Rules in this jurisdiction.

22	Schedules 5.1a to 5.6 modified

After schedules 5.1a, 5.1, 5.2, 5.3, 5.3a, 5.4, 5.4A, 5.4B, 5.5 and 5.6, headings

insert

Note

This schedule has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of this schedule will be revisited as part of the phased implementation of the Rules in this jurisdiction.

23	Schedule 5.7 modified

After schedule 5.7, heading

insert

Note

This schedule has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

24	Schedule 5.8 modified

(1)	Schedule 5.8, note, at the end

insert

Paragraphs (b)(5)(iii), (h) and (i) of this schedule have no effect in this jurisdiction, and the remainder of this schedule has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of paragraphs (b)(5)(iii), (h) and (i) of this schedule will be revisited as part of the phased implementation of the Rules in this jurisdiction.

(2)	Schedule 5.8(f)

omit

regulatory investment test for distribution

insert

relevant regulatory investment test

(3)	Schedule 5.8(g)

omit

$2 million or more (as varied by a cost threshold determination)

insert

$1 million or more

25	Schedule 5.9 modified

Schedule 5.9, note, at the end

insert

Paragraph (h) of this schedule has no effect in this jurisdiction, and the remainder of this schedule has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of paragraph (h) of this schedule will be revisited as part of the phased implementation of the Rules in this jurisdiction.

26	Clause 5A.A.0 inserted

After Chapter 5A, Part A, heading

insert

- 5A.A.0	Interpretation

(a)	This clause applies in relation to the following:

(1)	the provisions of this Chapter;

(2)	the provisions of Chapters 11 and 11A, to the extent the provisions operate in relation to this Chapter;

(3)	an instrument made under or for the purposes of this Chapter; and

(4)	the definitions in Chapter 10, to the extent the definitions are mentioned in a provision or instrument mentioned in subparagraph (1), (2) or (3).

(b)	Unless the context or subject matter otherwise indicates or requires, in a provision or instrument mentioned in paragraph (a):

(1)	a reference to a “distribution network” must be regarded as including a reference to a “transmission network”;

(2)	a reference to a “distribution system” must be regarded as including a reference to a “transmission system”;

(3)	a reference to a “Distribution Network User” must be regarded as including a reference to a “Transmission Network User”;

(4)	a reference to a “Distribution Network Service Provider” must be regarded as including a reference to a “Transmission Network Service Provider”;

(5)	a reference to a “distribution service” must be regarded as including a reference to a “transmission service”; and

(6)	a reference to an “embedded generating unit” must be regarded as a reference to a “generating unit”.

Note

The object of this clause is to ensure the local electricity systems in this jurisdiction are treated as “distribution systems” for the purposes of the operation of this Chapter 5A.

27	Clause 5A.A.2 modified

(1)	After clause 5A.A.2, heading

insert

Note

Clause 5A.A.2 has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

(2)	Clause 5A.A.2(a)

omit

an Intending Participant unless the Registered Participant or Intending Participant

insert

a person intending to become a Registered Participant unless the Registered Participant or person intending to become a Registered Participant

(3)	Clause 5A.A.2(c)

omit

rule 5.3A

insert

Chapter 5, Part A

(4)	Clause 5A.A.2(d)(3)

omit

enquiry under clause 5.3A.5

insert

enquiry under Chapter 5, Part A

28	Clause 5A.A.3 modified

After clause 5A.A.3, heading

insert

Note

Clause 5A.A.3 has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of clause 5A.A.3 will be revisited as part of the phased implementation of the Rules in this jurisdiction.

29	Chapter 5A, Part B modified

After Chapter 5A, Part B, heading

insert

Note

Part B of this Chapter has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

30	Clause 5A.B.3 modified

After clause 5A.B.3(b)

insert

(ba)	For the purposes of paragraph (b)(1), the AER must regard the reference to “the national electricity system” in the national electricity objective stated in section 7 of the Law as including a reference to one or more, or all, of the local electricity systems, as the case requires.

31	Clause 5A.B.5 modified

After clause 5A.B.5(b)

insert

(ba)	For the purposes of paragraph (b), the AER must regard the reference to “the national electricity system” in the national electricity objective stated in section 7 of the Law as including a reference to one or more, or all, of the local electricity systems, as the case requires.

32	Chapter 5A, Part C modified

After Chapter 5A, Part C, heading

insert

Note

- Part C of this Chapter has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

33	Clause 5A.C.1 modified

After clause 5A.C.1, heading

insert

Note

Clause 5A.C.1(c) and (d) has no effect in this jurisdiction until the National Energy Retail Law is applied as a law of this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

34	Chapter 5A, Part D modified

After Chapter 5A, Part D, heading

insert

Note

Part D of this Chapter has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

35	Clause 5A.D.1 modified

After clause 5A.D.1, heading

insert

Note

Clause 5A.D.1(a)(7) and (b) has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of clause 5A.D.1(a)(7) and (b) will be revisited as part of the phased implementation of the Rules in this jurisdiction.

36	Clause 5A.D.1A modified

After clause 5A.D.1A, heading

insert

Note

Clause 5A.D.1A has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of clause 5A.D.1A will be revisited as part of the phased implementation of the Rules in this jurisdiction.

37	Clause 5A.E.2 modified

After clause 5A.E.2, heading

insert

Note

Clause 5A.E.2 has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

38	Clause 5A.E.3 modified

After clause 5A.E.3(g)

insert

(ga)	For the application of these Rules in this jurisdiction:

(1)	the connection charge guidelines that are in force in the other participating jurisdictions on 1 July 2017 are taken:

(i)	to be the connection charge guidelines in force in this jurisdiction (subject to any amendment or replacement under these Rules); and

(ii)	to have been developed and published by the AER on 1 July 2017; and

(2)	the AER is taken to have complied with the requirements of paragraphs (e), (f) and (g) in developing and publishing the connection charge guidelines.

39	Clause 5A.E.4 modified

After clause 5A.E.4, heading

insert

Note

The note to clause 5A.E.4(c) has no effect in this jurisdiction until the National Energy Retail Law is applied as a law of this jurisdiction.  The remaining provisions of clause 5A.E.4 have no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

40	Chapter 5A, Part F modified

After Chapter 5A, Part F, heading

insert

Note

Part F of this Chapter has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

41	Clause 5A.F.5 modified

After clause 5A.F.5, heading

insert

Note

Clause 5A.F.5(b)(2) has no effect in this jurisdiction until the National Energy Retail Law is applied as a law of this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

42	Chapter 5A, Part G modified

After Chapter 5A, Part G, heading

insert

Note

Part G of this Chapter has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of Part G will be revisited as part of the phased implementation of the Rules in this jurisdiction.

43	Schedule 5A.1 modified

After schedule 5A.1, heading

insert

Note

Schedule 5A.1 has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

44	Rules 6.0 and 6.0A inserted

After Chapter 6, Part A, heading

insert

6.0	Operation of Chapter 6 in this jurisdiction

(a)	This rule applies if a Distribution Network Service Provider owns, controls or operates more than one distribution system in this jurisdiction.

(b)	Despite any other provision of this Chapter:

(1)	for all of those distribution systems there must be, in respect of a particular regulatory control period, only one:

(i)	draft distribution determination and final distribution determination;

(ii)	framework and approach paper;

(iii)	building block proposal and building block determination;

(iv)	regulatory proposal;

(v)	proposed and final tariff structure statement; and

(vi)	regulatory asset base value; and

(2)	all of those distribution systems must be treated as a single distribution system for the purposes of clause 6.5.1 and schedule 6.2.

- 6.0A	Interpretation

(a)	This rule applies in relation to the following:

(1)	the provisions of this Chapter;

(2)	the provisions of Chapters 11 and 11A, to the extent the provisions operate in relation to this Chapter;

(3)	an instrument made under or for the purposes of this Chapter; and

(4)	the definitions in Chapter 10, to the extent the definitions are mentioned in a provision or instrument mentioned in subparagraph (1), (2) or (3).

(b)	Unless the context or subject matter otherwise indicates or requires, in a provision or instrument mentioned in paragraph (a):

(1)	a reference to a “distribution network” must be regarded as including a reference to a “transmission network”;

(2)	a reference to a “distribution system” must be regarded as including a reference to a “transmission system”;

(3)	a reference to a “Distribution Network User” must be regarded as including a reference to a “Transmission Network User”;

(4)	a reference to a “Distribution Network Service Provider” must be regarded as including a reference to a “Transmission Network Service Provider”;

(5)	a reference to a “distribution service” must be regarded as including a reference to a “transmission service”; and

(6)	a reference to an “embedded generating unit” must be regarded as a reference to a “generating unit”.

Note:

The object of this rule is to ensure the local electricity systems in this jurisdiction are treated as “distribution systems” for the purposes of the operation of this Chapter.

45	Clause 6.1.3 modified

Clause 6.1.3(a)(2)

omit

7

insert

7A

46	Clause 6.2.5 modified

(1)	Clause 6.2.5(c)(3)

omit, insert

(2A)	for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply during the 1st regulatory control period – the regulatory arrangements in the 2014 NT Network Price Determination; and

(3)	for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply after the 1st regulatory control period  – the regulatory arrangements (if any) applicable to the relevant service immediately before the commencement of the distribution determination; and

(2)	Clause 6.2.5(c), at the end

insert

Note:

The modifications to this paragraph expire on 1 July 2024.

(3)	Clause 6.2.5(d)(3)

omit, insert

(2A)	for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply during the 1st regulatory control period – the regulatory arrangements in the 2014 NT Network Price Determination); and

(3)	for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply after the 1st regulatory control period – the regulatory arrangements (if any) applicable to the relevant service immediately before the commencement of the distribution determination; and

(4)	Clause 6.2.5(d), at the end

insert

Note:

The modifications to this paragraph expire on 1 July 2024.

47	Clause 6.4.1 modified

After clause 6.4.1(c)

insert

(ca)	For the application of these Rules in this jurisdiction:

(1)	the post-tax revenue model that is in force in the other participating jurisdictions on 1 July 2016 is taken:

(i)	to be the post-tax revenue model in force in this jurisdiction (subject to any amendment or replacement under these Rules); and

(ii)	to have been prepared and published by the AER on 1 July 2016; and

(2)	the AER is taken to have complied with the requirements of paragraphs (a) and (c) in preparing and publishing the post-tax revenue model.

48	Clause 6.4.3 modified

(1)	Clause 6.4.3(a)(6)

omit, insert

(5A)	for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply during the 1st regulatory control period – the other revenue increments or decrements (if any) for that year arising from the application during the 2014-19 NT regulatory control period of the control mechanism in the 2014 NT Network Price Determination, as modified by the 2014 NT Ministerial Direction – see paragraph (b)(5A); and

(6)	for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply after the 1st regulatory control period – the other revenue increments or decrements (if any) for that year arising from the application of a control mechanism in the previous regulatory control period – see paragraph (b)(6);

(2)	Clause 6.4.3(a), at the end

insert

Note:

The modifications to this paragraph expire on 1 July 2024.

(3)	After clause 6.4.3(b)(5)

insert

(5A)	the other revenue increments or decrements referred to in paragraph (a)(5A) are those that are to be carried forward to the 1st regulatory control period as a result of the application during the 2014-19 NT regulatory control period of the control mechanism in the 2014 NT Network Price Determination, as modified by the 2014 NT Ministerial Direction and are apportioned to the relevant year under the distribution determination for the 1st regulatory control period;

Note:

This subparagraph expires on 1 July 2024.

49	Clause 6.4.4 modified

After clause 6.4.4(e)

insert

(ea)	For the application of these Rules in this jurisdiction:

(1)	the Shared Asset Guidelines that are in force in the other participating jurisdictions on 1 July 2016 are taken:

(i)	to be the Shared Asset Guidelines in force in this jurisdiction (subject to any amendment or replacement under these Rules); and

(ii)	to have been made and published by the AER on 1 July 2016; and

(2)	the AER is taken to have complied with the requirements of paragraph (d) in making and publishing the Shared Asset Guidelines.

50	Clause 6.4.5 modified

After clause 6.4.5(b)

insert

(ba)	For the application of these Rules in this jurisdiction:

(1)	the Expenditure Forecast Assessment Guidelines that are in force in the other participating jurisdictions on 1 July 2016 are taken:

(i)	to be the Expenditure Forecast Assessment Guidelines in force in this jurisdiction (subject to any amendment or replacement under these Rules); and

(ii) 	to have been developed and published by the AER on 1 July 2016; and

(2)	the AER is taken to have complied with the requirements of paragraph (a) in developing and publishing the Expenditure Forecast Assessment Guidelines.

51	Rule 6.4A modified

After rule 6.4A(c)

insert

(ca)	For the application of these Rules in this jurisdiction:

(1)	the Capital Expenditure Incentive Guidelines that are in force in the other participating jurisdictions on 1 July 2016 are taken:

(i)	to be the Capital Expenditure Incentive Guidelines in force in this jurisdiction (subject to any amendment or replacement under these Rules); and

(ii)	to have been made and published by the AER on 1 July 2016; and

(2)	the AER is taken to have complied with the requirements of paragraph (b) in making and publishing the Capital Expenditure Incentive Guidelines.

52	Clause 6.5.1 modified

After clause 6.5.1(d)

insert

(da)	For the application of these Rules in this jurisdiction:

(1)	the roll forward model that is in force in the other participating jurisdictions on 1 July 2016 is taken:

(i)	to be the roll forward model in force in this jurisdiction (subject to any amendment or replacement under these Rules); and

(ii)	to have been developed and published by the AER on 1 July 2016; and

(2)	the AER is taken to have complied with the requirements of paragraphs (b), (d) and (e) in developing and publishing the roll forward model.

53	Clause 6.5.2 modified

After clause 6.5.2(q)

insert

(qa)	For the application of these Rules in this jurisdiction:

(1)	the Rate of Return Guidelines that are in force in the other participating jurisdictions on 1 July 2016 are taken:

(i)	to be the Rate of Return Guidelines in force in this jurisdiction (subject to any amendment or replacement under these Rules); and

(ii)	to have been made and published by the AER on 1 July 2016; and

(2)	the AER is taken to have complied with the requirements of paragraphs (m) and (n) in making and publishing the Rate of Return Guidelines; and

(3)	despite paragraph (p)(1), the AER need only review the Rate of Return Guidelines when it is required to review the Guidelines in the other participating jurisdictions.

54	Clause 6.5.8 modified

After clause 6.5.8(d)

insert

(da)	For the application of these Rules in this jurisdiction:

(1)	the efficiency benefit sharing scheme that is in force in the other participating jurisdictions on 1 July 2016 is taken:

(i)	to be the efficiency benefit sharing scheme in force in this jurisdiction (subject to any amendment or replacement under these Rules); and

(ii)	to have been developed and published by the AER on 1 July 2016; and

(2)	the AER is taken to have complied with the requirements of paragraphs (a) and (c) in developing and publishing the efficiency benefit sharing scheme.

55	Clause 6.5.8A modified

After clause 6.5.8A(e)

insert

(ea)	For the application of these Rules in this jurisdiction:

(1)	the capital expenditure sharing scheme that is in force in the other participating jurisdictions on 1 July 2016 is taken:

(i)	to be the capital expenditure sharing scheme in force in this jurisdiction (subject to any amendment or replacement under these Rules); and

(ii)	to have been developed by the AER on 1 July 2016; and

(2)	the AER is taken to have complied with the requirements of paragraphs (b), (c) and (d) in developing the capital expenditure sharing scheme.

56	Clause 6.6.1 modified

After clause 6.6.1, heading

insert

Note:

- Clause 6.6.1(a1)(4), (c)(6)(iii), (l) and (m) have no effect in this jurisdiction until the National Energy Retail Law is applied as a law of this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

57	Clause 6.6.1 modified (expires when NERL applied)

Before clause 6.6.1(a1)(1)

insert

(1AA)	a local event prescribed by the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations;

Notes:

1	See Part 3 of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations for modifications to the operation of this clause 6.6.1 in relation to a local event.

2	Subparagraph (1AA) expires when the National Energy Retail Law is applied as a law of this jurisdiction.

58	Clause 6.6.1 modified (expires on 1 July 2024)

(1)	Before clause 6.6.1(a1)(1)

insert

(1AB)	a NT transitional regulatory change event prescribed by the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations;

Note:

1	See Part 3 of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations for modifications to the operation of this clause 6.6.1 in relation to a NT transitional regulatory change event.

2	Subparagraph (1AB) expires on 1 July 2024.

(2)	Clause 6.6.1(j)(7A), after "6.6.1"

insert

or clause 6.6.1AB

(3)	After clause 6.6.1(j)(7A)

insert

Note:

The modification to subparagraph (7A) expires on 1 July 2024.

59	Clauses 6.6.1AA and 6.6.1AB inserted

After clause 6.6.1

insert

6.6.1AA	Cost pass through – deemed determinations

(a)	On and from 1 July 2019, an amount that:

(1)	under clause 3.1.3(a)(ii) of Part B of the 2014 NT Network Price Determination, the AER had determined, on or after 1 July 2018, should be passed through to network users in a regulatory year of the 1st regulatory control period or a subsequent regulatory control period; or

(2)	under clause 3.1.3(d)(ii) of Part B of the 2014 NT Network Price Determination, should be passed through to network users in a regulatory year of the 1st regulatory control period or a subsequent regulatory control period as a result of the AER, on or after 1 July 2018, failing to make a determination within the prescribed period,

is taken to be an amount determined under clause 6.6.1(d)(2).

(b)	On and from 1 July 2019, an amount that, under clause 3.1.5(a)(ii)(B) of Part B of the 2014 NT Network Price Determination, the AER had determined, on or after 1 July 2018, should be passed through to network users in a regulatory year of the 1st regulatory control period or a subsequent regulatory control period is taken to be an amount determined under clause 6.6.1(g)(2)(ii).

Note:

This clause expires on 1 July 2024.

6.6.1AB	Cost pass through – NT events

(a)	A Distribution Network Service Provider may seek the approval of the AER to pass through to Distribution Network Users a positive pass through amount in relation to an NT positive change event.

Note:

See Part 3 of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations for modifications to the operation of this clause 6.6.1AB in relation to certain NT positive change events.

(b)	The AER may require a Distribution Network Service Provider to pass through to Distribution Network Users a negative pass through amount in relation to an NT negative change event as determined by the AER under paragraph (g).

Positive pass through

(c)	To seek the approval of the AER to pass through a positive pass through amount in relation to an NT positive change event, a Distribution Network Service Provider must submit to the AER, within 90 business days after the commencement of the 1st regulatory control period, a written statement that specifies:

(1)	the details of the NT positive change event;

(2)	the date on which the NT positive change event occurred;

(3)	the eligible pass through amount in respect of that NT positive change event;

(4)	the positive pass through amount the Distribution Network Service Provider proposes in relation to the NT positive change event;

(5)	the amount of the positive pass through amount that the Distribution Network Service Provider proposes should be passed through to Distribution Network Users in each regulatory year after the NT positive change event occurred;

(6)	evidence:

(i)	of the actual and likely increase in costs referred to in subparagraph (3); and

(ii)	that such costs occur solely as a consequence of the NT positive change event; and

(7)	such other information as may be required under any relevant regulatory information instrument.

(d)	If the AER determines that an NT positive change event has occurred in respect of a statement under paragraph (c), the AER must determine:

(1)	the approved pass through amount; and

(2)	the amount of that approved pass through amount that should be passed through to Distribution Network Users in each regulatory year after the NT positive change event occurred,

taking into account the matters referred to in paragraph (j).

(e)	Subject to paragraph (k1), if the AER does not make the determinations referred to in paragraph (d) within 40 business days from the later of the date it receives the Distribution Network Service Provider’s statement and accompanying evidence under paragraph (c), and the date it receives any additional information required under paragraph (e1), then, on the expiry of that period, the AER is taken to have determined that:

(1)	the positive pass through amount as proposed in the Distribution Network Service Provider’s statement under paragraph (c) is the approved pass through amount in respect of that NT positive change event; and

(2)	the amount of that positive pass through amount that the Distribution Network Service Provider proposes in its statement under paragraph (c) should be passed through to Distribution Network Users in each regulatory year after the NT positive change event occurred, is the amount that should be so passed through in each such regulatory year.

(e1)	A Distribution Network Service Provider must provide the AER with such additional information as the AER requires for the purpose of making a determination under paragraph (d) within the time specified by the AER in a notice provided to the Distribution Network Service Provider by the AER for that purpose.

Negative pass through

(f)	A Distribution Network Service Provider must submit to the AER, within 90 business days after the later of the commencement of the 1st regulatory control period and the date on which the provider becomes aware of the occurrence of an NT negative change event for the provider, a written statement that specifies:

(1)	the details of the NT negative change event;

(2)	the date on which the NT negative change event occurred;

(3)	the costs in the provision of direct control services and NT equivalent services that the Distribution Network Service Provider has saved and is likely to save as a result of the negative change event until the end of the 1st regulatory control period;

(4)	the aggregate amount of those saved costs that the Distribution Network Service Provider proposes should be passed through to Distribution Network Users;

(5)	the amount of the costs referred to in subparagraph (4) the Distribution Network Service Provider proposes should be passed through to Distribution Network Users in each regulatory year after the NT negative change event occurred; and

(6)	such other information as may be required under any relevant regulatory information instrument.

(f1)	If the occurrence of the NT negative change event is not notified by the Distribution Network Service Provider to the AER under paragraph (f) then, as soon as is reasonably practicable and before making a determination referred to in paragraph (g), the AER must notify the Distribution Network Service Provider of the occurrence of that NT negative change event.

(g)	If an NT negative change event occurs (whether or not the occurrence of that NT negative change event is notified by the Distribution Network Service Provider to the AER under paragraph (f)) and the AER determines to impose a requirement on the provider in relation to that NT negative change event as described in paragraph (b), the AER must determine:

(1)	the required pass through amount; and

(2)	taking into account the matters referred to in paragraph (j):

(i)	how much of that required pass through amount should be passed through to Distribution Network Users (the “negative pass through amount”); and

(ii)	the amount of that negative pass through amount that should be passed through to Distribution Network Users in each regulatory year after the NT negative change event occurred.

(g1)	Subject to paragraph (k1), if the AER does not make the determinations referred to in paragraph (g) within 40 business days from:

(1)	where the Distribution Network Service Provider notifies the AER of the occurrence of the NT negative change event under paragraph (f) – the later of the date the AER receives the Distribution Network Service Provider’s statement under paragraph (f) and the date the AER receives any information required by the AER under paragraph (h); or

(2)	where the Distribution Network Service Provider does not notify the AER of the occurrence of the NT negative change event under paragraph (f) – the later of the date the AER notifies the Distribution Network Service Provider under paragraph (f1) and the date the AER receives any information required by the AER under paragraph (h),

then the AER is taken to have determined that the required pass through amount is zero.

(h)	A Distribution Network Service Provider must provide the AER with such information as the AER requires for the purpose of making a determination under paragraph (g) within the time specified by the AER in a notice provided to the Distribution Network Service Provider by the AER for that purpose.

Consultation

(i)	Before making a determination under paragraph (d) or (g), the AER may consult with the relevant Distribution Network Service Provider and such other persons as the AER considers appropriate, on any matters arising out of the relevant NT positive change event or NT negative change event the AER considers appropriate.

Relevant factors

(j)	In making a determination under paragraph (d) or (g) in respect of a Distribution Network Service Provider, the AER must take into account:

(1)	the matters and proposals set out in any statement given to the AER by the Distribution Network Service Provider under paragraph (c) or (f);

(2)	in the case of an NT positive change event, the increase in costs in the provision of direct control services or NT equivalent services that, as a result of the NT positive change event, the Distribution Network Service Provider has incurred and is likely to incur until the end of the 1st regulatory control period;

(2A)	in the case of a NT negative change event, the costs in the provision of direct control services or NT equivalent services that, as a result of the NT negative change event, the Distribution Network Service Provider has saved and is likely to save until the end of the 1st regulatory control period;

(3)	in the case of an NT positive change event, the efficiency of the Distribution Network Service Provider’s decisions and actions in relation to the risk of the NT positive change event, including whether the Distribution Network Service Provider has failed to take any action that could reasonably be taken to reduce the magnitude of the eligible pass through amount in respect of that NT positive change event and whether the Distribution Network Service Provider has taken or omitted to take any action where such action or omission has increased the magnitude of the amount in respect of that NT positive change event;

(4)	the time cost of money based on the allowed rate of return for the Distribution Network Service Provider for the 1st regulatory control period;

(5)	the need to ensure that the Distribution Network Service Provider only recovers any actual or likely increment in costs under this paragraph (j) to the extent that such increment is solely as a consequence of an NT positive change event or NT negative change event;

(6)	in the case of a tax change event (as defined in Part B of the 2014 NT Network Price Determination), any change in the way another tax is calculated, or the removal or imposition of another tax, which, in the AER’s opinion, is complementary to the tax change event concerned;

(7)	whether the costs of the NT positive change event or NT negative change event have already been factored into the calculation of the Distribution Network Service Provider’s annual revenue requirement for the 1st regulatory control period or will be factored into the calculation of the Distribution Network Service Provider’s annual revenue requirement for a subsequent regulatory control period;

(7A)	the extent to which the costs that the Distribution Network Service Provider has incurred and is likely to incur are the subject of a previous determination made by the AER under this clause or clause 6.6.1; and

(8)	any other factors that the AER considers relevant.

Extension of time limits

(k)	The AER must, by written notice to a Distribution Network Service Provider, extend a time limit fixed in paragraph (c) or (f) if the AER is satisfied that the difficulty of assessing or quantifying the effect of the relevant NT positive change event or NT negative change event justifies the extension.

(k1)	If the AER is satisfied that the making of a determination under paragraph (d) or (g) involves issues of such complexity or difficulty that the time limit fixed in paragraph (e) or (g1) should be extended, the AER may extend that time limit by a further period of up to 60 business days, provided that it gives written notice to the Distribution Network Service Provider of that extension not later than 10 business days before the expiry of that time limit.

(k2)	If the AER extends a time limit under paragraph (k1), it must make available on its website a notice of that extension as soon as is reasonably practicable.

(k3)	Subject to paragraph (k6), if the AER gives a written notice to the Distribution Network Service Provider stating that it requires information from an Authority in order to make a determination under paragraph (d) or (g) then, for the purpose of calculating elapsed time, the period between when the AER gives that notice to the Distribution Network Service Provider and when the AER receives that information from that Authority is to be disregarded.

(k4)	Subject to paragraph (k6), if the AER gives a written notice to the Distribution Network Service Provider stating that, in order to make a determination under paragraph (d) or (g), it requires information that it anticipates will be made publicly available by a judicial body or royal commission then, for the purpose of calculating elapsed time, the period between when the AER gives that notice to the Distribution Network Service Provider and when that information is made publicly available is to be disregarded.

(k5)	Where the AER gives a notice to the Distribution Network Service Provider under paragraph (k3) or (k4), it must:

(1)	as soon as is reasonably practicable make available on its website a notice stating when the period referred to in paragraph (k3) or (k4), as the case may be, has commenced;

(2)	as soon as is reasonably practicable make available on its website a notice stating when the period referred to in paragraph (k3) or (k4), as the case may be, has ended; and

(3)	if the information specified in that notice is required from an Authority, promptly request that information from the relevant Authority.

(k6)	Paragraphs (k3) and (k4) do not apply if the AER gives the notice specified in those paragraphs to the Distribution Network Service Provider later than 10 business days before the expiry of the time limit fixed in paragraphs (e) or (g1).

Note:

This clause expires on 1 July 2024.

60	Clause 6.6.2 modified

After clause 6.6.2(c)

insert

(ca)	For the application of these Rules in this jurisdiction:

(1)	the service target performance incentive scheme that is in force in the other participating jurisdictions on 1 July 2016 is taken:

(i)	to be the service target performance incentive scheme in force in this jurisdiction (subject to any amendment or replacement under these Rules); and

(ii)	to have been developed and published by the AER on 1 July 2016; and

(2)	the AER is taken to have complied with the requirements of paragraphs (a) and (b) in developing and publishing the service target performance incentive scheme.

61	Clause 6.6.3 modified

Clause 6.6.3(c)(3)

omit

in the market

insert

via a transmission or distribution system in this jurisdiction

62	Clause 6.6.4 modified

After clause 6.6.4(a)

insert

(ab)	For the purposes of paragraph (a), the AER must regard the reference to “the national electricity system” in the national electricity objective stated in section 7 of the Law as including a reference to one or more, or all, of the local electricity systems, as the case requires.

63	Clause 6.6A.1 modified

Clause 6.6A.1(b)(2)(iii)

omit

$30

insert

$15

64	Clause 6.8.1 modified

After clause 6.8.1(e)

insert

(ea)	Despite paragraph (e), for a Distribution Network Service Provider in this jurisdiction, the AER must:

(1)	after consulting with the Distribution Network Service Provider and other persons as the AER considers appropriate, make a framework and approach paper by 1 August 2017; and

(2)	give a copy of the paper to the Distribution Network Service Provider, and publish it, as soon as is reasonably practicable.

Note:

This paragraph expires on 1 July 2019.

65	Clause 6.8.1A modified

After clause 6.8.1A(b)

insert

(ba)	Despite paragraph (b), for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply during the 1st regulatory control period, the provider must submit the information referred to in paragraph (a) on or before 1 July 2017.

Note:

This paragraph expires on 1 July 2019.

66	Clause 6.10.1 modified

After clause 6.10.1(b)

insert

(ba)	In addition, if the draft distribution determination will apply to a distribution system in this jurisdiction during the 1st regulatory control period, the AER must have regard to:

(1)	any amount that, under clause 3.1.3(a)(ii) or 3.1.5(a)(ii)(B) of Part B of the 2014 NT Network Price Determination, the AER determined, before 1 July 2018, should be passed through to network users in a regulatory year of the 1st regulatory control period or a subsequent regulatory control period; and

(2)	any amount that, under clause 3.1.3(d)(ii) of Part B of the 2014 NT Network Price Determination, should be passed through to network users in a regulatory year of the 1st regulatory control period or a subsequent regulatory control period as a result of the AER failing, before 1 July 2018, to make a determination within the prescribed period.

Note:

This paragraph expires on 1 July 2024.

67	Clause 6.11.1 modified

After clause 6.11.1(b)

insert

(ba)	In addition, if the distribution determination will apply to a distribution system in this jurisdiction during the 1st regulatory control period, the AER must have regard to:

(1)	any amount that, under clause 3.1.3(a)(ii) or 3.1.5(a)(ii)(B) of Part B of the 2014 NT Network Price Determination, the AER determined, before 1 July 2018, should be passed through to network users in a regulatory year of the 1st regulatory control period or a subsequent regulatory control period; and

(2)	any amount that, under clause 3.1.3(d)(ii) of Part B of the 2014 NT Network Price Determination, should be passed through to network users in a regulatory year of the 1st regulatory control period or a subsequent regulatory control period as a result of the AER failing, before 1 July 2018, to make a determination within the prescribed period.

Note:

This paragraph expires on 1 July 2024.

68	Rule 6.14A modified

After rule 6.14A(d)

insert

(da)	For the application of these Rules in this jurisdiction:

(1)	the Distribution Confidentiality Guidelines that are in force in the other participating jurisdictions on 1 July 2016 are taken:

(i)	to be the Distribution Confidentiality Guidelines in force in this jurisdiction (subject to any amendment or replacement under these Rules); and

(ii)	to have been made and published by the AER on 1 July 2016; and

(2)	the AER is taken to have complied with the requirements of paragraphs (a) and (b) in making and publishing the Distribution Confidentiality Guidelines.

69	Clause 6.15.3 modified

After clause 6.15.3(e)

insert

(ea)	For the application of these Rules in this jurisdiction:

(1)	the Cost Allocation Guidelines that are in force in the other participating jurisdictions on 1 July 2016 are taken:

(i)	to be the Cost Allocation Guidelines in force in this jurisdiction (subject to any amendment or replacement under these Rules); and

(ii)	to have been made and published by the AER on 1 July 2016; and

(2)	the AER is taken to have complied with the requirements of paragraphs (a), (b) and (e) in making and publishing the Cost Allocation Guidelines.

70	Clause 6.15.4 modified

Clause 6.15.4(a)

omit, insert

(a)	Each Distribution Network Service Provider in this jurisdiction must submit to the AER for its approval a document setting out its proposed Cost Allocation Method within 6 months of being required to do so by the AER.

71	Clause 6.17.1A inserted

After clause 6.17.1

insert

- 6.17.1A	Distribution Ring-Fencing Guidelines deferred until 1 July 2019

Despite clause 6.17.1, the Distribution Ring-Fencing Guidelines have no effect in this jurisdiction until 1 July 2019.

72	Clause 6.17.1B inserted

Before clause 6.17.2

insert

- 6.17.1B	Application of Distribution Ring-Fencing Guidelines in this jurisdiction

Despite clause 6.17.1, in this jurisdiction:

(a)	the following provisions of the Distribution Ring-Fencing Guidelines have no effect:

(1)	clause 1.1.1, all words from “For the avoidance” to “DNSPs.”;

(2)	clause 1.4, definition non-distribution services; and

(3)	clauses 3.1, 4.2.1, 4.2.2 and 4.2.3; and

(b)	a reference in the Distribution Ring-Fencing Guidelines to “non-distribution services” must be regarded as a reference to “other services”; and

(c)	a reference in clause 3.2.1(a) of the Distribution Ring-Fencing Guidelines and the note to that paragraph to “affiliated entities” must be regarded as a reference to “related electricity service providers”; and

(d)	a reference in clause 6.2.1(b)(iv) of the Distribution Ring-Fencing Guidelines to “affiliated entity” must be regarded as a reference to “related electricity service provider”.

Note:

This clause, and the operation of the Distribution Ring-Fencing Guidelines in this jurisdiction, will be revisited in the event of the introduction of contestable services (including contestable metering services) in this jurisdiction.

73	Clause 6.18.5 modified

After clause 6.18.5(h)

insert

(ha)	For a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply or applies during the 1st regulatory control period, the reference in paragraph (h) to “the previous regulatory year” must be regarded as a reference to “the year that precedes the relevant regulatory year of the 1st regulatory control period (which may be the last year of the 2014-19 NT regulatory control period)”.

Note:

This paragraph expires on 1 July 2024.

74	Clause 6.18.9 modified

After clause 6.18.9, heading

insert

Note:

Clause 6.18.9(a)(3) has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

75	Chapter 6, Parts J to N modified

After Chapter 6, Parts J, K, L, M and N, headings

insert

Note:

This Part has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of this Part will be revisited as part of the phased implementation of the Rules in this jurisdiction.

76	Rule 6.27A inserted

After rule 6.27, in Part O

insert

6.27A	Application in this jurisdiction

(a)	Despite rule 6.27, an annual benchmarking report published before 1 January 2018 must not relate to a Distribution Network Service Provider in this jurisdiction.

(b)	For an annual benchmarking report that is to be published between 1 January 2018 and 30 June 2019, the reference in rule 6.27(a) to “direct control services” must, in relation to Distribution Network Service Providers in this jurisdiction, be regarded as a reference to “NT equivalent services”.

Note:

This rule expires on 1 July 2019.

77	Clause S6.1.1 modified

(1)	Clause S6.1.1(6) and (7)

omit, insert

(5A)	in the case of a building block proposal for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply during the 1st regulatory control period:

(i)	capital expenditure for each of the past years of the 2009-14 NT regulatory control period and 2014-19 NT regulatory control period, and the expected capital expenditure for each of the last 2 years of the 2014-19 NT regulatory control period, categorised in the same way as for the capital expenditure forecast and separately identifying for each such year:

(A)	margins paid or expected to be paid by the Distribution Network Service Provider in circumstances where those margins are referable to arrangements that do not reflect arm’s length terms; and

(B)	expenditure that should have been treated as operating expenditure in accordance with the policy submitted under paragraph (8) for that year; and

(ii)	an explanation of any significant variations in the forecast capital expenditure from capital expenditure in the 2009-14 NT regulatory control period and 2014-19 NT regulatory control period;

(5B)	in the case of a building block proposal for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply during the 2nd regulatory control period:

(i)	capital expenditure for each of the past years of the 2014-19 NT regulatory control period and each of the past regulatory years of the 1st regulatory control period, and the expected capital expenditure for each of the last 2 regulatory years of the 1st regulatory control period, categorised in the same way as for the capital expenditure forecast and separately identifying for each such year:

(A)	margins paid or expected to be paid by the Distribution Network Service Provider in circumstances where those margins are referable to arrangements that do not reflect arm’s length terms; and

(B)	expenditure that should have been treated as operating expenditure in accordance with the policy submitted under paragraph (8) for that year; and

(ii)	an explanation of any significant variations in the forecast capital expenditure from capital expenditure in the 2014–19 NT regulatory control period and 1st regulatory control period;

(6)	in the case of a building block proposal for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply after the 2nd regulatory control period – capital expenditure for each of the past regulatory years of the previous and current regulatory control period, and the expected capital expenditure for each of the last 2 regulatory years of the current regulatory control period, categorised in the same way as for the capital expenditure forecast and separately identifying for each such regulatory year:

(i)	margins paid or expected to be paid by the Distribution Network Service Provider in circumstances where those margins are referable to arrangements that do not reflect arm’s length terms; and

(ii)	expenditure that should have been treated as operating expenditure in accordance with the policy submitted under paragraph (8) for that regulatory year;

(7)	in the case of a building block proposal for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply after the 2nd regulatory control period – an explanation of any significant variations in the forecast capital expenditure from historical capital expenditure; and

(2)	Clause S6.1.1, at the end

insert

Note:

The modifications to this clause expire on 1 July 2029.

78	Clause S6.1.2 modified

Clause S6.1.2(7) and (8)

omit, insert

(6A)	in the case of a building block proposal for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply during the 1st regulatory control period:

(i)	operating expenditure for each of the past years of the 2009-14 NT regulatory control period and 2014-19 NT regulatory control period, and the expected operating expenditure for each of the last 2 years of the 2014-19 NT regulatory control period, categorised in the same way as for the operating expenditure forecast; and

(ii)	an explanation of any significant variations in the forecast operating expenditure from operating expenditure in the 2009-14 NT regulatory control period and 2014-19 NT regulatory control period;

(6B)	in the case of a building block proposal for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply during the 2nd regulatory control period:

(i)	operating expenditure for each of the past years of the 2014-19 NT regulatory control period and each of the past regulatory years of the 1st regulatory control period, and the expected operating expenditure for each of the last 2 regulatory years of the 1st regulatory control period, categorised in the same way as for the operating expenditure forecast; and

(ii)	an explanation of any significant variations in the forecast operating expenditure from operating expenditure in the 2014-19 NT regulatory control period and the 1st regulatory control period;

(7)	in the case of a building block proposal for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply after the 2nd regulatory control period – operating expenditure for each of the past regulatory years of the previous and current regulatory control period, and the expected operating expenditure for each of the last 2 regulatory years of the current regulatory control period, categorised in the same way as for the operating expenditure forecast;

(8)	in the case of a building block proposal for a distribution determination for a Distribution Network Service Provider in this jurisdiction that will apply after the 2nd regulatory control period – an explanation of any significant variations in the forecast operating expenditure from historical operating expenditure.

Note:

The modifications to this clause expire on 1 July 2029.

79	Clause S6.2.1 modified

(1)	After clause S6.2.1, heading

insert

Note:

Clause S6.2.1(d) has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

(2)	Clause S6.2.1(a), at the end

insert

However, this clause does not apply to the establishment of the value of the regulatory asset base for a distribution system in this jurisdiction as at the beginning of the 1st regulatory control period.

Note:

See clause S6.2.3A for the establishment of the value of the regulatory asset base for a distribution system in this jurisdiction as at the beginning of the 1st regulatory control period.  Also see rule 6.0(b)(2) for the treatment of distribution systems in this jurisdiction for the purposes of this schedule.

(3)	Clause S6.2.1(b)

omit

S6.2.2 and S6.2.3

insert

S6.2.3 and S6.2.3A

80	Clause S6.2.1 modified

After clause S6.2.1(e)(3)

insert

(3A)	However, in calculating the value of the regulatory asset base for a distribution system in this jurisdiction as at the beginning of the first regulatory year of the 2nd regulatory control period, the previous value of the regulatory asset base must be adjusted for the difference between:

(i)	the estimated capital expenditure for any part of the 2014-19 NT regulatory control period or 1st regulatory control period where that estimated capital expenditure has been included in that value; and

(ii)	the actual capital expenditure for that part of the 2014-19 NT regulatory control period or 1st regulatory control period.

This adjustment must also remove any benefit or penalty associated with any difference between the estimated and actual capital expenditure.

Note:

This subparagraph expires on 1 July 2029.

81	Clause S6.2.2 modified

After clause S6.2.2, heading

insert

Note:

Clause S6.2.2 has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

82	Clause S6.2.2A modified

After clause S6.2.2A(a1)

insert

(a2)	However, for a decision on the regulatory asset base for a distribution system in this jurisdiction as at the commencement of the 2nd regulatory control period, “review period” means only the previous control period (excluding the last 2 regulatory years of that previous control period).

Note:

This paragraph expires on 1 July 2029.

83	Clause S6.2.2B modified

After clause S6.2.2B, heading

insert

Note:

Clause S6.2.2B(b) and (c) has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

84	Clause S6.2.3A inserted

After clause S6.2.3

insert

S6.2.3A	Establishment of opening regulatory asset base for distribution system in this jurisdiction for 1st regulatory control period

(a)	Application of this clause

This clause applies to the establishment of the value of the regulatory asset base for a distribution system in this jurisdiction as at the beginning of the 1st regulatory control period.

(b)	Roll forward model to comply with this clause

The values to be used for completing the roll forward model must be established in accordance with this clause.

(c)	Previous value of regulatory asset base for distribution system in this jurisdiction

For paragraph (d), the previous value of the regulatory asset base for all distribution systems in this jurisdiction that are owned, controlled or operated by the Distribution Network Service Provider mentioned in the table below is as set out in the table:

| Jurisdiction | Distribution Network Service Provider | Regulatory Asset Base ($m) |
| --- | --- | --- |
| Northern Territory | Power and Water Corporation ABN 15 947 352 360 | 928.34 (as at 1 July 2014 in July 2014 dollars) |

(d)	Method of adjustment of value of regulatory asset base

The value of the regulatory asset base for the distribution systems mentioned in paragraph (c) as at the beginning of the first regulatory year of the 1st regulatory control period must be calculated by adjusting the previous value (the previous value) of the regulatory asset base for the distribution systems as specified in paragraph (c) as follows:

(1)	The previous value of the regulatory asset base must be:

(i)	increased by the amount of all capital expenditure incurred during the 2014-19 NT regulatory control period (the previous control period), including any capital expenditure determined for that period under clause 3.2.4(d)(i)(A) of Part B of the 2014 NT Network Price Determination where the Determination has been amended under clause 3.2.4(d)(iii) of the Determination (regardless of whether such capital expenditure is above or below the forecast capital expenditure for the period that is adopted for the purposes of the Determination (if any) for that period); and

(ii)	reduced by the amount of any capital expenditure that has been recovered by way of a pass through under clause 3.1 of Part B of the 2014 NT Network Price Determination where the amount of that capital expenditure would otherwise have been included in the value of the regulatory asset base.

(2)	The previous value of the regulatory asset base must be increased by the amount of the estimated capital expenditure approved by the Utilities Commission or AER for any part of the previous control period for which actual capital expenditure is not available.

(3)	The previous value of the regulatory asset base must be adjusted for the difference between:

(i)	the estimated capital expenditure for any part of the 2009-14 NT regulatory control period or 2014-19 NT regulatory control period where that estimated capital expenditure has been included in that value; and

(ii)	the actual capital expenditure for that part of the 2009-14 NT regulatory control period or 2014-19 NT regulatory control period.

This adjustment must also remove any benefit or penalty associated with any difference between the estimated and actual capital expenditure.

(4)	The previous value of the regulatory asset base must only be increased by estimated or actual capital expenditure to the extent that all such capital expenditure is properly allocated to the provision of NT equivalent services in accordance with the Cost Allocation Methodology (as amended, varied or substituted from time to time) that is the subject of the Utilities Commission’s final decision referred to in Chapter 5 of Part A of the 2014 NT Network Price Determination.

(5)	The previous value of the regulatory asset base must be reduced by the amount of depreciation of the regulatory asset base during the previous control period, calculated in accordance with the 2014 NT Network Price Determination.

(6)	The previous value of the regulatory asset base must be reduced by the disposal value of any asset where that asset has been disposed of during the previous control period.

(7)	The previous value of the regulatory asset base must be reduced by the value of an asset where the asset was previously used to provide NT equivalent services but, as a result of the classification of the asset under Part B, the asset is not to be used to provide standard control services for the 1st regulatory control period.

(8)	The previous value of the regulatory asset base may be increased by the value of an asset to which this subparagraph applies to the extent that:

(i)	the AER considers the asset to be reasonably required to achieve one or more of the capital expenditure objectives; and

(ii)	the value of the asset has not been otherwise recovered.

This subparagraph applies to an asset that:

(iii)	was not used to provide NT equivalent services in the previous control period but, as a result of a change to the classification of a particular service under Part B, is to be used to provide standard control services for the 1st regulatory control period; or

(iv)	was never previously used to provide NT equivalent services but is to be used to provide standard control services for the 1st regulatory control period.

(e)	An increase or reduction in the value of the regulatory asset base under paragraph (d)(7) or (8) is to be based on the portion of the value of the asset properly allocated, or formerly properly allocated, to NT equivalent services in accordance with the principles and policies set out in the Cost Allocation Methodology (as amended, varied or substituted from time to time) that is the subject of the Utilities Commission’s final decision referred to in Chapter 5 of Part A of the 2014 NT Network Price Determination. The value of the relevant asset is taken to be its value as shown in independently audited and published accounts.

85	Chapters 6A and 6B modified

After Chapters 6A and 6B, headings

insert

Note:

- This Chapter has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of this Chapter will be revisited as part of the phased implementation of the Rules in this jurisdiction.

86	Chapter 7 modified

After Chapter 7, heading

insert

Note:

This Chapter has no effect in this jurisdiction but will take effect at a later date.  Chapter 7A applies in this jurisdiction from 1 July 2019 in substitution for this Chapter.

Criteria for assessing when the transition to this Chapter will take effect will be considered as part of the phased implementation of the Rules in this jurisdiction.

87	Chapter 7A inserted

After Chapter 7

insert

- Chapter 7A	Metering

Note:

Chapter 7A has no effect in this jurisdiction until 1 July 2019 and applies in substitution for Chapter 7 (which establishes the metering framework that applies in the other participating jurisdictions).  Chapter 7A operates as a transitional framework until Chapter 7 takes effect in this jurisdiction.

Criteria for assessing when the transition to Chapter 7 will take effect will be considered as part of the phased implementation of the Rules in this jurisdiction.

- Part A	Introduction

- 7A.1	Introduction to the Metering Chapter

- 7A.1.1	Purpose and application

This Chapter provides the framework for metering for local electricity systems by establishing the requirements for meters and metering installations at connection points on transmission networks or distribution networks.

- 7A.1.2	Contents

This Chapter sets out provisions relating to:

(a)	roles and responsibilities of financially responsible participants and Metering Coordinators;

(b)	the appointment of, and the qualifications and requirements applying to, Metering Providers and Metering Data Providers;

(c)	the appointment of Metering Coordinators;

(d)	metering installation requirements;

(e)	metering data services;

(f)	security of, and rights to access, metering installations, services provided by metering installations, energy data held in metering installations and metering data from metering installations; and

(g)	metrology and service level obligations for the provision of metering services in this jurisdiction.

- 7A.1.3	Definitions

In this Chapter:

actual meter reading means the collection of energy data from a metering installation by local access or remote acquisition.

- financially responsible participant means a person who is financially responsible for a connection point.

- metering provision services means the provision, installation and maintenance of metering installations.

NT Ombudsman means the person holding or occupying the office of Ombudsman for the Northern Territory established by section 9 of the Ombudsman Act (NT).

physical inventory means a physical count of devices.

scheduled meter reading means an actual meter reading performed in accordance with the usual reading cycle for the meter.

special meter reading means an actual meter reading performed outside of the usual reading cycle for the meter.

7A.1.4	Interpretation

(a)	This clause applies in relation to the following:

(1)	the provisions of this Chapter;

(2)	the provisions of Chapters 11 and 11A to the extent the provisions operate in relation to this Chapter;

(3)	the definitions in Chapter 10, to the extent the definitions are mentioned in a provision mentioned in subparagraph (1) or (2).

(b)	In a provision mentioned in paragraph (a), a reference to the “relevant Network Service Provider” must be regarded as a reference to “Power and Water Corporation ABN 15 947 352 360”.

7A.1.5	Inconsistency

(a)	If there is an inconsistency between substantive Chapter 7A and the schedules to this Chapter, substantive Chapter 7A prevails to the extent of the inconsistency.

(b)	In this clause:

substantive Chapter 7A means this Chapter other than the schedules to this Chapter.

- Part B	Roles and Responsibilities

- 7A.2	Role and responsibility of financially responsible participant

(a)	The financially responsible participant for a connection point must ensure that:

(1)	a Metering Coordinator is appointed in respect of the connection point in accordance with Part C of this Chapter;

(2)	the connection point has a metering installation and the metering installation is registered in accordance with any applicable regulatory instruments; and

(3)	a NMI has been obtained with respect to the connection point.

(b)	If a retailer is the financially responsible participant for a connection point, the retailer must comply with paragraph (a) before providing retail services relating to the connection point, and for so long as the retailer continues to provide retail services relating to the connection point.

- 7A.3	Role and responsibility of Metering Coordinator

7A.3.1	Responsibility of the Metering Coordinator

For the term of its appointment in respect of a connection point, the Metering Coordinator is the person responsible for:

(a)	the provision, installation and maintenance of a metering installation at the connection point in accordance with Part D of this Chapter;

(b)	the collection of metering data with respect to the metering installation, the processing of that data, the retention of that data in the metering data services database and the delivery of that data to other persons in accordance with Part E of this Chapter; and

(c)	managing the security of and access to:

(1)	the metering installation;

(2)	services provided by the metering installation;

(3)	energy data held in the metering installation; and

(4)	metering data from the metering installation,

in accordance with Part F of this Chapter.

7A.3.2	Role of the Metering Coordinator

Appointment of a Metering Provider

(a)	The Metering Coordinator at a connection point, other than a connection point with a type 7 metering installation, must appoint a person who is accredited to provide metering provision services in this jurisdiction to be the Metering Provider to provide metering provision services for the connection point.

Appointment of a Metering Data Provider

(b)	The Metering Coordinator at a connection point must appoint a person who is accredited to provide metering data services in this jurisdiction to be the Metering Data Provider to provide metering data services for the connection point.

Metering installations

(c)	The Metering Coordinator at a connection point, other than a connection point with a type 7 metering installation, must ensure that:

(1)	the metering installation is provided, installed and maintained in accordance with the Rules;

(2)	the components, accuracy and testing of the metering installation comply with the requirements of the Rules;

(3)	the security control of the metering installation is provided in accordance with rule 7A.9;

(4)	if remote acquisition is used or is to be used – a communications interface is installed and maintained to facilitate connection to the telecommunications network; and

(5)	the Metering Provider it appoints for the connection point complies with the obligations imposed on Metering Providers by this Chapter.

(d)	The Metering Coordinator at a connection point with a type 4 metering installation must ensure that energy data is retrieved from the metering installation via remote access.

(e)	A Metering Coordinator must not prevent, hinder or otherwise impede a Network Service Provider from locally accessing a metering installation or connection point for the purposes of reconnecting or disconnecting the connection point.

Metering data services

(f)	The Metering Coordinator at a connection point must:

(1)	ensure that the Metering Data Provider it appoints for the connection point complies with the obligations imposed on Metering Data Providers by this Chapter;

(2)	ensure that metering data services are provided in accordance with the Rules; and

(3)	arrange for the provision of relevant metering data to the Metering Data Provider if remote acquisition, if any, becomes unavailable.

Access to type 4 metering installations

(g)	The Metering Coordinator at a connection point with a type 4 metering installation must:

(1)	ensure that access to the metering installation, the services provided by the metering installation and energy data held in the metering installation is only granted to persons entitled, in accordance with this Chapter, to access the metering installation, the services provided by the metering installation or energy data held in the metering installation;

(2)	not arrange a disconnection or reconnection except:

(i)	on the request of the financially responsible participant or relevant Network Service Provider;

(ii)	if the disconnection or reconnection is effected via remote access; and

(iii)	in accordance with jurisdictional electricity legislation; and

(3)	not arrange a retailer planned interruption of the supply of electricity at the metering installation except:

(i)	on the request of the retailer; and

(ii)	in accordance with jurisdictional electricity legislation.

7A.4 	Qualification and requirements of Metering Providers and Metering Data Providers

7A.4.1 	Qualification and requirements of Metering Providers

(a)	This clause applies in respect of the 1st regulatory control period.

Note:

The application of this clause in respect of subsequent regulatory control periods will be considered as part of the phased implementation of the Rules in this jurisdiction.

(b)	For a connection point in respect of which a type 1, 2 or 3 metering installation is installed, or is required to be installed under this Chapter:

(1)	the relevant Network Service Provider is taken to be accredited to provide metering provision services in this jurisdiction (including the services mentioned in the schedules in respect of which a Metering Provider requires accreditation); and

(2)	the Metering Coordinator at the connection point is taken to have appointed the relevant Network Service Provider as the Metering Provider for the connection point.

(c)	For a connection point in respect of which a type 4, 4A, 5 or 6 metering installation is installed, or is required to be installed under this Chapter:

(1)	the relevant Network Service Provider is taken to be accredited to provide metering provision services in this jurisdiction (including the services mentioned in the schedules in respect of which a Metering Provider requires accreditation); and

(2)	the Metering Coordinator at the connection point is taken to have appointed the relevant Network Service Provider as the Metering Provider for the connection point.

(d)	A Metering Provider may, in providing metering provision services under this Chapter, contract with another person to assist it in the provision of those services, provided that person meets all relevant safety and technical requirements in any applicable regulatory instruments or other relevant law.

7A.4.2 	Qualification and requirements of Metering Data Providers

(a)	This clause applies in respect of the 1st regulatory control period.

Note:

The application of this clause in respect of subsequent regulatory control periods will be considered as part of the phased implementation of the Rules in this jurisdiction.

(b)	For a connection point in respect of which a type 1, 2 or 3 metering installation is installed, or is required to be installed under this Chapter:

(1)	the relevant Network Service Provider is taken to be accredited to provide metering data services in this jurisdiction (including the services mentioned in the schedules in respect of which a Metering Data Provider requires accreditation); and

(2)	the Metering Coordinator at the connection point is taken to have appointed the relevant Network Service Provider as the Metering Data Provider for the connection point.

(c)	For a connection point in respect of which a type 4, 4A, 5, 6 or 7 metering installation is installed, or is required to be installed under this Chapter:

(1)	the relevant Network Service Provider is taken to be accredited to provide metering data services in this jurisdiction (including the services mentioned in the schedules in respect of which a Metering Data Provider requires accreditation); and

(2)	the Metering Coordinator at the connection point is taken to have appointed the relevant Network Service Provider as the Metering Data Provider for the connection point.

(d)	A Metering Data Provider may, in providing metering data services under this Chapter, contract with another person to assist it in the provision of those services, provided that person meets all relevant safety and technical requirements in any applicable regulatory instrument or other relevant law.

- Part C	Appointment of Metering Coordinator

- 7A.5	Appointment of Metering Coordinator

(a)	This rule applies in respect of the 1st regulatory control period.

Note:

The application of this rule in respect of subsequent regulatory control periods will be considered as part of the phased implementation of the Rules in this jurisdiction.

(b)	For a connection point in respect of which a type 1, 2 or 3 metering installation is installed, or is required to be installed under this Chapter, the financially responsible participant for the connection point is taken to have appointed the relevant Network Service Provider as the Metering Coordinator for the connection point.

(c)	For a connection point in respect of which a type 4, 4A, 5 or 6 metering installation is installed, or is required to be installed under this Chapter, the financially responsible participant for the connection point is taken to have appointed the relevant Network Service Provider as the Metering Coordinator for the connection point.

(d)	For a connection point with a type 7 metering installation, the financially responsible participant for the connection point is taken to have appointed the relevant Network Service Provider as the Metering Coordinator for the connection point.

- Part D	Metering installation

- 7A.6	Metering installation arrangement

- 7A.6.1 	Metering installation requirements

(a)	The Metering Coordinator at a connection point must ensure that there is a metering installation at that connection point.

(b)	The Metering Coordinator at a connection point must ensure that energy data held in the metering installation is based on units of watthour (active energy) and where required varhour (reactive energy).

(c)	Installation and maintenance of a metering installation must be carried out in a safe manner, and only by a Metering Provider appointed under clause 7A.3.2.

7A.6.2	Metering installation components

(a)	A Metering Provider must, in accordance with the Rules, ensure that a metering installation, other than a type 7 metering installation:

(1)	contains a device that has either a visible or an equivalently accessible display of the cumulative total energy measured by that metering installation (at a minimum);

(2)	is accurate in accordance with clause 7A.6.4;

(3)	in the case of a type 1, 2, 3 or 4 metering installation – has electronic data transfer facilities from the metering installation to the metering data services database;

(4)	includes a communications interface to meet the requirements of clause 7A.3.2(c)(4);

(5)	is secure in accordance with rule 7A.9;

(6)	records energy data in a manner that enables metering data to be collated;

(7)	is capable of separately recording energy data for energy flows in each direction where bi-directional active energy flows occur or could occur;

(8)	has a measurement element for active energy and, if required in accordance with schedule 7A.1, a measurement element for reactive energy, with both measurements to be recorded;

(9)	includes facilities for storing interval energy data for a period of at least 35 days if the metering installation is a type 1, 2, 3 or 4 metering installation;

(10)	includes facilities for storing interval energy data for a period of at least 200 days or such other period as specified in schedule 7A.3 if the metering installation is a type 4A or 5 metering installation;

(11)	in the case of a type 6 metering installation, includes facilities capable of continuously recording the total accumulated energy supplied through it by a visible display in accordance with subparagraph (1), over a period of at least 12 months; and

(12)	is suitable for the range of operating conditions to which it will be exposed (for example temperature or impulse levels) and operates within the defined limits for its components.

(b)	A metering installation may consist of combinations of:

(1)	a current transformer;

(2)	a voltage transformer;

(3)	secure and protected wiring from the current transformer and the voltage transformer to the meter;

(4)	communications interface equipment such as a modem, isolation requirements, telephone service, radio transmitter and data link equipment;

(5)	auxiliary electricity supply to the meter;

(6)	an alarm circuit and monitoring facility;

(7)	a facility to keep the metering installation secure from interference;

(8)	test links and fusing;

(9)	summation equipment; and

(10)	several metering points to derive the metering data for a connection point.

(c)	The financially responsible participant for a connection point must:

(1)	apply to the relevant Network Service Provider for a NMI; and

(2)	provide the Metering Coordinator at the connection point with the NMI for the metering installation within 5 business days of receiving the NMI from the relevant Network Service Provider.

(d)	The relevant Network Service Provider must issue a unique NMI for each metering installation on its network to the financially responsible participant.

7A.6.3 	Metering point

The Metering Coordinator at a connection point must ensure that:

(a)	the metering point is located as close as practicable to the connection point, but is in a position that allows safe and unimpeded access to the metering installation by the Metering Provider, Metering Data Provider and any other person required or permitted to have access to the metering installation under the Rules or any other law; and

(b)	any instrument transformers required for a check metering installation are located in a position that achieves a mathematical correlation with the metering data.

7A.6.4 	Metering installation types and accuracy

(a)	The type of metering installation and the accuracy requirements for a metering installation are to be determined in accordance with schedule 7A.1.

(b)	A check metering installation is not required to have the degree of accuracy required of a metering installation but the Metering Coordinator must ensure that it has mathematical correlation with the metering installation and complies with the requirements of schedule 7A.1.

(c)	The Metering Coordinator at a connection point must ensure that the accuracy of a type 6 metering installation is in accordance with regulations issued under the National Measurement Act or, in the absence of any such regulations, with schedule 7A.3.

7A.6.5 	Functionality requirements for type 1, 2, 3 and 4 metering installations

(a)	This clause applies in respect of a type 1, 2, 3 or 4 metering installation.

(b)	The Metering Coordinator at a connection point must ensure that the metering installation complies with the functionality requirements specified in schedule 7A.5.

7A.6.6 	Altering a metering installation

(a)	A Metering Coordinator may arrange to alter a type 5 or 6 metering installation to make it capable of remote acquisition if:

(1)	the alteration is reasonably required to address operational difficulties; or

(2)	the Metering Coordinator is the relevant Network Service Provider and the alteration is reasonably required to enable the relevant Network Service Provider to meet its obligations to provide a safe, reliable and secure network.

(b)	An alteration of a metering installation by a Metering Coordinator in accordance with paragraph (a) does not alter the classification of that installation to a type 4 or 4A metering installation.

(c)	For subparagraph (a)(1), operational difficulties arise if the metering installation is difficult or unsafe to access because:

(1)	it is on a remote property;

(2)	it is within a secure facility;

(3)	it is in close proximity to hazardous materials; or

(4)	accessing or arranging access to it otherwise poses a risk to the safety and security of persons or property.

7A.6.7 	Metering installation malfunctions

(a)	A Metering Coordinator must, in respect of a connection point with:

(1)	a type 1, 2 or 3 metering installation, if a metering installation malfunction occurs to the metering installation, cause repairs to be made to it as soon as practicable but no later than 2 business days after the Metering Coordinator has been notified of the metering installation malfunction; or

(2)	a metering installation other than the installations mentioned in subparagraph (1), if a metering installation malfunction occurs to the metering installation, cause repairs to be made to it as soon as practicable but no later than 10 business days after the Metering Coordinator has been notified of the metering installation malfunction.

(b)	A Registered Participant, Metering Provider or Metering Data Provider who becomes aware of a metering installation malfunction that cannot be rectified within the applicable timeframes as specified in paragraph (a) must notify the Metering Coordinator of the metering installation malfunction within 1 business day.

7A.6.8 	Changing a metering installation

(a)	Subject to this clause, nothing in these Rules prevents the financially responsible participant (on its own behalf or, in the case of a retailer, on its own behalf or on behalf of a retail customer) or Network Service Provider in respect of a connection point from requesting the Metering Coordinator to arrange for:

(1)	the alteration of the metering installation at that connection point; or

(2)	the installation of a new metering installation at that connection point.

(b)	The incremental costs of the alteration of the metering installation or the installation of the new metering installation must be borne by the person who requests the alteration of the metering installation or the installation of the new metering installation.

7A.7 	Maintenance (including inspection and testing) of metering installations

7A.7.1	Maintenance

The Metering Coordinator for a connection point must ensure that any maintenance (including inspection and testing) of a metering installation at the connection point is carried out in a safe manner by an appropriately qualified person.

7A.7.2 	Responsibility for inspection and testing

(a)	A person who arranges or carries out an inspection or testing of a metering installation under this clause must do so in accordance with:

(1)	this clause; and

(2)	the relevant inspection and testing requirements set out in schedule 7A.2.

(b)	A Registered Participant may request that the Metering Coordinator make arrangements for the testing of a metering installation and, if the request is reasonable, the Metering Coordinator:

(1)	must not refuse the request; and

(2)	must make arrangements for the testing.

(c)	The Registered Participant who requested the testing under paragraph (b) may make a request to the Metering Coordinator to witness the tests.

(d)	The Metering Coordinator must not refuse a request received under paragraph (c) and must, no later than 5 business days prior to the testing, advise:

(1)	the party making the request; and

(2)	the financially responsible participant,

of:

(3)	the location and time of the tests; and

(4)	the method of testing to be undertaken.

(e)	If the Metering Coordinator has arranged testing of a metering installation under this clause and schedule 7A.2, the Metering Coordinator must:

(1)	inform the financially responsible participant that testing has been undertaken in respect of the metering installation in accordance with this clause; and

(2)	make the test results available in accordance with paragraphs (f) and (g).

(f)	If the test results mentioned in paragraph (e) indicate deviation from the technical requirements for the metering installation, the Metering Coordinator must ensure that the test results are provided as soon as practicable to the persons who receive the metering data for the metering installation under clause 7A.9.3.

(g)	If the test results mentioned in paragraph (e) indicate compliance with the technical requirements for the metering installation, the Metering Coordinator must ensure that the test results are provided as soon as practicable:

(1)	in circumstances where the tests were requested by a Registered Participant, to the Registered Participant and persons who receive the metering data for the metering installation under clause 7A.9.3; or

(2)	to a Registered Participant if requested by that Registered Participant, if the tests are not the result of a request for testing.

(h)	The cost of any testing under paragraph (b) must be borne by:

(1)	if paragraph (f) applies – the Metering Coordinator; or

(2)	otherwise – the Registered Participant who requested the test.

7A.7.3	Actions in event of non-compliance

If the accuracy of the metering installation does not comply with the requirements of the Rules, the Metering Coordinator must arrange for the accuracy of the metering installation to be restored within 10 business days or, if a timeframe is agreed with the relevant financially responsible participant, within that timeframe.

7A.7.4	Errors found in metering tests or inspections

(a)	Subject to paragraph (c), if a metering installation test or inspection, carried out in accordance with clause 7A.7.2, demonstrates errors in excess of those prescribed in schedule 7A.1, the Metering Coordinator must ensure the metering data is substituted in accordance with this clause and clause 7A.8.6 as appropriate.

(b)	If the Metering Coordinator is not aware of the time at which the error arose:

(1)	the error is taken to have occurred at a time halfway between the time of the most recent test or inspection which demonstrated that the metering installation complied with the relevant accuracy requirement and the time when the error was detected; and

(2)	the time that the error was taken to occur is to be used by the Metering Data Provider in performing substitution of the metering data.

(c)	If a test of a metering installation demonstrates an error of measurement of less than 1.5 times the error permitted by schedule 7A.1, no substitution of readings is required.

7A.7.5	Retention of test records and documents

(a)	All records and documentation of tests prepared under or for this Chapter must be retained in accordance with this clause.

(b)	The Metering Coordinator must ensure records and documentation are retained as follows:

(1)	for a period of at least 7 years:

(i)	sample testing of meters while the meters of the relevant style remain in service;

(ii)	the most recent sample test results of the meters mentioned in subparagraph (i) after the meters are no longer in service;

(iii)	non-sample testing of meters while the meters remain in service;

(iv)	the most recent non-sample test results after the meters are no longer in service;

(v)	the most recent sample test results of instrument transformers after instrument transformers of the relevant type are no longer in service;

(vi)	the most recent non-sample test results of instrument transformers after they are no longer in service;

(vii)	tests of new metering equipment of the relevant style while the equipment remains in service; and

(viii)	tests of new metering equipment of the relevant style after the equipment is no longer in service;

(2)	for a period of at least 10 years:

(i)	sample testing of instrument transformers while instrument transformers of the relevant type remain in service; and

(ii)	non-sample testing of instrument transformers while the instrument transformers remain in service.

(c)	In addition, the Metering Coordinator must ensure records of type tests and pattern approvals carried out or obtained in accordance with clause S7A.1.5.1(f) are retained while metering equipment of the relevant type remains in service and for at least 7 years after it is no longer in service.

- Part E	Metering data

- 7A.8	Metering data services

- 7A.8.1	Metering data services

Metering Data Providers must provide metering data services, including the following, in accordance with the Rules:

(a)	collecting energy data by local access or remote acquisition;

(b)	the validation and substitution of metering data for types 1, 2, 3 and 4 metering installations;

(c)	the validation, substitution and estimation of metering data for types 4A, 5 and 6 metering installations;

(d)	the calculation, estimation and substitution of metering data for type 7 metering installations;

(e)	establishing and maintaining a metering data services database associated with each metering installation and providing access to the metering data services database in accordance with clause 7A.8.3;

(f)	ensuring the metering data and other data associated with the metering installation is kept secure and disclosed only in accordance with the Rules;

(g)	maintaining the standard of accuracy of the time setting of the metering installation in accordance with clause 7A.8.7;

(h)	notifying the Metering Coordinator of any metering installation malfunction in accordance with clause 7A.6.7;

(i)	management and storage of metering data in accordance with clause 7A.8.3.

7A.8.2	Collection of energy data and estimation of metering data

(a)	A Metering Data Provider must, in accordance with this rule, collect energy data from, and estimate metering data in respect of, a metering installation at a connection point for which it has been appointed the Metering Data Provider.

Scheduled meter reading

(b)	The Metering Data Provider must use reasonable endeavours to ensure that energy data is collected from a metering installation by way of an actual meter reading at least once every 3 months or, where a greater frequency has been agreed with a financially responsible participant, at that greater frequency.

(c)	Despite paragraph (b), the Metering Data Provider must ensure that energy data is collected from a metering installation by way of an actual meter reading at least once every 12 months.

Special meter reading

(d)	The Metering Data Provider must perform a special meter reading (including a final meter reading) at the request of a financially responsible participant.

(e)	The Metering Data Provider may charge the financially responsible participant for the collection of energy data under paragraph (d) to the extent that its costs of collection are higher than they would otherwise be.

Estimated metering data

(f)	When energy data is not collected by the Metering Data Provider from a metering installation by way of an actual meter reading at the applicable meter reading frequency under paragraph (b), the Metering Data Provider must estimate metering data for that metering installation in accordance with schedule 7A.3.

(g)	Estimated metering data for the purposes of paragraph (f) must be provided to the retailer within 10 business days of the scheduled meter reading date under paragraph (b).

Altering energy data

(h)	The energy data in a metering installation must not be altered except when the metering installation is reset to zero as part of a repair or reprogramming.

7A.8.3	Data management and storage

(a)	A Metering Data Provider must:

(1)	retain metering data for all relevant metering installations in the metering data services database:

(i)	online, in an accessible format, for at least 13 months; and

(ii)	following the retention under subparagraph (1)(i), in an accessible format for at least 7 years; and

(2)	archive, in an accessible format, for 7 years:

(i)	metering data in its original form as collected from the metering installation; and

(ii)	records of each substitution to metering data in respect of a metering installation; and

(3)	provide the persons mentioned in clause 7A.9.3(c)(1) to (5) with access to the metering data and NT NMI data in the metering data services database; and

(4)	except for the persons mentioned in clause 7A.9.3(c)(1) to (5), ensure that no person has access to the metering data services database.

(b)	A Metering Data Provider must maintain electronic data transfer facilities in order to deliver metering data from the metering data services database in accordance with any jurisdictional obligations and clause 7A.8.4.

(c)	Metering data may only be altered by a Metering Data Provider.

(d)	A Metering Data Provider may only alter metering data in the metering data services database in accordance with schedule 7A.3.

(e)	A Metering Data Provider must arrange with the Metering Coordinator to obtain the relevant metering data if remote acquisition, if any, becomes unavailable.

7A.8.4	Provision of metering data to certain persons

A Metering Data Provider must give metering data and relevant NT NMI data to the persons mentioned in clause 7A.9.3(c)(1) to (5) as required by, and in accordance with, the Rules.

7A.8.5 	Use of check metering data

Check metering data, if available and if it has been appropriately adjusted for differences in metering installation accuracy, must be used by Metering Data Providers for:

(a)	validation;

(b)	substitution; and

(c)	estimation,

of metering data as required by clause 7A.8.1.

7A.8.6 	Validation, substitution and calculation of metering data

Metering installations other than type 7 metering installations

(a)	A Metering Data Provider responsible for a metering installation, other than a type 7 metering installation, must ensure that the metering data collected from the installation is validated in accordance with schedule 7A.3.

(b)	If validation under paragraph (a) demonstrates that there has been a failure of the metering installation or that a measurement error exists:

(1)	the metering data must be substituted in accordance with schedule 7A.3;

(2)	the Metering Data Provider must provide the status flag of the substituted metering data to the financially responsible participant for its record; and

(3)	for connection points associated with a retail customer – the Metering Data Provider must provide the substituted metering data to the retailer so that the retailer can meet its billing obligations.

(c)	The Metering Data Provider:

(1)	must make a separate record of any substitution made under this clause, including:

(i)	the reasons for the substitution;

(ii)	the methodology used for the substitution; and

(iii)	the substituted metering data; and

(2)	must maintain the record for 7 years and provide access to the record at reasonable times to the relevant financially responsible participant.

Type 7 metering installations

(d)	A Metering Data Provider responsible for a type 7 metering installation must ensure that the metering data for that installation:

(1)	is calculated in accordance with the Network Service Provider’s applicable procedure, which must be based on a methodology in, or otherwise be consistent with, schedule 7A.3; and

(2)	is validated in accordance with schedule 7A.3.

(e)	If validation under paragraph (d)(2) demonstrates that a measurement error exists, the Metering Data Provider must ensure the metering data is substituted in accordance with schedule 7A.3.

7A.8.7 	Time settings

(a)	The Metering Provider must set the times of clocks of all metering installations with reference to Australian Central Standard Time to a standard of accuracy in accordance with schedule 7A.1 relevant to the load through the connection point when installing, testing and maintaining metering installations.

(b)	The Metering Data Provider must maintain the metering data services database clock within +/– 1 second of Australian Central Standard Time.

(c)	The Metering Data Provider must:

(1)	check the accuracy of the clock of the metering installation with reference to Australian Central Standard Time to a standard of accuracy in accordance with schedule 7A.1 relevant to the load through the connection point on each occasion that the metering installation is accessed;

(2)	reset the clock of the metering installation so that it is maintained to the required standard of accuracy in accordance with schedule 7A.1 relevant to the load through the connection point if the clock error of a metering installation does not conform to the required standard of accuracy on any occasion that the metering installation is accessed; and

(3)	notify the Metering Provider if the Metering Data Provider is unable to reset the clock of the metering installation in accordance with subparagraph (2).

- Part F	Security of metering installations, energy data and metering data

- 7A.9	Security of metering installations, energy data and metering data

- 7A.9.1	Security of metering installations

- General security

(a)	The Metering Coordinator at a connection point must ensure that the metering installation is secure and that associated links, circuits and information storage and processing systems are protected by appropriate security mechanisms.

Provision of seals

(b)	The Metering Coordinator for a metering installation must:

(1)	provide seals or other appropriate devices to detect interference; and

(2)	maintain a register of all relevant security fitting tools and seals.

Broken seals

(c)	If a Network Service Provider, financially responsible participant, Metering Provider or Metering Data Provider becomes aware that a seal protecting metering equipment has been broken, it must notify the Metering Coordinator within 5 business days.

(d)	If a broken seal has not been replaced by the person who notified the Metering Coordinator under paragraph (c), the Metering Coordinator must ensure that the broken seal is replaced no later than:

(1)	the first occasion on which the metering equipment is visited to take a reading; or

(2)	70 business days,

after receipt of notification that the seal has been broken.

(e)	The costs of replacing broken seals as required by paragraph (d) are to be borne by:

(1)	the financially responsible participant if the seal was broken by a retail customer of the financially responsible participant;

(2)	a Registered Participant if the seal was broken by the Registered Participant;

(3)	the Metering Provider if the seal was broken by the Metering Provider;

(4)	the Metering Data Provider if the seal was broken by the Metering Data Provider; or

(5)	otherwise by the Metering Coordinator.

(f)	If it appears that, as a result of, or in connection with, the breaking of a seal mentioned in paragraph (c) the relevant metering equipment may no longer meet the relevant minimum standard, the Metering Coordinator must ensure that the metering equipment is tested in accordance with clause 7A.7.2.

7A.9.2	Security controls for energy data

(a)	The Metering Coordinator at a connection point must ensure that energy data held in the metering installation is protected from local access and remote access by suitable password and security controls.

(b)	The Metering Provider must keep records of passwords secure.

(c)	The Metering Provider must allocate suitable passwords to the Metering Data Provider to enable the Metering Data Provider to collect the energy data and maintain the clock of the metering installation in accordance with clause 7A.8.7.

(d)	The Metering Data Provider must keep all metering installation passwords secure and not make the passwords available to any other person.

7A.9.3 	Access to data

(a)	Access to energy data recorded by a metering installation must only be given if passwords are allocated in accordance with clause 7A.9.2.

(b)	The Metering Coordinator must ensure that access to energy data from the metering installation is scheduled appropriately to ensure that congestion does not occur.

(c)	Subject to this clause, the only persons entitled to access or receive metering data or NT NMI data for a metering installation are:

(1)	the financially responsible participant in respect of the connection point for the metering installation and any other Registered Participant with a financial interest in the metering installation or the energy measured by the metering installation;

(2)	the Metering Coordinator appointed in respect of the connection point for the metering installation;

(3)	the Metering Provider appointed with respect to the metering installation;

(4)	the Metering Data Provider appointed with respect to the metering installation;

(5)	the Network Service Provider associated with the connection point; and

(6)	the AER and the Utilities Commission.

(d)	In addition to the persons mentioned in paragraph (c), the following persons may access or receive metering data in accordance with the Rules:

(1)	a retail customer or customer authorised representative, upon request by that retail customer or its customer authorised representative to the retailer or Distribution Network Service Provider in relation to that retail customer’s metering installation;

(2)	the NT Ombudsman.

(e)	A retailer or Distribution Network Service Provider must, upon request by a retail customer or its customer authorised representative under paragraph (d)(1), provide information about the retail customer’s energy consumption for the previous 2 years.

(f)	Without limiting this clause:

(1)	a retailer is entitled to access or receive NT NMI data;

(2)	a customer authorised representative may receive metering data; and

(3)	a retailer or a Distribution Network Service Provider may access or receive metering data or provide metering data to a customer authorised representative,

after having first done whatever may be required, if relevant, under any applicable privacy legislation and clause 7A.9.5 including, if appropriate, making relevant disclosures or obtaining relevant consents from retail customers.

7A.9.4 	Additional security controls for type 4 metering installations

In respect of a type 4 metering installation:

(a)	the Metering Coordinator must ensure that access to energy data held in the metering installation is given only:

(1)	to a person who is permitted to have access to it under the Rules; and

(2)	for a purpose that is permitted under the Rules;

(b)	the Metering Coordinator must ensure that access to services provided by the metering installation and metering data from the metering installation is given only:

(1)	in respect of:

(i)	a remote disconnection service and the metering data in connection with that service – to the relevant Network Service Provider and the financially responsible participant;

(ii)	a remote reconnection service and the metering data in connection with that service – to the relevant Network Service Provider, the financially responsible participant and the incoming retailer;

(iii)	a remote on-demand meter reading service and the metering data in connection with that service – to Registered Participants with a financial interest in the metering installation or the energy measured by that metering installation and a person to whom an end use customer has given its consent under subparagraph (3)(ii);

(iv)	a remote scheduled meter reading service and the metering data in connection with that service – to Registered Participants with a financial interest in the metering installation or the energy measured by that metering installation and a person to whom an end use customer has given its consent under subparagraph (3)(ii);

(v)	a metering installation inquiry service and the metering data in connection with that service – to the relevant Network Service Provider, the financially responsible participant and a person to whom an end use customer has given its consent under subparagraph (3)(ii); and

(vi)	an advanced meter reconfiguration service and the metering data in connection with that service – to the relevant Network Service Provider and the financially responsible participant;

(2)	to a person who is permitted to have access to it under the Rules and for a purpose that is permitted under the Rules; or

(3)	except as otherwise specified in subparagraph (1) or (2):

(i)	to the relevant Network Service Provider, but only to the extent that, in the Metering Coordinator’s reasonable opinion, the access is reasonably required by the relevant Network Service Provider to enable it to meet its obligations to provide a safe, reliable and secure network; or

(ii)	to a person and for a purpose to which the end use customer has given prior consent;

(c)	the Metering Coordinator must ensure that the services provided by the metering installation are protected from local access and remote access by suitable password and security controls in accordance with paragraph (e);

(d)	the Metering Provider must keep records of passwords secure; and

(e)	the Metering Provider must:

(1)	forward a copy of a password allowing local access and a copy of a password allowing remote access to the metering installation, services provided by the metering installation and energy data held in the metering installation, to the Metering Coordinator and Metering Data Provider; and

(2)	ensure that no other person receives or has access to a copy of a password allowing local access or remote access to the metering installation, services provided by the metering installation or energy data held in the metering installation.

7A.9.5	Confidentiality of data

(a)	Energy data, metering data, NT NMI data and passwords are confidential and must be treated as confidential information in accordance with the Rules.

(b)	For the purposes of clause 8.6.2(c), metering data from a metering installation at a retail customer’s connection point is taken to have been provided by the retail customer.

Schedule 7A.1   Types and accuracy of metering installations

S7A.1.1	General requirements

This schedule sets out the minimum requirements for metering installations.

S7A.1.2 	Accuracy requirements for metering installations

Table S7A.1.2.1	Overall Accuracy Requirements of Metering Installation Components

| Type | Volume limit per annum per connection point | Maximum allowable overall error (±%) at full load (Item 6) active reactive |  | Minimum acceptable class or standard of components | Metering installation clock error (seconds) in reference to ACST |
| --- | --- | --- | --- | --- | --- |
| 1 | greater than 1 000GWh | 0.5 | 1.0 | 0.2CT/VT/meter Wh 0.5 meter varh | ±5 |
| 2 | 100 to 1 000GWh | 1.0 | 2.0 | 0.5CT/VT/meter Wh 1.0 meter varh | ±7 |
| 3 | 0.75 to less than 100 GWh | 1.5 | 3.0 | 0.5CT/VT 1.0 meter Wh 2.0 meter varh (Item 1) | ±10 |
| 4 | less than 750 MWh (Item 2) | 1.5 | n/a | Either 0.5 CT and 1.0 meter Wh; or whole current general purpose meter Wh meets requirements of clause 7A.6.2(a)(9) (Item 1) | ±20 |
| 4A | less than x MWh (Item 3) | 1.5 | 3.0 | Either 0.5 CT and 1.0 meter Wh; or whole current general purpose meter Wh meets requirements of clause 7A.6.2(a)(10) | ±20 |
| 5 | less than x MWh (Item 3) | 1.5 | n/a | Either 0.5 CT and 1.0 meter Wh; or whole current connected general purpose meter Wh meets requirements of clause 7A.6.2(a)(10). (Item 1) | ‘±/-20’ |
| 6 | less than y MWh (Item 4) | 2.0 | n/a | CT or whole current general purpose meter Wh recording accumulated energy data only. Processes used to convert the accumulated metering data into recording interval metering data and estimated metering data where necessary are included in schedule 7A.3. (Item 1) |  |
| 7 | volume limit not specified (Item 5) | (Item 6) | n/a | No meter. The metering data is calculated metering data determined in accordance with schedule 7A.3. | n/a |

| Item 1: | (a) For a type 3, 4, 4A, 5 and 6 metering installation, whole current meters may be used if the meters meet the requirements of the relevant Australian Standards and International Standards identified in schedule 7A.3. (b) The metering installation types referred to in paragraph (a) must comply with any applicable specifications or guidelines (including any transitional arrangements) specified by the National Measurement Institute under the National Measurement Act. |
| --- | --- |
| Item 2: | High voltage customers that require a VT and whose annual consumption is below 750 MWh, must meet the relevant accuracy requirements of Type 3 metering for active energy only. |
| Item 3 | In relation to a type 4A and type 5 metering installation, the value of ‘x’ in this jurisdiction is 0 MWh per annum. |
| Item 4: | The following requirements apply in relation to a type 6 metering installation: (1) the value of ‘y’ in this jurisdiction is 750 MWh per annum; (2) devices within the metering installation may record accumulated energy data in predetermined daily time periods where such time periods are specified in schedule 7A.3. |
| Item 5: | (a) A type 7 metering installation classification applies where a metering installation does not require a meter to measure the flow of electricity in a power conductor and accordingly there is a requirement to determine by other means the metering data that is deemed to correspond to the flow of electricity in the power conductor. |
|  | (b) The condition in paragraph (a) will only be allowed for connection points that satisfy relevant jurisdictional requirements. Note: The requirements referred to in paragraph (b) will be considered as part of the phased implementation of the Rules in this jurisdiction. (c) A connection point that meets the condition for classification as a type 7 metering installation does not prevent that connection point from being subject to metering in the future. |
| Item 6: | The maximum allowable overall error (±%) at different loads and power factors is set out in Table S7A.1.2.2 to Table S7A.1.2.6. |

Table S7A.1.2.2 	Type 1 installation – Annual Energy Throughput greater than 1 000 GWh

| % Rated Load | Power Factor |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Unity | 0.866 lagging |  | 0.5 lagging |  | Zero |
|  | active | active | reactive | active | reactive | reactive |
| 10 | 1.0% | 1.0% | 2.0% | n/a | n/a | 1.4% |
| 50 | 0.5% | 0.5% | 1.0% | 0.7% | 1.4% | 1.0% |
| 100 | 0.5% | 0.5% | 1.0% | n/a | n/a | 1.0% |

Table S7A.1.2.3 	Type 2 installation – Annual Energy Throughput between 100 and 1 000 GWh

| % Rated Load | Power Factor |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Unity | 0.866 lagging |  | 0.5 lagging |  | Zero |
|  | active | active | reactive | active | reactive | reactive |
| 10 | 2.0% | 2.0% | 4.0% | n/a | n/a | 2.8% |
| 50 | 1.0% | 1.0% | 2.0% | 1.5% | 3.0% | 2.0% |
| 100 | 1.0% | 1.0% | 2.0% | n/a | n/a | 2.0% |

Table S7A.1.2.4 	Type 3 installation – Annual Energy Throughput from 0.75 GWh to less than 100 GWh and Type 4A installation – Annual Energy Throughput less than 0.75 GWh

| % Rated Load | Power Factor |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Unity | 0.866 lagging |  | 0.5 lagging |  | Zero |
|  | active | active | reactive | active | reactive | reactive |
| 10 | 2.5% | 2.5% | 5.0% | n/a | n/a | 4.0% |
| 50 | 1.5% | 1.5% | 3.0% | 2.5% | 5.0% | 3.0% |
| 100 | 1.5% | 1.5% | 3.0% | n/a | n/a | 3.0% |

Table S7A.1.2.5 	Type 4 or 5 installation – Annual Energy Throughput less than 0.75 GWh

| % Rated Load | Power Factor |  |  |
| --- | --- | --- | --- |
|  | Unity | 0.866 lagging | 0.5 lagging |
|  | active | active | active |
| 10 | 2.5% | 2.5% | n/a |
| 50 | 1.5% | 1.5% | 2.5% |
| 100 | 1.5% | 1.5% | n/a |

Table S7A.1.2.6 	Type 6 installation – Annual Energy Throughput less than 0.75 GWh

| % Rated Load | Power Factor |  |  |
| --- | --- | --- | --- |
|  | Unity | 0.866 lagging | 0.5 lagging |
|  | active | active | active |
| 10 | 3.0% | n/a | n/a |
| 50 | 2.0% | n/a | 3.0% |
| 100 | 2.0% | n/a | n/a |

Note:

All measurements in Tables S7A.1.2.2 – S7A.1.2.6 are to be referred to 25 degrees Celsius.

(a)	The method for calculating the overall error is the vector sum of the errors of each component part (that is, a + b + c) where:

a = the error of the voltage transformer and wiring;

b = the error of the current transformer and wiring; and

c = the error of the meter.

(b)	If compensation is carried out then the resultant metering data error must be as close as practicable to zero.

S7A.1.3 	Check metering

(a)	Where a check metering installation is in place, it is to be applied in accordance with the following Table:

| Metering Installation Type in accordance with Table S7A.1.2.1 | Check Metering Requirements |
| --- | --- |
| 1 | Check metering installation |
| 2 | Partial check metering |
| 3 | No requirement |
| 4, 4A, 5 and 6 | No requirement |

(b)	Where a check metering installation is not in place, and a financially responsible participant requests the installation of a check metering installation at a connection point, the Metering Coordinator at the connection point must arrange for the installation of a check metering installation that complies with the requirements of this schedule.

(c)	A check metering installation involves the provision of a separate metering installation using separate current transformer cores and separately fused voltage transformer secondary circuits, preferably from separate secondary windings.

(d)	Where the check metering installation duplicates the metering installation and accuracy level, the average of the 2 validated data sets will be used to determine the energy measurement.

(e)	Check metering installations may be supplied from secondary circuits used for other purposes and may have a lower level of accuracy than the metering installation, but must not exceed twice the level prescribed for the metering installation.

S7A.1.4 	Resolution and accuracy of displayed or captured data

Programmable settings available within a metering installation or any peripheral device, which may affect the resolution of displayed or stored data, must:

(a)	meet the requirements of the relevant Australian Standards and International Standards specified in schedule 7A.3; and

(b)	comply with any applicable specifications or guidelines (including any transitional arrangements) specified by the National Measurement Institute under the National Measurement Act.

S7A.1.5 	General design standards

S7A.1.5.1	Design requirements

Without limiting the scope of detailed design, the following requirements must be incorporated in the design of each metering installation:

(a)	for metering installations greater than 1 000 GWh pa per connection point, the current transformer core and secondary wiring associated with the meter(s) must not be used for any other purpose;

(b)	for metering installations less than 1 000 GWh pa per connection point, the current transformer core and secondary wiring associated with the meter(s) may be used for other purposes (for example, local metering or protection) provided the Metering Coordinator is able to demonstrate that the accuracy of the metering installation is not compromised and suitable procedures/measures are in place to protect the security of the metering installation;

(c)	where a voltage transformer is required, if separate secondary windings are not provided, then the voltage supply to each metering installation must be separately fused and located in an accessible position as near as practical to the voltage transformer secondary winding;

(d)	secondary wiring must be by the most direct route and the number of terminations and links must be kept to a minimum;

(e)	the incidence and magnitude of burden changes on any secondary winding supplying the metering installation must be kept to a minimum;

(f)	meters must:

(1)	meet the requirements of relevant Australian Standards and International Standards (if any) specified in schedule 7A.3; and

(2)	have a valid pattern approval issued under the authority of the National Measurement Institute or, until relevant pattern approvals exist, a valid type test certificate;

(g)	new instrument transformers must:

(1)	meet the requirements of relevant Australian Standards and International Standards (if any) specified in schedule 7A.3; and

(2)	have a valid pattern approval issued under the authority of the National Measurement Institute or, until relevant pattern approvals exist, a valid type test certificate;

(h)	suitable isolation facilities are to be provided to facilitate testing and calibration of the metering installation;

(i)	suitable drawings and supporting information, detailing the metering installation, must be available for maintenance purposes.

S7A.1.5.2	Design guidelines

In addition to the design requirements specified in clause S7A.1.5.1, the following guidelines should be considered for each metering installation:

(a)	the provision of separate secondary windings for each metering installation where a voltage transformer is required;

(b)	a voltage changeover scheme where more than one voltage transformer is available.

Schedule 7A.2	Inspection and testing requirements

S7A.2.1 	General

(a)	The Metering Coordinator must ensure that equipment comprised in a purchased metering installation has been tested to the required class accuracy with less than the uncertainties set out in Table S7A.2.1.1.

(b)	The Metering Coordinator must ensure appropriate test certificates of the tests referred to in paragraph (a) are retained.

(c)	The Metering Coordinator (or any other person arranging for testing) must ensure that testing of the metering installation is carried out:

(1)	in accordance with clause 7A.7.2 and this schedule;

(2)	to the same requirements as for new equipment where equipment is to be recycled for use in another site; and

(3)	so as to include all data storage and processing components specified in schedule 7A.3, including algorithms used to prepare agreed load patterns.

(d)	The testing intervals may be increased if the equipment type/experience proves favourable.

(e)	The maximum allowable level of testing uncertainty (±) for all metering equipment must be in accordance with Table S7A.2.1.1.

Table S7A.2.1.1 	Maximum Allowable Level of Testing Uncertainty (±)

| Description |  | Metering Equipment Class |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Class 0.2 | Class 0.5 | Class 1.0 | General Purpose | Class 2.0 |
| In Laboratory | CTs ratio phase | 0.05% 0.07 crad | 0.1% 0.15 crad | n/a | n/a | n/a |
|  | VTs ratio Phase | 0.05% 0.05 crad | 0.1% 0.1 crad | n/a | n/a | n/a |
|  | Meters Wh | 0.05/cosφ% | 0.1/cosφ% | 0.2/cosφ% | 0.2/cosφ% | n/a |
|  | Meters varh | n/a | 0.2/sinφ% | 0.3/sinφ% | n/a | 0.4/sinφ% |
| In Field | CTs ratio Phase | 0.1% 0.15 crad | 0.2% 0.3 crad | n/a | n/a | n/a |
|  | VTs ratio Phase | 0.1% 0.1 crad | 0.2% 0.2 crad | n/a | n/a | n/a |
|  | Meters Wh | 0.1/cosφ% | 0.2/cosφ% | 0.3/cosφ% | 0.3/cosφ% | n/a |
|  | Meters varh | n/a | 0.3/sinφ% | 0.4/sinφ% | n/a | 0.5/sinφ% |

Where cosφ is the power factor at the test point under evaluation.

Table S7A.2.1.2 	Maximum Period Between Tests

Unless the Metering Coordinator has developed an approved asset management strategy that defines practices that meet the intent of this schedule, the maximum period between tests must be in accordance with Table S7A.2.1.2.

| Description | Metering Installation Type |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Type 1 | Type 2 | Type 3 | Type 4 & 4A | Types 5 & 6 |
| CT | 10 years | 10 years | 10 years | 10 years | 10 years |
| VT | 10 years | 10 years | 10 years |  | n/a |
| Burden tests | When meters are tested or when changes are made |  |  |  |  |
| CT connected meter (electronic) | 5 years | 5 years | 5 years | 5 years | 5 years |
| CT connected meter (induction) | 2.5 years | 2.5 years | 5 years | 5 years | 5 years |
| Whole current meter | The testing and inspection requirements must be in accordance with an approved asset management strategy. Note: The requirements in relation to approval of an asset management strategy for the purposes of this provision will be considered as part of the phased implementation of the Rules in this jurisdiction. |  |  |  |  |

Table S7A.2.1.3 	Period Between Inspections

Unless the Metering Coordinator has developed an approved asset management strategy that meets the intent of this schedule, the maximum period between inspections must be in accordance with Table S7A.2.1.3.

| Description | Metering Installation Type |  |  |  |
| --- | --- | --- | --- | --- |
|  | Type 1 | Type 2 | Type 3 | Type 4, 4A, 5 & 6 |
| Metering installation equipment inspection | 2.5 years | 12 months (2.5 years if check metering installed) | > 10 GWh: 2 years 2≤ GWh ≤ 10: 3 years <2 GWh: when meter is tested. | When meter is tested. |

S7A.2.2	Technical guidelines

(a)	Current transformer and voltage transformer tests are primary injection tests or other approved testing procedures that may include secondary injection testing.

Note:

The requirements in relation to approval for the purposes of this provision will be considered as part of the phased implementation of the Rules in this jurisdiction.

(b)	The calculations of accuracy based on test results are to include all reference standard errors.

(c)	An “estimate of testing uncertainties” must be calculated in accordance with the ISO “Guide to the Expression of Uncertainty for Measurement”.

(d)	For sinφ and cosφ refer to the ISO “Guide to the Expression of Uncertainty in Measurement”, where cosφ is the power factor.

(e)	A typical inspection may include:

(1)	check the seals;

(2)	compare the pulse counts;

(3)	compare the direct readings of meters;

(4)	verify meter parameters and physical connections; and

(5)	current transformer ratios by comparison.

Schedule 7A.3    Metrology procedure

Part A

S7A.3.1	General

S7A.3.1.1 	Purpose

The purpose of this schedule is to set out:

(a)	the obligations on Metering Providers in relation to the provision, installation, routine testing and maintenance of a metering installation; and

(b)	the obligations on Metering Data Providers in relation to the provision of metering data services.

S7A.3.1.2	Scope

This schedule provides information on the application of metering installations to connection points. In particular, this schedule sets out provisions for metering installations and metering data services relating to:

(a)	Metering Providers, which include:

(1)	the type of metering installation permitted for the measurement of active energy;

(2)	the provision, installation, testing, inspection and maintenance of metering installations;

(3)	the components of each type of metering installation;

(4)	storage of, and access rights to, energy data in the metering installation; and

(b)	Metering Data Providers, which include:

(1)	the collection or calculation, processing and delivery of metering data; and

(2)	storage of metering data in the metering data services database and rights of access to metering data.

S7A.3.1.3	Definitions

In this schedule:

data stream means a stream of energy data or metering data associated with a metering point, as represented by a NMI. For example, a NMI will have multiple data streams where one or more meters or one or more channels or registers comprise a single meter. Each data stream is identified by a suffix, which is associated with the NMI to which it belongs.

end user customer means the customer or retail customer who consumes electricity at the point of use.

estimation, estimate, estimated means the processing of metering data, undertaken by a Metering Data Provider, for the forward estimation of metering data where the scheduled meter reading cycle does not support the delivery time frames of metering data to Registered Participants.

final reading means the last actual meter reading for an end-use customer when they vacate an address or change retailer or the last actual meter reading taken before all or any part of a metering installation is removed or modified and where the modification affects the energy data in the metering installation.

ILAC means International Laboratory Accreditation Cooperation.

inventory table means a table of devices for unmetered loads associated with each NMI as described in clauses S7A.3.14.2(c) and S7A.3.14.3(c).

load table means a table of unmetered device loads as described in clause S7A.3.14.1.

on/off table means a table recording the switching status (On = 1, Off = 0) for each recording interval for the unmetered loads associated with a NMI as described in Part B of this schedule.

public holiday means a day as defined in section 17 of the Interpretation Act (NT) (other than a public holiday that is part of a day) in the City of Darwin.

reasonable endeavours, in relation to a person, means the person must act in good faith and do what is reasonably necessary in the circumstances.

sample test plan means a statement of the sample size or sizes to be taken, the frequency of sample testing and the required accuracy.

scheduled reading date means the date of the next scheduled meter reading.

substitute, substitution, substituted means a process undertaken by a Metering Data Provider for the substitution of missing (null) or erroneous metering data or where the metering data has failed the validation process.

unmetered means a load or a connection point at which a meter is not necessary under schedule 7A.1.

validate, validation, validated means a process undertaken by the Metering Data Provider to test the veracity and integrity of metering data prior to transfer to other Registered Participants.

S7A.3.1.4 	References

This schedule makes reference to the Australian Standards listed below as in force from time to time:

| General: |  |
| --- | --- |
| AS 1199 | Sampling procedures for inspection by attributes – Sampling schemes indexed by acceptance quality limit (AQL) for lot-by-lot inspection |
| AS 2490 | Sampling Procedures and Charts for Inspection by Variables for Percent Nonconforming |
| Voltage transformer standards: |  |
| AS 60044.2 | Instrument transformers – Inductive voltage transformers |
| AS 60044.3 | Instrument transformers – Combined transformers |
| AS 60044.5 | Instrument transformers – Capacitor voltage transformers |
| AS 1243 | Voltage Transformers for Measurement and Protection (for three phase voltage transformers only) |
| Current transformers standards: |  |
| AS 60044.1 | Instrument transformers – Current transformers |
| AS 60044.3 | Instrument transformers – Combined transformers |
| Electricity meter standards: |  |
| AS 1284.1 | Electricity metering – General purpose induction watthour meters |
| AS 1284.10.2 | Electricity metering – Data exchange for meter reading, tariff and load control – Direct local data exchange via hand-held unit (HHU) – ANSI Standard interface |
| AS 1284.13 | Electricity Metering in-service compliance testing |
| AS 62052.11 | Electricity metering equipment (AC) – General requirements, tests, test conditions – Metering equipment |
| AS 62052.21 | Electricity metering equipment (AC) – General requirements, tests and test conditions – Tariff and load control equipment |
| AS 62053.21 | Electricity metering equipment (AC) – Particular requirements – Static meters for active energy (classes 1 and 2) |
| AS 62053.22 | Electricity metering equipment (AC) – Particular requirements – Static meters for active energy (classes 0.2S and 0.5S) |
| AS 62054.11 | Electricity metering (AC) – Tariff and load control – Particular requirements for electronic ripple control receivers |
| AS 62054.21 | Electricity metering (AC) – Tariff and load control – Particular requirements for time switches |
| AS 62056.21 | Electricity metering – Data exchange for meter reading, tariff and load control – Direct local data exchange |

S7A.3.2 	Meter Provision

S7A.3.2.1 Application

The requirements of this clause S7A.3.2 are applicable to type 1, 2, 3, 4, 4A, 5 and 6 metering installations.

S7A.3.2.2 Metering installation components

(a)	Meters used in type 1, 2, 3, 4, 4A, 5 and 6 metering installations must comply with any applicable specifications or guidelines (including transitional arrangements) specified by the National Measurement Institute, under the National Measurement Act, and must also meet the relevant requirements of Australian Standards and International Standards:

(1)	for type 1, 2, 3, 4, 4A, and 5 (including type 3 and 4 whole current) metering installation measurement elements: AS 62052.11, AS 62053.21 and AS 62053.22; and

(2)	for type 6 metering installation measurement elements: AS 1284.1, AS 62053.21 and AS 62052.11.

(b)	New current transformers for type 1, 2, 3, 4, 4A, 5 and 6 metering installations must meet the relevant requirements of AS 60044.1 and must also comply with any applicable specifications or guidelines (including transitional arrangements) specified by the National Measurement Institute, under the National Measurement Act.

(c)	New voltage transformers for type 1, 2, 3, 4, 4A, 5 and 6 metering installations must meet the relevant requirements of AS 60044.2, AS 60044.3, AS 60044.5 and AS 1243 and must also comply with any applicable specifications or guidelines (including transitional arrangements) specified by the National Measurement Institute, under the National Measurement Act.

(d)	The Metering Coordinator at a connection point with a type 4 metering installation must ensure that energy data is retrieved from that type 4 metering installation via remote access.

(e)	The Metering Provider must ensure that metering equipment purchased must have a valid pattern approval issued under the authority of the National Measurement Institute or, until relevant pattern approvals exist, a valid type test certificate issued by a NATA accredited laboratory or a body recognised by NATA under the ILAC mutual recognition scheme.

(f)	The Metering Provider must ensure that a visible display is provided to display, at a minimum, the cumulative total energy for each data stream measured by that metering installation.

(g)	Metering data is required for all recording intervals on a daily basis at a level of availability of at least 95% per annum from type 1, 2, 3 and 4 metering installations.

(h)	In relation to summation metering:

(1)	if summation metering is achieved by paralleling current transformer secondary circuits, the overall metering system must meet the minimum standards for a new metering installation under all load combinations of the individual current transformer secondaries;

(2)	if summation metering is achieved by the arithmetic sum of data registers or the accumulation of pulses, each individual metering point must meet the minimum standards for a new metering installation and the Metering Provider must on request demonstrate that the summation techniques reliably and accurately transfer data;

(3)	current transformer secondaries can only be paralleled using appropriate arrangements of links; this must not be done at the meter terminals; and

(4)	for type 2 metering installations only, direct summation, in which secondary wiring from a multiple number of feeders are connected directly into the terminals of a meter, or summation CTs are permitted provided that the overall errors of the installation are considered.

(i)	Where a metering installation records interval energy data the interval periods are based on:

(1)	the end of each interval for a 15 minute interval period must be on the hour, on the half-hour and on each quarter of an hour (ACST);

(2)	the end of each interval for a 30 minute interval period must be on the hour and on the half-hour (ACST); and

(3)	other sub-multiple intervals, where agreed with the relevant Network Service Provider and the financially responsible participant, provided that the ends of the intervals correspond each and every exact hour (ACST) and half-hour (ACST).

(j)	For type 1, 2, 3, 4, 4A and 5 metering installations with a pulse output, the measurement element pulse output must provide a number of energy pulses in each integrating period commensurate with the accuracy class of the metering installation when operating at the top of the range of measurement of the metering installation, but may be set at a lower rate where the anticipated operating range is significantly lower than the top of the range of measurement of the metering installation.

(k)	The Metering Provider must provide pulse output facilities representing the quantity of electricity measured, in accordance with the relevant Australian Standard for that meter, within a reasonable time of being requested by a financially responsible participant to provide such facilities.

(l)	Where the metering installation includes equipment for load control or the measurement of reactive energy, the installation and operation of that equipment will be governed by an instrument other than this schedule, such as, for example, a ‘use of system’ agreement between the relevant Network Service Provider and the financially responsible participant.

(m)	Any programmable settings available within the metering installation, or any peripheral device, which may affect the resolution of displayed or stored data, must meet the relevant requirements of AS 62052.11, AS 62053.21 and AS 62053.22 and must comply with any applicable specifications or guidelines (including transitional arrangements) specified by the National Measurement Institute, under the National Measurement Act.

(n)	A type 4A or 5 metering installation must have an optical port that meets the relevant requirements of AS 1284.10.2 or AS 62056.21 or a computer serial port to facilitate downloading of 90 days of half hourly interval energy data, for each meter associated with the metering installation, in 35 seconds or less.

(o)	A type 4A, 5 or 6 metering installation clock is to be reset to within ± 20 seconds of Australian Central Standard Time on each occasion that the metering installation is accessed, in accordance with the following requirements, and the maximum drift in the type 5 metering installation clock permitted between successive meter readings is ± 300 seconds:

(1)	the Metering Provider must reset a type 4A, 5 or 6 metering installation clock when inspecting, maintaining or commissioning the metering installation;

(2)	the Metering Data Provider must reset a type 4A or 5 metering installation clock when interval metering data is collected from the metering installation.

(p)	A type 4A or 5 metering installation must have provision for future upgrade to a type 4 metering installation without the need for replacement of the measurement element.

(q)	For type 6 metering installations with different time of day rates, the metering installation must meet the relevant requirements of AS 62054.11, AS 62054.21 and AS 62052.21, or have the switching between the different rates controlled by a frequency injection relay or time clock operated by the relevant Network Service Provider.

S7A.3.2.3 Routine testing and inspection of metering installations

(a)	The Metering Coordinator must ensure that type 1, 2, 3, 4, 4A, 5 and 6 metering installations are tested and inspected in accordance with rule 7A.7, schedule 7A.2 and this schedule.

(b)	If the accuracy of the metering installation does not comply with the requirements of the Rules, the Metering Coordinator must undertake the actions in accordance with clauses 7A.7.3 and 7A.7.4.

(c)	If, for type 4A, 5 and 6 metering installations, a metering installation test or inspection demonstrates errors in excess of those prescribed and the time at which those errors arose is not known, the error is deemed to have occurred at a time half way between the time of the most recent test or inspection which demonstrated that the metering installation, or the meter family to which the meter of the metering installation belongs, complied with the relevant accuracy requirement and the time when the error was detected.

S7A.3.3 	Metering Data Services Provision

S7A.3.3.1 Application

The requirements of this clause are applicable to type 4A, 5, 6 and 7 metering installations.

S7A.3.3.2	Verification of metering data for type 4A, 5, 6 and 7 metering installations

(a)	The Metering Coordinator must ensure that a sample test plan is established and maintained, in accordance with AS 1199 or AS 2490 to validate that the metering data stored in the metering data services database with respect to a type 4A, 5 or 6 metering installation is consistent with the data stored in the metering installation.

(b)	The verification test must be conducted at a frequency in accordance with the sample test plan described in paragraph (a), which must not be less than once every 12 months.

(c)	If there is an inconsistency between the energy data held in a metering installation and the metering data held in the metering data services database, the energy data in the metering installation is to be taken as prima facie evidence of the amount of electricity supplied to that metering point, except if the meter or components of the metering installation are found to be not compliant.

(d)	The Metering Coordinator must ensure that a sample test plan is established and maintained to validate that the calculated energy data stored in the metering data services database, with respect to a type 7 metering installation, is consistent with the physical inventory.

(e)	A verification test must be conducted at a frequency in accordance with the sample test plan described in paragraph (d), which must not be less than once every 12 months.

(f)	The calculated metering data stored in a metering data services database for a type 7 metering installation, for a NMI, is consistent with the physical inventory if the error associated with calculating the energy value for the sample, that is,

is within the accuracy requirement determined in accordance with paragraph (g).

(g)	The accuracy requirement for the calculated metering data for a type 7 metering installation, based on the formula in paragraph (f), is within ± 2.0%.

Note:

The application of this paragraph will be revisited as part of the phased implementation of the Rules in this jurisdiction.

(h)	If there is an inconsistency between the inventory table held in the metering data services database for a type 7 metering installation and the physical inventory, the physical inventory is to be taken as prima facie evidence of the actual number of devices.

S7A.3.3.3	Request for testing type 7 metering installation calculated metering data

(a)	If requested, in accordance with clause 7A.7.2, by a Registered Participant with a financial interest in the type 7 metering installation or the calculated metering data for a type 7 metering installation, the Metering Coordinator must make arrangements to test that the calculated metering data stored in the metering data services database is consistent with the physical inventory for the type 7 metering installation.

(b)	Where the Registered Participant requests a type 7 metering installation calculated metering data test in accordance with paragraph (a):

(1)	the Metering Coordinator must use reasonable endeavours to conduct the test within 15 business days of the request; and

(2)	the Metering Coordinator must, prior to any test being undertaken, provide an estimate of costs associated with the test.

(c)	Where there is a discrepancy between the calculated metering data held in the metering data services database for a type 7 metering installation and the physical inventory, the physical inventory is to be taken as prima facie evidence of the actual number of devices.

(d)	Where the Metering Coordinator has undertaken testing of a type 7 metering installation calculated metering data under paragraph (a), the Metering Coordinator must make the test results available in accordance with clause 7A.7.2.

(e)	If the calculated metering data accuracy does not comply with the requirements of clause S7A.3.3.2(g), the Metering Coordinator must undertake the actions in accordance with clauses 7A.7.3 and 7A.7.4.

Part B

S7A.3.4 	Substitution for type 1 to 4 metering installations

S7A.3.4.1 Application of clause S7A.3.4

(a)	The requirements of clauses S7A.3.4.2 and S7A.3.4.3 apply to type 1, 2, 3 and 4 metering installations.

(b)	The requirements of clauses S7A.3.4.2 and S7A.3.4.3 are applicable to all metering data substitution types to be undertaken by Metering Data Providers accredited for the collection, processing and delivery of metering data from type 1, 2, 3 and 4 metering installations.

(c)	For all metering data substitutions undertaken under clauses S7A.3.4.2 and S7A.3.4.3, for type 1, 2, 3 and 4 metering installations, the Metering Data Provider must ensure the selected metering data substitution values correctly align with the adjoining intervals of metering data and that any intervals of metering data adjacent to the substituted period are valid.

S7A.3.4.2 Type 1 to 4 substitution rules

(a)	The Metering Data Provider must carry out all metering data substitutions in accordance with this schedule.

(b)	The Metering Data Provider must obtain clear and concise identification as to the cause of any missing or erroneous metering data for which substitutions are required.

(c)	The Metering Data Provider must undertake to do a type 11 substitution and use metering data obtained from any check metering installation associated with the connection point as the first choice considered for the source of metering data for any substitutions undertaken.

(d)	Subject to paragraph (e), SCADA metering data, where available, may be used by the Metering Data Provider as check metering data for substitutions.

(e)	Metering Data Providers may only undertake substitution type 13 where substitution types 11 and type 12 are not applicable or cannot be carried out.

(f)	For connection points where the financially responsible participant is a Generator:

(1)	Metering Data Providers may directly undertake type 11, type 12 or type 13 substitutions as a consequence of missing or erroneous metering data that has failed validation;

(2)	Metering Data Providers may undertake type 16 (Agreed Method) or Type 18 (Alternate) substitutions following consultation and agreement with the Generator that the substituted metering data is an accurate reflection of the interval metering data concerned; and

(3)	in the situation where metering data cannot be recovered from the metering installation or substituted in accordance with this paragraph (f) within the required metering data delivery performance time frames, the Metering Data Provider must undertake type 19 substitutions as an interim until metering data can be recovered from the metering installation or substituted.

(g)	Metering Data Providers may only undertake substitution types 14, 15, 16, 17, 18, or 19 where substitution types 11, 12 and 13 are not applicable or cannot be carried out.

(h)	Metering Data Providers may perform all metering data substitution types except type 16 or type 18 without prior agreement from the affected parties. Metering Data Providers may however undertake to change the quality flag to an existing type 16 or type 18 substitution without seeking further agreement from the affected parties.

(i)	The Metering Data Provider must notify the relevant Network Service Provider, the relevant retailer and the financially responsible participant for the connection point of any metering data substitution within 2 business days of the metering data substitution being carried out by the Metering Data Provider.

(j)	Where a metering installation malfunction is a failure of the remote acquisition system, and the financially responsible participant and Metering Provider cannot repair the data communications within the periods specified in the Rules (2 business days for type 1, 2 and 3 metering installations and 10 business days for type 4 metering installations), the Metering Data Provider must:

(1)	request from the Metering Provider, the provision of a manual download of metering data from the metering installation in the time frames to meet metering data delivery requirements; and

(2)	where the malfunction includes a failure of the meter to correctly record interval energy data and the Metering Provider has acquired an exemption to repair the metering installation, then the Metering Data Provider must substitute for the missing metering data in accordance with this schedule.

(k)	The Metering Data Provider must ensure that all metering data substitutions are replaced with actual metering data when that metering data becomes available.

S7A.3.4.3 Type 1 to 4 substitution types

Type 11 – Check Data

(a)	The Metering Data Provider must use interval metering data obtained from another metering installation that has been identified by the Metering Provider as being the check metering installation for that metering point. The metering data used must be for the same recording intervals as the recording intervals that are being substituted. Metering installations of this type include but are not limited to:

(1)	the metering installation and check metering installation are installed at the same connection point;

(2)	the metering installation and check metering installation are installed on different ends of a transmission line where the difference due to line losses can be accurately determined; and

(3)	metering installations across a parallel set of feeders having similar line impedances between a common set of busbars.

Type 12 – Calculated

(b)	The Metering Data Provider must calculate the interval metering data values to be substituted where they relate to a single unknown feed to a node, based on the other known energy flows to or from that node.

Type 13 – SCADA

(c)	The Metering Data Provider must use EMS or SCADA data for substitution purposes, which originates from a similar measurement point as the meter.

(d)	EMS or SCADA data may be data which is inferior in accuracy or resolution and which is in a dissimilar format to the metering data, (for example, 30 Min. Demand values). The Metering Data Provider may have to adjust the data in both magnitude and form in order that the substitution is acceptable.

(e)	In any instance where SCADA data is to be used for substitution, both the provided E channel and B channel SCADA data streams must be used.

Type 14 – Like Day

(f)	The Metering Data Provider must substitute for the missing or erroneous metering data using the nearest equivalent day or like day method, as detailed in the following Table.

| Type 14 |  |
| --- | --- |
| Substitution Day | Nearest Equivalent Day or Like Day (in order of availability) |
| Monday | Monday## |
| Tuesday | Tuesday## Wednesday## Thursday## Wednesday# Thursday# |
| Wednesday | Wednesday## Tuesday# Thursday## Thursday# Tuesday## |
| Thursday | Thursday## Wednesday# Tuesday# Wednesday## Tuesday## |
| Friday | Friday## |
| Saturday | Saturday## |
| Sunday | Sunday## |
| Metering data substitutions for like day to be as detailed above, unless: (a) No metering data is available on the first listed day, then the next listed preferred day is to be used. If there is no other suitable listed day, or no metering data is available on any of the listed days then type 15 substitution must be used. (b) The substitution day was a public holiday, in which case the most recent Sunday is to be used. (c) The substitution day was not a public holiday and the listed day is a public holiday, then the next listed preferred day that is not a public holiday is to be used. |  |
| # Occurring in the same week as the substitution day. ## Occurring in the week preceding that in which the substitution day occurs. |  |

Type 15 – Average Like Day

(g)	The Metering Data Provider may substitute for the missing or erroneous metering data using the average like day method, as detailed in the following Table.

Type 15

The interval metering data to be substituted will be calculated using an average of the metering data from each corresponding interval from the preceding 4 weeks, or part thereof. This averaging technique may be applied in either of the following ways: (a) where the averaged interval metering data is used to provide the value for the interval(s) requiring substitution; (b) where the averaged interval metering data is used to provide the profile and is scaled to a pre-determined consumption value for the interval(s) to be substituted. Type 15 substitutions must not be used for public holidays.

Type 16 – Agreed Method

(h)	Where the Metering Data Provider is required to undertake a metering data substitution for any period greater than 7 days, consultation and agreement must be obtained from the financially responsible participant, the relevant retailer and the relevant Network Service Provider for the connection point as to the metering data substitution to be performed. This may include changes to existing metering data substitutions for any period which were carried out where the affected parties have directed that as a result of site or customer specific information, the original metering data substitutions are in error and a correction is required.

Type 17 – Linear Interpolation

(i)	The Metering Data Provider may substitute metering data for consecutive interval periods up to, but not exceeding 2 hours, by using simple linear interpolation.

Type 18 – Alternate

(j)	The Metering Data Provider may use an alternate method of metering data substitution subject to an agreement between the financially responsible participant, the relevant retailer and the relevant Network Service Provider for the connection point. The specifics of this substitution type may involve a globally applied method or a method where an adjusted profile is used to take into account local conditions which affect consumption (for example, local holiday or customer shutdown), or where alternate metering data may be able to be used for quality checks and minor adjustments of an estimated profile.

Type 19 – Zero

(k)	The Metering Data Provider must undertake metering data substitutions of ‘zero’ where:

(1)	either the relevant Network Service Provider or the Metering Provider has informed the Metering Data Provider of a de-energised connection point or an inactive meter and where the consumption is known to be zero; or

(2)	metering data substitutions are applicable for connection points where the financially responsible participant is a Generator in accordance with clause S7A.3.4.2(f)(3).

S7A.3.5	Substitution and forward estimation for type 4A and 5 metering installations

S7A.3.5.1 Application of clause S7A.3.5

(a)	The substitution and forward estimation types, as detailed within clauses S7A.3.5.2 and S7A.3.5.3, are to be undertaken by Metering Data Providers accredited for the collection, processing and delivery of metering data from a type 4A or 5 metering installation.

(b)	For all metering data substitutions and forward estimations undertaken under clauses S7A.3.5.2 and S7A.3.5.3, for type 4A or 5 metering installations, the Metering Data Provider must ensure the selected metering data substitution values correctly align with the adjoining interval metering data and that any interval metering data adjacent to the substituted period is valid.

S7A.3.5.2 Type 4A and 5 substitution and forward estimation rules

(a)	The Metering Data Provider must carry out all metering data substitutions and forward estimations in accordance with this schedule.

(b)	The Metering Data Provider must ensure that all metering data substitutions and forward estimations are replaced with actual metering data if and when that metering data becomes available.

(c)	The Metering Data Provider must obtain clear and concise identification as to the cause of any missing or erroneous metering data for which metering data substitutions are required.

(d)	The Metering Data Provider must only use type 56 or type 57 substitutions or forward estimations where the historical metering data does not support the application of a type 51 or type 52 substitution or forward estimation.

(e)	Subject to paragraph (d), the Metering Data Provider must only apply the following substitution and forward estimation types:

(1)	substitutions may be type 51, 52, 54, 55, 56, 57 or 58;

(2)	forward estimations may be type 51, 52, 56, 57 or 58.

(f)	The Metering Data Provider must notify the relevant Network Service Provider, the relevant retailer and the financially responsible participant for the connection point of any metering data substitution or forward estimation within 2 business days of the metering data substitution or forward estimation being carried out by the Metering Data Provider.

(g)	Metering Data Providers may not perform type 55 substitutions or type 56 substitutions or forward estimations without prior agreement with the affected parties. Metering Data Providers may however undertake to change the quality flag to an existing type 55 substitution or type 56 substitution or forward estimation without seeking further agreement from the affected parties.

S7A.3.5.3 Type 4A and 5 substitution and forward estimation types

Type 51 – Previous Years Method (Nearest Equivalent Day or Like Day)

(a)	The Metering Data Provider must provide a substitution or forward estimation for the metering data using the metering data from the nearest equivalent day or like day from the same, or similar, meter reading period in the previous year. The nearest equivalent day or like day is to be determined from Table A in paragraph (b).

Type 52 – Previous Meter Reading Method (with the Nearest Equivalent Day or Like Day method)

(b)	The Metering Data Provider must provide a substitution or forward estimation for the metering data using the metering data from the nearest equivalent day or like day from the previous meter reading period. The nearest equivalent day or like day is to be determined from the following Table A.

| Type 51 or 52 Table A |  |
| --- | --- |
| Substitution or Forward Estimation Day | Nearest Equivalent Day or Like Day (in order of availability) |
| Monday | Monday## Monday# |
| Tuesday | Tuesday## Wednesday## Tuesday# Wednesday# |
| Wednesday | Wednesday## Tuesday## Thursday## Wednesday# Thursday# Tuesday# |
| Thursday | Thursday## Wednesday## Tuesday## Thursday# Wednesday# Tuesday# |
| Friday | Friday## Friday# |
| Saturday | Saturday## Saturday# |
| Sunday | Sunday## Sunday# |
| Metering data substitutions or forward estimations for like day to be as detailed above, unless: (a) no metering data is available on the first listed day, then the next listed preferred day is to be used. If there is no other suitable day, or no metering data is available on any of the listed days then Type 52 must be used; (b) the substitution or forward estimation day was a public holiday, in which case the most recent Sunday is to be used; or (c) the substitution or forward estimation day was not a public holiday and the listed day is a public holiday, then the next listed preferred day that is not a public holiday, Saturday or Sunday is to be used. |  |
| ## For type 51 utilise metering data from the corresponding week in the previous year. ## For type 52 utilise metering data from the corresponding week of the previous meter reading period. # For type 51 utilise metering data from the week preceding the corresponding week in the previous year. # For type 52 utilise metering data occurring in the week preceding the corresponding week of the previous meter reading period. |  |

(c)	Alternatively, the Metering Data Provider must provide substitution or forward estimation metering data using the average like day method, as detailed in the following Table B.

Type 52 (alternate) Table B

The interval metering data, for which a substitution or forward estimation is to be provided, will be calculated using an average of the metering data from each corresponding interval from the preceding 4 weeks, or part thereof. This averaging technique may be applied in either of the following ways: (a) where the averaged interval metering data is used to provide the value for the interval requiring substitution or forward estimation; (b) where the averaged interval metering data is used to provide the profile and are scaled to a pre-determined consumption value for the interval(s) that are the subject of substitution or forward estimation. Type 52 substitutions or forward estimations must not be used for public holidays.

Type 54 – Linear Interpolation

(d)	The Metering Data Provider may substitute metering data for consecutive interval periods up to, but not exceeding 2 hours, by using simple linear interpolation.

Type 55 – Agreed Substitution Method

(e)	The Metering Data Provider may undertake to use another method of metering data substitution (which may be a modification of an existing substitution type), where none of the existing substitution types is applicable, subject to an agreement between the financially responsible participant, the relevant retailer and the relevant Network Service Provider for the connection point. The specifics of this substitution type may involve a globally applied method.

Type 56 – Prior To First Reading – Agreed Method

(f)	Prior to the first actual meter reading and where no previous metering data history exists for the connection point, the Metering Data Provider may provide a substitution or forward estimation for the interval metering data using a method agreed between the financially responsible participant, the relevant retailer and the relevant Network Service Provider.

Type 57 – Prior to First Reading – Customer Class Method

(g)	Prior to the first actual meter reading and where no previous metering data history exists for the connection point, the Metering Data Provider may provide a substitution or forward estimation for the metering data based on the given average daily load. The interval metering data must be profiled to suit the relevant customer class. Metering Data Providers electing to undertake this type of substitution or forward estimation must develop a suite of profiles acceptable to the Metering Coordinator for use and application.

Type 58 – Zero

(h)	The Metering Data Provider must undertake metering data substitutions or forward estimations of ‘zero’ where either the relevant Network Service Provider or the Metering Provider has informed the Metering Data Provider of a de-energised connection point or an inactive meter and where the consumption is known to be zero.

S7A.3.6	Substitution and forward estimation for  type 6 metering installations

S7A.3.6.1  Application of clause S7A.3.6

The metering data substitution and forward estimation types as detailed within clauses S7A.3.6.2 and S7A.3.6.3 are to be undertaken by Metering Data Providers accredited for the collection, processing and delivery of metering data from a type 6 metering installation.

S7A.3.6.2  Type 6 substitution and forward estimation rules

(a)	The Metering Data Provider must carry out all metering data substitutions and forward estimations in accordance with this schedule.

(b)	The Metering Data Provider must replace all metering data forward estimations with either actual or substituted metering data:

(1)	when actual metering data covering all or part of the forward estimation period is obtained; or

(2)	when the next scheduled meter reading was unable to be undertaken, the Metering Data Provider must replace the forward estimated metering data with substituted metering data with a quality flag of F (final substitution).

(c)	Any final substituted metering data provided by the Metering Data Provider must be re-validated, updated or recalculated by the Metering Data Provider when:

(1)	the value of the metering data obtained at the next actual meter reading is found to be less than the previous final substitution; or

(2)	the final substituted value is disputed and following consultation and agreement from the financially responsible participant, the relevant retailer and the relevant Network Service Provider for the connection point a new agreed value as per clause S7A.3.6.3(d) (type 64) must be provided.

(d)	The Metering Data Provider must obtain clear and concise identification as to the cause of any missing or erroneous metering data for which metering data substitutions are required.

(e)	Where the scheduled meter reading frequency is less frequent than monthly, the Metering Data Provider may only use a type 62 substitution or forward estimation method when metering data from the same, or similar, meter reading period last year (i.e. type 61) is not available.

(f)	The Metering Data Provider may use type 63 substitutions or forward estimations only when the metering data from the same, or similar, meter reading period last year and metering data from the previous meter reading period is not available (i.e. when type 61 and type 62 substitution or forward estimation methods cannot be used).

(g)	The Metering Data Provider may use type 65 substitutions or forward estimations only when the metering data from the same, or similar, meter reading period last year or the metering data from the previous meter reading period is not available (i.e. when type 61 and type 62 substitution or forward estimation methods cannot be used).

(h)	The Metering Data Provider must only use a type 67 substitution when:

(1)	directed by the Metering Coordinator;

(2)	it is not expressly disallowed in this jurisdiction;

(3)	the end-use customer provided meter reading meets the validation rules for that data stream; and

(4)	the Metering Data Provider has no actual metering data for the scheduled reading date for this connection point.

(i)	Subject to paragraphs (e) to (h), the Metering Data Provider may apply the following substitution and forward estimation types:

(1)	substitutions may be type 61, 62, 63, 64, 65, 67 or 68;

(2)	forward estimations may be type 61, 62, 63, 65 or 68.

(j)	Metering Data Providers may not perform type 64 substitutions without prior agreement with the financially responsible participant, the relevant retailer and the relevant Network Service Provider for the connection point. Metering Data Providers may however undertake to change the quality flag to an existing type 64 substitution without seeking further agreement from the financially responsible participant, the relevant retailer and the relevant Network Service Provider for the connection point.

(k)	The Metering Data Provider must notify the relevant Network Service Provider, the relevant retailer and the financially responsible participant for the connection point of any metering data substitution or forward estimation within 2 business days of the metering data substitution or forward estimation being carried out by the Metering Data Provider.

S7A.3.6.3 Type 6 substitution and forward estimation types

Type 61 – Previous Year Method (Average Daily Consumption Method)

(a)	The Metering Data Provider must provide a substitution or forward estimation of the meter reading by calculating the energy consumption as per the following formula:

Type 62 – Previous Meter Reading Method (Average Daily Consumption Method)

(b)	The Metering Data Provider must provide a substitution or forward estimation of the meter reading by calculating the energy consumption as per the following formula:

Type 63 – Customer Class Method

(c)	The Metering Data Provider must provide a substitution or forward estimation of the meter reading by calculating the energy consumption as per the following formula:

Type 64 – Agreed Method

(d)	The Metering Data Provider may undertake to use another method of metering data substitution (which may be a modification of an existing substitution type), where none of the existing substitution types is applicable, subject to an agreement between the financially responsible participant, the relevant retailer and the relevant Network Service Provider for the connection point. The specifics of this substitution type may involve a globally applied method.

Type 65 – ADL Method

(e)	The Metering Data Provider must provide a substitution or forward estimation of the meter reading by calculating the energy consumption in accordance with the following formula:

Energy Consumption = Average Daily Load * number of days required.

Type 67 – End-use Customer Reading

(f)	Subject to clause S7A.3.6.2(h), the Metering Data Provider must substitute any previously substituted or forward estimated metering data based directly on an end-use customer provided meter reading.

Type 68 – Zero

(g)	The Metering Data Provider must undertake data substitutions or forward estimations of ‘zero’ where either the relevant Network Service Provider or the Metering Provider has informed the Metering Data Provider of a de-energised connection point or an inactive meter and where the consumption is known to be zero.

S7A.3.7	Substitution and forward estimation for type 7 metering installations

S7A.3.7.1 Application of clause S7A.3.7

The substitution and forward estimation types detailed in clauses S7A.3.7.2 and S7A.3.7.3 are to be undertaken by Metering Data Providers accredited for the calculation and delivery of metering data from a type 7 metering installation.

S7A.3.7.2 Type 7 substitution rules

(a)	The Metering Data Provider must carry out all metering data substitutions and forward estimations in accordance with this schedule.

(b)	The Metering Data Provider must obtain clear and concise identification as to the cause of any missing or erroneous calculated metering data for which metering data substitutions are required.

(c)	The Metering Data Provider must ensure that all metering data substitutions and forward estimations are based on calculated metering data and not on any previous substitutions.

(d)	The Metering Data Provider must base calculated metering data for type 7 metering installations on inventory table data as follows:

(1)	where the inventory table has not been updated for the period concerned, calculated metering data must be based on the most recent available information and provided as a forward estimated value;

(2)	where the inventory table is correct for the period concerned, the calculated metering data must be provided as an actual value; and

(3)	where the inventory table in subparagraph (2) has a subsequent update for the period concerned, the calculated metering data must be provided as a substituted value.

(e)	Subject to paragraph (d), the Metering Data Provider may apply the following substitution and forward estimations types:

(1)	substitutions may be type 71, 72, 73, or 74;

(2)	forward estimations must be type 75.

(f)	The Metering Data Provider must notify the relevant Network Service Provider, the relevant retailer and the financially responsible participant for the connection point of any calculated metering data substitution by the Metering Data Provider within 2 business days of the calculated metering data substitution being carried out by the Metering Data Provider.

(g)	The Metering Data Provider must flag all calculated metering data substitutions as final (F).

(h)	Metering Data Providers may not perform a type 74 substitution without prior agreement with the affected parties.

S7A.3.7.3  Type 7 substitution and forward estimation types

Type 71 – Recalculation

(a)	The Metering Data Provider must substitute calculated metering data with the calculated metering data obtained by a recalculation based on the current inventory tables, load tables and on/off tables.

Type 72 – Revised Tables

(b)	Where the error in the calculated metering data is due to errors in the inventory table, load table or on/off table, the Metering Data Provider must substitute calculated metering data obtained by a recalculation based on the most recent inventory tables, load tables and on/off tables in which there were no errors.

Type 73 – Revised Algorithm

(c)	Where the error in the calculated metering data is due to an error in the algorithm, the Metering Data Provider must substitute the most recent calculated metering data for which there was no error.

Type 74 – Agreed Method

(d)	The Metering Data Provider may use another method of calculated metering data substitution (which may be a modification of an existing substitution type), where none of the existing substitution types is applicable, subject to an agreement between the financially responsible participant, the relevant retailer and the relevant Network Service Provider for the connection point. The specifics of this substitution type may involve a globally applied method.

Type 75 – Existing Table

(e)	The Metering Data Provider must provide a forward estimate for the calculated metering data based on the most recent inventory table information until such time as an updated inventory table is received for the period concerned.

S7A.3.8  General data validation requirements

S7A.3.8.1 Validation requirements for type 1 to 7 metering installations

(a)	Metering Data Providers are requested to manage systems and processes on the basis that:

(1)	stored metering data held in the meter buffer may be subject to installation measurement error; and

(2)	data delivered by reading systems, (for example, Remote reading systems, hand held readers and conversion software) may not be recovered from the field meters without corruption.

(b)	The market use of validation procedures is of critical importance and may have a direct impact on disputes. It is essential that Metering Data Providers comply with these validation procedures and that all metering data is subjected to validation prior to delivery to Registered Participants.

S7A.3.8.2	Validation of interval metering data alarms for type 1 to 5 metering installations

(a)	The Metering Data Provider must validate interval metering data from type 1, 2, 3, 4, 4A and 5 metering installations against the following significant metering data alarms when these are provided in the meter:

(1)	power failure/meter loss of supply;

(2)	VT or phase failure;

(3)	pulse overflow;

(4)	CRC error;

(5)	time tolerance.

(b)	Where interval metering installations assign alarms to the data channel or the interval metering data concerned, the Metering Data Provider must process the alarm along with the metering data as part of the required metering data validation process.

(c)	As a minimum requirement, the Metering Data Provider must have systems and processes in place that capture metering data alarms and process them by exception reporting.

(d)	The Metering Data Provider must ensure that all metering data alarm reports are signed off and dated by the person actioning the data exception report review as part of the validation process.

(e)	The Metering Data Provider must validate all interval metering data with all metering data alarms prior to despatch to Registered Participants.

(f)	All Metering Data Provider exception reports must provide, for all instances where the interval metering data was found to be corrupted, for example, intervals substituted, an indication of the subsequent actions undertaken by the Metering Data Provider.

S7A.3.9  Validation within meter reading process

S7A.3.9.1 Application of clause S7A.3.9

(a)	The requirements of clause S7A.3.9.2 are applicable to Metering Data Providers accredited for the provision of metering data services for type 4A and 5 metering installations.

(b)	The requirements of clause S7A.3.9.3 are applicable to Metering Data Providers accredited for the provision of metering data services for type 6 metering installations.

S7A.3.9.2	Validations to be performed for type 4A and 5 metering data collection

The Metering Data Provider responsible for the collection of metering data from type 4A and 5 metering installations must undertake the following validations within the meter reading process:

(a)	The meter serial number is correct against the recorded meter serial number.

(b)	The security of the metering installation is intact, for example meter seals in place and in good order.

(c)	The time synchronisation of the metering installation is correct to ACST inclusive of any load control devices.

S7A.3.9.3	Validations to be performed for type 6 metering data collection

The Metering Data Provider responsible for the collection of metering data from type 6 metering installations must undertake the following validations within the meter reading process:

(a)	the value of metering data from the current meter reading ≥ the value of metering data from the previous meter reading;

(b)	the value of metering data from the current meter reading is valid against an expected minimum value;

(c)	the value of metering data from the current meter reading is valid against an expected maximum value;

(d)	the meter serial number is correct against the recorded meter serial number;

(e)	the security of the metering installation is intact, for example, meter seals in place and in good order;

(f)	the time synchronisation of the metering installation is correct to ACST inclusive of any load control devices;

(g)	the dial capacity is checked against the recorded dial capacity.

S7A.3.10	Validation of metering data type 1 to 4

S7A.3.10.1 General

(a)	Type 1 and 2 metering installations must have a check metering installation in accordance with the Rules.

(b)	Type 3, 4, 4A, 5 and 6 metering installations are not required to have (but may have) a check metering installation in accordance with the Rules.

S7A.3.10.2 Application of clause S7A.3.10

(a)	The requirements of clause S7A.3.10.3 are applicable to all Metering Data Providers accredited for the provision of metering data services for type 1, 2, 3 and 4 metering installations.

(b)	The requirements of clause S7A.3.10.4 are applicable to Metering Data Providers accredited for the provision of metering data services for type 1, 2, 3 and 4 metering installations that have associated check metering installations or partial check metering installations.

S7A.3.10.3	Validations to be performed for all metering installations

The Metering Data Provider must, as a minimum, undertake the following validations on metering data within the metering data services database:

(a)	a check of all interval metering data against a nominated maximum value.  This validation is to ensure that erroneous interval metering data spikes are trapped and substituted. This check may additionally be performed in the polling software;

(b)	a check of the maximum value of active energy and reactive energy.  For current transformer metering installations the maximum value is to be initially defined by the applied current transformer ratio of the metering installation.  For whole current metering installations the maximum rating of the meter is to be used;

(c)	check against a nominated minimum value or, alternatively, a ‘zero’ check which tests for an acceptable number of zero interval values per day to be derived from the site’s historical metering data;

(d)	check for null (no values) metering data in the metering data services database for all metering data streams.  The aim of this check is to ensure that there is a 100% metering data set (and substitution for any missing interval metering data is undertaken).  The minimum check required is to ensure that there is at least one non-null active energy or reactive energy value per interval per metering data stream;

(e)	check for significant meter alarms (power failure, voltage transformer or phase failure, pulse overflow, CRC error and time tolerance).  A process must be in place that captures these significant meter alarms within the metering data validation process and ensures that any meter alarm occurrences are retained. Refer to clause S7A.3.8.2.  The Metering Data Provider must provide the occurrences of these alarms to relevant Registered Participants;

(f)	where supported by the meter(s), validation, for a given period, of interval metering data by comparison of the totalised interval energy data values (accumulation register reading) and the change in the meter cumulative registers (energy tolerance). It is acknowledged that this check would not identify current transformer ratio changes that have occurred after initial commissioning and have not been advised to the Metering Data Provider.

S7A.3.10.4 	Validations to be performed for metering installations with check metering or partial check metering

(a)	The Metering Data Provider must undertake the following validations by comparison of the metering data and check metering data for all metering installations that have associated check metering installations or partial check metering installations:

(1)	for metering installations where the check metering installation duplicates the metering installation accuracy level, the Metering Data Provider must validate the metering installation data streams and check metering installation data streams on a per interval basis. The average of the 2 validated metering data sets will be used to determine the energy measurement;

(2)	for installations where the check metering data validation requires a comparison based on nodal balance (comparing the sum energy flow to the busbar against energy flow from the busbar), the Metering Data Provider must construct a validation algorithm within the metering data services database that will facilitate this test:

(i)	the Metering Data Provider must construct a validation algorithm within the metering data services database that will facilitate comparison of interval metering data for each energy flow on a per interval basis;

(ii)	the Metering Data Provider must conduct an analysis of the historical metering data for each connection point to ascertain whether error differences in nodal balance are acceptable;

(iii)	the Metering Data Provider should use this information to refine its validation algorithms to minimise the error difference value for each connection point, based on historical metering data; and

(iv)	the maximum error difference considered acceptable for any connection point is 1% on a per interval basis. The Metering Data Provider should minimise this value for each connection point, based on historical data;

(3)	where the check metering installation is remote from the metering installation (for example, at the other end of a transmission line or the other side of a transformer), the validation system must employ the following functionality:

(i)	the Metering Data Provider must construct a validation algorithm within the metering data services database that will facilitate comparison of interval metering data from the metering installation and the check metering installation on a per interval basis with adjustment for respective transformer or line losses;

(ii)	the Metering Data Provider must conduct an analysis of the historical metering data for each connection point to ascertain whether error differences between the metering data from the metering installation and check metering installation is acceptable;

(iii)	the Metering Data Provider should use this information to refine its validation algorithms to minimise the error difference value for each connection point, based on historical metering data;

(iv)	the maximum error difference considered acceptable for any connection point is 5% on a per interval basis. The Metering Data Provider should minimise this value for each connection point, based on historical data;

(4)	for installation connection points where SCADA metering data is available for the purposes of metering data validation, the Metering Data Provider must validate the metering data by comparison of the interval metering data against the SCADA metering data. The validation system must employ the following functionality:

(i)	the Metering Data Provider must construct a validation algorithm within the metering data services database that will facilitate comparison of interval metering data from the metering installation and the SCADA metering data on a per interval basis;

(ii)	the Metering Data Provider must conduct an analysis of the historical metering data for each connection point to ascertain whether error differences between the interval metering data from the metering installation and the SCADA metering data is acceptable;

(iii)	the Metering Data Provider should use this information to refine its validation algorithms to minimise the error difference value for each connection point, based on historical metering data;

(iv)	the Metering Data Provider must construct an appropriate validation algorithm as the SCADA metering data may be derived from a different measurement point, have a different interval collection period and/or have a different base unit of measurement, (for example, power not energy value) with allowances for a larger error of measurement;

(5)	the Metering Data Provider is only required to undertake validation of metering data against the SCADA metering data on the primary data channel (that is, only ‘B’ channel validation for Generators and only ‘E’ channel validation for loads such as pumps).

S7A.3.11 	Validation of metering data type 4A and 5

S7A.3.11.1	Application of clause S7A.3.11

Metering Data Providers accredited for the provision of metering data services for type 5 metering installations must apply the requirements of:

(a)	clause S7A.3.11.2 for current transformer connected type 4A or 5 metering installations; and

(b)	clause S7A.3.11.3 for whole current type 4A or 5 metering installations.

S7A.3.11.2	Validations to be performed for type 4A and 5 metering installations with CTs

The Metering Data Provider must, as a minimum, undertake the following validations on metering data within the metering data services database:

(a)	check of all interval metering data against a nominated maximum value as follows:

(1)	this validation is to ensure that erroneous interval metering data spikes are trapped and substituted;

(2)	this check may additionally be performed in the collection software;

(3)	a check of the maximum value of active energy. (Maximum reactive energy checks may also be performed as an option);

(4)	the maximum value in subparagraph (3) is to be initially defined by the applied current transformer ratio of the metering installation;

(5)	on a per installation basis, the maximum value in subparagraph (3) may be increased to cater for situations where the Metering Coordinator has confirmed that the current transformer is overloaded on a short-term basis;

(b)	check against a nominated minimum value or, alternatively, a ‘zero’ check which tests for an acceptable number of zero interval values per day to be derived from the site’s historical metering data;

(c)	check for null (no values) metering data in the metering data services database for all metering data streams as follows:

(1)	the aim of this check is to ensure that there is a 100% metering data set (and substitution for any missing interval metering data is undertaken);

(2)	the minimum check required is to ensure that there is at least one non-null active energy or reactive energy value per interval per metering data stream;

(d)	check for significant meter alarms (power outage or power failure, VT or phase failure, pulse overflow, CRC error and time tolerance) as follows:

(1)	a process must be in place that captures these significant meter alarms within the metering data validation process and ensures that any meter alarm occurrences are retained. Refer to clause S7A.3.8.2;

(2)	the Metering Data Provider must provide the occurrences of these meter alarms to relevant Registered Participants;

(e)	where supported by the meter(s), validation, for a given period, of interval metering data by comparison of the totalised interval energy data values (accumulation register reading) and the change in the meter cumulative registers (energy tolerance). It is acknowledged that this check would not identify current transformer ratio changes that have occurred after initial commissioning and have not been advised to the Metering Data Provider;

(f)	a check of the metering data for continuity and reasonability over the meter reading period as follows:

(1)	check that no gaps in the metering data exist;

(2)	check that metering data for the expected period has been delivered based on the expected reading date.

S7A.3.11.3	Validations to be performed for whole current type 4A and 5 metering installations

The Metering Data Provider must, as a minimum, undertake the following validations on metering data within the metering data services database:

(a)	check of all interval metering data against a nominated maximum value as follows:

(1)	this validation is to ensure that erroneous interval metering data spikes are trapped and substituted;

(2)	this check may additionally be performed in the collection software;

(3)	a check of maximum value of active energy. (Maximum reactive energy checks may also be performed as an option). The maximum value is to be initially set to the rating of the meter;

(b)	check for null (no values) metering data in the metering data services database for all metering data streams as follows:

(1)	the aim of this check is to ensure that there is a 100% metering data set (and substitution for any missing metering data is undertaken);

(2)	the minimum check required is to ensure that there is at least one non-null active energy or reactive energy value per interval per metering data stream;

(c)	check for significant meter alarms (voltage transformer or phase failure, pulse overflow, CRC error and time tolerance) in accordance with subparagraphs (1) and (2). The Metering Data Provider is not required to validate the interval metering data for power outage or power failure alarms:

(1)	a process must be in place that captures these significant meter alarms within the metering data validation process and ensures that any meter alarm occurrences are retained. Refer to clause S7A.3.8.2; and

(2)	the Metering Data Provider must provide the occurrences of these meter alarms (inclusive of the occurrences of power outage or power failure alarms) to relevant Registered Participants;

(d)	where supported by the meter(s), validation, for a given period, of interval metering data by comparison of the totalised interval energy data values (accumulation register reading) and the change in the meter cumulative registers (energy tolerance);

(e)	a check of the metering data for continuity and reasonability over the meter reading period as follows:

(1)	check that no gaps in the metering data exist;

(2)	check that metering data for the expected period has been delivered based on the expected reading date.

S7A.3.12  Validation of metering data type 6

S7A.3.12.1	Application of clause S7A.3.12

The requirements of clause S7A.3.12.2 are applicable to Metering Data Providers accredited for the provision of metering data services for type 6 metering installations.

S7A.3.12.2	Validations to be performed for type 6 metering installations

The Metering Data Provider must undertake the following validations on metering data within the metering data services database:

(a)	check against a nominated minimum value of metering data collected from the metering installation;

(b)	check against a nominated maximum value of metering data collected from the metering installation. This is to be applied to both the metering data collected from the metering installation and the calculated energy consumption values;

(c)	the current value of metering data collected from the metering installation ≥ previous value of metering data collected from the metering installation.

(d)	the current value of metering data collected from the metering installation is numeric and ≥ 0;

(e)	the current date that metering data is collected from the metering installation > the previous date that metering data was collected from the metering installation;

(f)	check for null (no values) metering data in the metering data services database for all metering data streams.  The aim of this check is to ensure that there is a 100% metering data set (and substitution for any missing metering data is undertaken).

S7A.3.13	Validation of metering data type 7

S7A.3.13.1	Application of clause S7A.3.13

The requirements of clause S7A.3.13.2 are applicable to Metering Data Providers accredited for the provision of metering data services for type 7 metering installations.

S7A.3.13.2	Validations to be performed for type 7 metering installations

The Metering Data Provider must undertake the following validations on calculated metering data within the metering data services database:

(a)	check against a nominated maximum calculated metering data value;

(b)	calculated metering data value is numeric and ≥ 0;

(c)	check for null (no values) calculated metering data in the metering data services database for all metering data streams.  The aim of this check is to ensure that there is a 100% calculated metering data set (and substitution for any missing calculated metering data has been undertaken);

(d)	check the inventory tables, load tables and on/off tables with a process approved by the Metering Coordinator to ensure that the correct version of the tables is being used for the production of calculated metering data;

(e)	check against a nominated minimum value or alternatively a ‘zero’ check which tests for an acceptable number of zero interval values per day;

(f)	calculated metering data date > previous calculated metering data date.

S7A.3.14  Unmetered loads – Determination of metering data

S7A.3.14.1	Requirement to produce calculated metering data: Load table

(a)	The load table must set out:

(1)	the device load (in watts) for controlled unmetered loads for use in calculating interval metering data for each device type in accordance with clause S7A.3.14.2. The load per device type must be the wattage of the device and associated control gear; and

(2)	the annual energy consumption for other unmetered loads that do not have constant load, and where energy is calculated based on annual energy consumption. The annual energy consumption is used to calculate the calculated device wattage (in watts) which is used to calculate the interval metering data for each device type as follows:

Where i = device type i.

(b)	New device types must be included in the load table prior to installation of the device.

(c)	Proposals to add a new load value for an unmetered device type to the load table must be accompanied by a relevant unique description of the device and evidence of the device load or energy consumption whichever the case may be. Wherever possible, the device load should be determined from measurement tests conducted by a NATA accredited laboratory or overseas equivalent.

S7A.3.14.2	Controlled unmetered loads

(a)	This clause is applicable to all agreed “controlled unmetered loads”.

Metering data calculation

(b)	The Metering Coordinator must ensure that the interval metering data for controlled unmetered loads, which have been classified as a type 7 metering installation, are calculated in accordance with the following algorithm:

Half-hourly metering data for recording interval j for NMI (in watt hours) =

where:

i = device type

j = recording interval

k = proportion of device attributable to that NMI

Recording interval is period in minutes.

Device wattage is determined from the load table.

Device count is determined from the inventory table.

Period load is switched on is determined from the on/off table.

Inventory table

(c)	The following applies in relation to inventory tables:

(1)	for each NMI, a separate inventory table is required that identifies each device type that forms part of the NMI load and for each device type lists:

(i)	the device type;

(ii)	the form of on/off control – photoelectric cell control, timer control, ripple control or other control;

(iii)	if timer control or ripple control, the on/off times for the controlling device;

(iv)	if other control, the on/off times;

(v)	if a device is shared with another NMI, the proportion of load that is agreed by relevant financially responsible participants to be attributable to that NMI (k). Each k factor will be less than 1. The sum of the k factors for a shared device across each respective NMI must be equal to 1;

(vi)	if a device is not shared with another NMI, the k factor must be equal to 1;

(vii)	number of such devices installed;

(viii)	effective start date – the first day on which that record in the inventory table is to be included in the calculation of metering data for that NMI;

(ix)	effective end date – the last day on which that record in the inventory table is to be included in the calculation of metering data for that NMI; and

(x)	last change date – the date that record in the inventory table was most recently created or modified.

(2)	each device in the inventory table is a unique combination of physical hardware, time control classification and shared portion. For example, if a device is shared with another NMI, the individual portions of the device(s) must be included in the inventory table as a separate device type on each NMI;

(3)	each Metering Coordinator must develop the initial inventory table for the NMIs for which it is responsible. The initial inventory table must be agreed by the relevant financially responsible participants and or the relevant end-use customer;

(4)	each Metering Coordinator must use reasonable endeavours to update the inventory table, for the NMIs for which it is responsible, on at least a monthly basis for any additions, deletions and modifications to ensure that the accuracy requirements in clause S7A.3.3.2(g) are met. Such additions, deletions or modifications to the inventory table may only be made on a retrospective basis where:

(i)	agreed by the Metering Coordinator and the relevant financially responsible participants; or

(ii)	necessary to comply with clause 7A.7.4.

(5)	the Metering Coordinator must communicate any material changes to the inventory table to the relevant financially responsible participants;

(6)	the Metering Coordinator must provide the inventory table to the relevant financially responsible participants when requested.

On/off table

(d)	In relation to the on/off table, the form of on/off control may be:

(1)	photoelectric cell control;

(2)	timer control or ripple control; or

(3)	other control.

Photoelectric cell control

(e)	In relation to photoelectric cell control, the Metering Coordinator must ensure that the appropriate sunset times and sunrise times are obtained from the Australian Government Geoscience Australia website (www.ga.gov.au/geodesy/astro/sunrise.jsp), based on the longitude and latitude of the relevant town and Australian Central Standard Time.

Timer control

(f)	The following applies in relation to timer control:

(1)	if the on/off times for a device are controlled by a timer or ripple injection system, then:

(i)	on time = ON time set on timer or ripple injection system; and

(ii)	off time = OFF time set on timer or ripple injection system;

(2)	the Metering Coordinator must ensure that the period that the load is switched on during a recording interval is calculated as follows:

| Recording interval | Period load is switched on |
| --- | --- |
| For the recording intervals commencing after on time and finishing prior to off time | Period load is switched on = 1 |
| For the recording intervals commencing after off time and finishing prior to on time | Period load is switched on = 0 |
| For the recording interval during which the on time occurs | (Period load is switched on) = |
| For the recording interval during which the off time occurs | (Period load is switched on) = |

Other control

(g)	The following applies in relation to other control:

(1)	where the on/off times for a device are not in accordance with paragraphs (e) or (f), the following alternative forms of control may be used:

(i)	on time = sunset time + ON delay or ON time set on timer or ripple injection system;

(ii)	off time = sunrise time + OFF delay or OFF time set on timer or ripple injection system or a fixed duration after ON time;

(2)	where sunrise or sunset times are used, the time is determined in accordance with paragraph (e);

(3)	the Metering Coordinator must ensure that the period that the load is switched on during a recording interval is calculated as follows:

| Recording interval | Period load is switched on |
| --- | --- |
| For the recording intervals commencing after on time and finishing prior to off time | Period load is switched on = 1 |
| For the recording intervals commencing after off time and finishing prior to on time | Period load is switched on = 0 |
| For the recording interval during which the on time occurs | (Period load is switched on)= |
| For the recording interval during which the off time occurs | (Period load is switched on)= |

S7A.3.14.3	Other unmetered loads

(a)	This clause is applicable to all agreed “other unmetered loads”.

Energy calculation

(b)	The Metering Coordinator must ensure that the interval metering data for other unmetered loads, which have been classified as a type 7 metering installation, is calculated in accordance with the following algorithm:

Inventory table

(c)	The following applies in relation to inventory tables:

(1)	for each NMI, a separate inventory table is required that identifies each device type which forms part of the NMI load and for each device type lists:

(i)	the device type;

(ii)	the form of on/off control (24 hours per day);

(iii)	if a device is shared with another NMI, the proportion of load that is agreed by relevant financially responsible participants to be attributable to that NMI (k). Each k factor will be less than 1. The sum of the k factors for a shared device across each respective NMI must be equal to 1;

(iv)	if a device is not shared with another NMI, the k factor must be equal to 1;

(v)	number of such devices installed;

(vi)	effective start date – the first day on which that record in the inventory table is to be included in the calculation of metering data for that NMI;

(vii)	effective end date – the last day on which that record in the inventory table is to be included in the calculation of metering data for that NMI; and

(viii)	last change date – the date that record in the inventory table was most recently created or modified;

(2)	each device in the inventory table is a unique combination of physical hardware, time control classification and shared portion. For example, if a device is shared with another NMI, the individual portions of the device(s) must be included in the inventory table as a separate device type on each NMI;

(3)	each Metering Coordinator must develop the initial inventory table for the NMIs for which it is responsible. The initial inventory table must be agreed by the relevant financially responsible participants and the relevant end-use customer;

(4)	each Metering Coordinator must use reasonable endeavours to update the inventory table, for the NMIs for which it is responsible, on at least a monthly basis for any additions, deletions and modifications to ensure that the accuracy requirements in clause S7A.3.3.2(g) are met. Such additions, deletions or modifications to the inventory table may only be made on a retrospective basis where:

(i)	agreed by the Metering Coordinator and the relevant financially responsible participants; or

(ii)	necessary to comply with clause 7A.7.4.

The Metering Coordinator must communicate any material changes to the inventory table to the relevant financially responsible participants. The Metering Coordinator must provide the inventory table to relevant financially responsible participants when requested.

On/off table

(d)	For the on/off table, other unmetered loads are assumed to operate 24 hours per day. For each recording interval period load is switched on = 1.

Schedule 7A.4    Service level procedures

Part A 	Metering Providers

S7A.4.1 	General

S7A.4.1.1	Application

Part A of this schedule details the requirements that Metering Providers must comply with when undertaking installation, provision and maintenance services for type 1, 2, 3, 4, 4A, 5 and 6 metering installations.

S7A.4.1.2	Purpose

(a)	Part A of this schedule details the obligations, technical requirements, measurement process and performance requirements that are to be performed, administered and maintained by a Metering Provider.

(b)	Part A of this schedule details the obligations and technical/operational requirements in the provision, installation and maintenance of the metering installation by a Metering Provider.

(c)	Part A of this schedule relates to category B Metering Providers, which are Metering Providers who are accredited to undertake the provision, installation and maintenance of various metering installation types as stipulated.

(d)	Part A of this schedule sets out minimum requirements for Metering Providers.

S7A.4.1.3	Interpretation

(a)	In this schedule:

reasonable endeavours, in relation to a person, means the person must act in good faith and do what is reasonably necessary in the circumstances.

(b)	In Part A of this schedule diagrams are provided as an overview. If there are ambiguities between a diagram and the text, the text takes precedence.

S7A.4.2 	Metering Provider obligations

S7A.4.2.1	Obligations

(a)	All category B Metering Providers must comply with Part A of this schedule.

(b)	The Metering Provider has responsibility for the provision of metering provision services for all connection points for which they are appointed Metering Provider by a Metering Coordinator.

S7A.4.3 	Metering Provider services

S7A.4.3.1	Services

The Metering Provider is responsible for the provision of metering provision services, including but not limited to:

(a)	maintaining the ongoing metering installation compliance with the Rules;

(b)	the provision and maintenance of physical metering installation security controls;

(c)	the provision, installation and maintenance of the metering installation;

(d)	the maintenance of metering installation password security; and

(e)	the development and maintenance of a Metering Asset Management Plan.

S7A.4.3.2	Maintenance of metering installations

(a)	The Metering Coordinator must ensure that all facets of the metering installation are maintained.

(b)	For regulatory control periods subsequent to the 1st regulatory control period, the Metering Coordinator may appoint any number of Metering Providers to undertake the different components of work for each metering installation (for example, to design the installation; install instrument transformers; install meters; install data communications; conduct tests; conduct ongoing maintenance).

Note:

The application of this clause will be revisited as part of the phased implementation of the Rules in this jurisdiction.

S7A.4.3.3	Use of contractors

(a)	If a Metering Provider engages a contractor to assist it to perform any of its obligations under the Rules (including this schedule) (see clause 7A.4.1(d)), the Metering Provider must ensure that processes are in place to certify that all work performed by the contractor on behalf of the Metering Provider is compliant with the Rules (including this schedule).

(b)	While the Metering Provider may contract out metering work, the Metering Provider may not delegate any of its responsibilities under the Rules. The Metering Provider is responsible and liable for all acts and omissions of the contractor as if they were acts and omissions of the Metering Provider.

S7A.4.3.4	Insurance

(a)	A Metering Provider must effect and maintain:

(1)	general liability insurance; and

(2)	for a period of 7 years after the person ceases to be a Metering Provider, professional indemnity insurance, for an amount of not less than $10,000,000 total, covering potential claims against the Metering Provider.

(b)	The Metering Provider must provide the Utilities Commission with certified copies of the insurance policy required under Part A of this schedule, when requested.

S7A.4.3.5	Professionalism

(a)	Metering Providers must ensure that sufficient competent people are recruited and maintained in order to meet the Metering Provider’s obligations and performance requirements.

(b)	Metering Providers must use reasonable endeavours to establish the necessary working relationships with other Metering Providers and Metering Data Providers to ensure that matters affecting customer transfer, meter installation, provision and maintenance, and maintenance of NT NMI data are achieved proficiently.

S7A.4.4 	Performance

S7A.4.4.1	Metering Provider processes

(a)	For the services that they provide, Metering Providers must have processes and systems in place in the following areas:

(1)	purchasing of metering equipment;

(2)	provision of metering equipment;

(3)	installation of metering equipment;

(4)	commissioning and verification of metering equipment;

(5)	testing and inspection of metering equipment;

(6)	maintenance of metering equipment;

(7)	programming of metering equipment;

(8)	asset management planning;

(9)	security of metering installations and energy data;

(10)	NT NMI data management;

(11)	quality system certification;

(12)	training and maintenance of resource skills.

(b)	The Metering Provider must also have processes and systems in place for review of the matters referred to in paragraph (a) in the event of a change in the Rules or an instrument made under or for the purposes of the Rules.

S7A.4.4.2	Connection point transfer

The Metering Provider is required to facilitate the timely commissioning of the metering installation and the confirmation of the metering installation details.

S7A.4.4.3	Metering Provider interfaces

(a)	Category A Metering Providers are Metering Providers who are accredited to undertake installation only of type 5 and 6 whole current meters.

(b)	For regulatory control periods subsequent to the 1st regulatory control period, where a category A Metering Provider is appointed by the Metering Coordinator to perform installation work only, the category B Metering Provider must, on behalf of the Metering Coordinator, ensure that processes are in place to ensure that interfaces with the category A Metering Provider are established to ensure that:

(1)	provision of metering equipment is undertaken in a timely manner;

(2)	transition of relevant metering installation NT NMI data information into systems and processes are carried out; and

(3)	the metering equipment is maintained by inclusion in the relevant test strategy within the associated Metering Asset Management Plan.

Note:

The application of this clause will be revisited as part of the phased implementation of the Rules in this jurisdiction.

S7A.4.4.4	Compliance

While the overall responsibility lies with the Metering Coordinator, Metering Providers are required to provide copies of test or commissioning details to any new Metering Provider or Metering Coordinator upon request.

S7A.4.4.5	General commissioning requirements

(a)	The Metering Provider must use reasonable endeavours to ensure that the metering installation is compliant and carry out the metering installation commissioning checks and other requirements specified in paragraphs (b) to (r).

Wiring checks

(b)	The Metering Provider must verify that the:

(1)	metering installation equipment and associated wiring is correct;

(2)	metering installation complies with manufacturer requirements, relevant standards and jurisdictional documents;

(3)	all wiring terminations are tight and correctly terminated;

(4)	cable type and sizes used are correct; and

(5)	phase sequence and polarity are correct.

Accuracy requirements

(c)	The Metering Provider must establish that the accuracy class of all the metering equipment associated with a metering installation and any documentation verifying the errors of current transformers, voltage transformers and meters show compliance with the Rules. The name plate data reflects the design accuracy class of the metering equipment.

(d)	The Metering Provider must carry out all reasonable directions of the Metering Coordinator to establish metering installation compliance.

Multiplier validation

(e)	For metering installations that utilise instrument transformers, (voltage transformers and/or current transformers), the Metering Provider must verify the connected ratios of all instrument transformers on site and calculate the constant to be applied to the meter readings and metering data.

Metering transformer burden measurement

(f)	For metering installations that utilise instrument transformers, (voltage transformers and/or current transformers), the Metering Provider must undertake measurements of the actual secondary burdens of the instrument transformers pertaining to the metering installation to ensure that the burdens applied to the instrument transformers are within the rated burden specified on the nameplate.

Phase sequence

(g)	The Metering Provider must verify that the metering installation voltage phase sequence relationships are correct unless the Metering Provider can verify the accuracy of the meter type when non-standard phase sequence is applied.

Vector relationships

(h)	For metering installations that utilise instrument transformers, (voltage transformers and/or current transformers), the Metering Provider must verify that the combined current and voltage phase relationships at the meter terminals are correct.

Meter validation

(i)	For all metering installation types, the Metering Provider must verify that the meter programming parameters, display and error functions are all correct in accordance with manufacturer specifications. This includes the measurement of the forward rotation of energy applied to the meter, and verifying that the correct pulse rates (for interval meters) have been programmed into the meter for the best possible resolution of energy data measurement and recording.

(j)	For metering installations that involve the use of instrument transformers, the Metering Provider must validate register readings to the measured customer load where applicable and possible. The validation process may also include a timing check by comparing the output on the meter display and/or pulse indicators against load and time.

(k)	For sites involving remote acquisition of metering data, the Metering Provider must have processes as follows in place to aid in the validation of interval metering data with the Metering Coordinator and/or Metering Data Provider:

(1)	these processes must confirm that remote communication with the meter is established and is of sufficient quality to support communication and metering data transfer;

(2)	this verification is to be done at the time of meter installation, meter change, meter test or meter reprogramming;

(3)	the Metering Provider must also aid any end to end verification of the measured and stored interval metering data within the meter’s buffer with the interval metering data value(s) as remotely read and stored within the Metering Data Provider’s metering data services database; and

(4)	the Metering Provider must have processes in place to aid in the validation of metering data with the Metering Coordinator and/or Metering Data Provider. Where a validation failure has occurred, the Metering Provider is required to have a process in place to verify metering installation compliance.

Sites that cannot be validated

(l)	For sites that cannot be fully validated, the Metering Provider must inform the Metering Data Provider and the Metering Coordinator that the metering installation cannot be fully validated. The Metering Provider is required to liaise with the Metering Coordinator to undertake other alternative measurements and commissioning checks that enable the Metering Coordinator to agree that the metering installation is compliant.

(m)	The Metering Provider must undertake one or more of the following checks:

(1)	utilisation of meter energy measurement to calculate load/demand and that this value is reflective of expected magnitude;

(2)	use of a dummy load or phantom load box to verify correct meter energy measurement;

(3)	wiring checks which visibly verify correct connection and phase relationships of voltage and current circuits;

(4)	compare meter measurement of energy/load with an alternative measurement of demand, current etc.

Alarm settings

(n)	Where the meter supports alarm functionality as an attachment to the interval metering data, the Metering Provider is required to enable the following alarms:

(1)	power failure;

(2)	voltage failure;

(3)	pulse or interval data overflow;

(4)	checksum error;

(5)	time reset.

(o)	Where there are alarm sensitivity settings, these must be set at appropriate levels to ensure meaningful alarm outputs (for example, for contestable customer supplies a Voltage drop of -15% is nominally appropriate).

In situ testing of type 1, 2, 3 and 4 metering installations

(p)	Where a Metering Provider undertakes to perform in situ testing of a type 1, 2, 3 and 4 metering installation, the Metering Provider must note the start and end times of the meter test and any applicable register readings and record these on the relevant test sheet.

(q)	On completion of the tests the Metering Provider must ensure that the following is undertaken before the Metering Provider leaves the site:

(1)	the metering installation is commissioned into service and all connections are correct, tight and that the measurement system is operating correctly. Adherence to this clause, is required;

(2)	the Metering Provider contacts the relevant Metering Data Provider and verifies that the Metering Data Provider still has operational communications with the meter and that the communications are of sufficient quality to support metering data transfer; and

(3)	the Metering Provider informs the Metering Data Provider of the start and end times of the test and the metering details concerned. (This is to facilitate the Metering Data Provider validating and substituting out any erroneous metering data as a result of the meter test.)

(r)	On completion of the metering installation test, the Metering Provider must provide to the relevant Metering Data Provider, by formal communication, confirmation of the details and test times mentioned in paragraphs (p) and (q).

S7A.4.4.6	Meter change process

(a)	The Metering Provider must only undertake meter churn when it is authorised to do so by a Metering Coordinator.

(b)	Prior to conducting meter churn from a type 1, 2, 3 or 4 metering installation to a type 1, 2, 3, 4, 4A or 5 metering installation the Metering Provider must use reasonable endeavours to:

(1)	provide the current Metering Data Provider with details of the new Metering Data Provider and new Metering Provider; and

(2)	request and verify that the current Metering Data Provider undertakes a final reading to recover any metering data since the meter was last interrogated.

(c)	Prior to conducting meter churn from a type 4A, 5 or 6 metering installation to a type 1, 2, 3, or 4 metering installation, the Metering Provider must use reasonable endeavours to contact the current Metering Provider and/or relevant Network Service Provider and provide confirmation that a meter change is to be carried out.

(d)	On completion of the installation of the metering installation the Metering Provider must ensure that the following is undertaken before the Metering Provider leaves the site:

(1)	note the metering installation details, times, and any accumulation readings on the relevant Meter Change Installation Notice or site commissioning test sheet;

(2)	the metering installation is commissioned into service and all connections are correct, tight and that the measurement system is operating correctly. Adherence to clause S7A.4.4.5 is required;

(3)	for a site remaining a type 1, 2, 3 or 4 metering installation, use reasonable endeavours to contact the new Metering Data Provider to verify:

(i)	that there are operational communications with the metering installation;

(ii)	that the communications are of sufficient quality to support the remote acquisition of metering data; and

(iii)	the commissioning time of the metering installation.

(e)	The Metering Provider is required to provide to the new Metering Data Provider formal confirmation of the above metering installation details and commissioning times.

S7A.4.4.7	Meter change information requirements

The Metering Provider must provide, where applicable to the specified metering installation, the following information in an electronic format to the Metering Coordinator, relevant financially responsible participants or any other Metering Providers and Metering Data Providers who have a right of access to the information, as a minimum, pertaining to any metering installation changes.

Equipment installation

| Information Category | Details |
| --- | --- |
| NMI details | NMI Check Sum |
| NMI address | Street State Postcode |
| Registered Participants | financially responsible participant Metering Coordinator relevant retailer Metering Provider Metering Data Provider relevant Network Service Provider |
| Modem details | Modem Make Modem Type Modem Plant Modem Phone Modem Baud Modem Carrier |
| Meter details | Meter Make Meter Type Meter Rating Meter Serial Number Meter Pulse Rate Meter Multiplier Unit Address Load Survey Interval Programmed Current Transformer Ratio Programmed Voltage Transformer Ratio |
| Current Transformer(s) | Current Transformer Make Current Transformer Type Current Transformer Class Current Transformer Ratios Current Transformer Tap Current Transformer Rated Burden Current Transformer Serial Number Phase 1 Current Transformer Serial Number Phase 2 Current Transformer Serial Number Phase 3 Current Transformer Secondary Wiring Size Current Transformer Secondary Wiring Route Length Primary Current Secondary Current |
| Voltage Transformer(s) | Voltage Transformer Make Voltage Transformer Type Voltage Transformer Class Voltage Transformer Ratios Voltage Transformer Tap Voltage Transformer Rated Burden Voltage Transformer Serial Number Phase 1 Voltage Transformer Serial Number Phase 2 Voltage Transformer Serial Number Phase 3 Voltage Transformer Secondary Wiring Size Voltage Transformer Secondary Wiring Route Length |

Equipment removal

| Information Category | Details |
| --- | --- |
| NMI details | NMI Check Sum |
| NMI address | Street State Postcode |
| Registered Participants | Old Metering Data Provider ID Old Metering Provider ID |
| Meter details | Meter Make(s) Meter Type(s) Meter Rating Meter Serial number(s) |
| Current transformer(s) | Removed Current Transformer Serial number(s) Removed Current Transformer Type(s) Removed Current Transformer Make(s) |
| Voltage Transformer(s) | Removed Voltage Transformer Serial Number(s) Removed Voltage Transformer Type(s) Removed Voltage Transformer Make(s) |
| Removal details | Service Order Number Work Order Number Meter Remove Date Meter Remove Time |
| Meter readings | Meter Reading(s) Data downloaded (Type 1, 2, 3 and 4) Date/time of download |

Forms

Samples of the following forms appear at Attachment 1 of “Service Level Procedure: Metering Provider Services Category B for Metering installation Types 1, 2, 3, 4, 5 and 6”, version 4.4 as in force on 1 September 2015, published by AEMO:

- Meter Read and Meter Change Sheet

- LV Metering Installation Sheet

- LV Metering Commissioning Sheet

- HV Metering Installation Sheet

- HV Metering Commissioning Sheet

S7A.4.4.8	Asset management plans

The Metering Provider must develop, maintain and execute a Metering Asset Management Plan (MAMP) for all metering installation assets for which the Metering Provider has been engaged to provide maintenance and testing services by the Metering Coordinator, which is to be approved by the Metering Coordinator.

S7A.4.4.9	Telecommunications

(a)	The Metering Provider must notify the Metering Data Provider and Metering Coordinator if communications equipment is to be temporarily disconnected such that it may affect the remote acquisition of metering data.

(b)	The Metering Provider must assist the Metering Coordinator and/or the Metering Data Provider with the collection of metering data from the metering installation where remote acquisition becomes unavailable.

(c)	Paragraph (b) does not apply in relation to instances of a telecommunication network failure where the logistics of collection of metering data from significant volumes of metering installations is not practical. However, this does not remove the obligation of the Metering Coordinator to resolve the instance of the telecommunication network failure.

S7A.4.4.10	Systems

Systems procured or used by the Metering Provider to provide the services specified in Part A of this schedule must be maintained in reasonable working condition in an accessible manner.

S7A.4.4.11	Disaster recovery

(a)	The Metering Provider must have a ‘Disaster Recovery Plan’ in place that, in the event of an IT system failure, the system is returned to normal operational service within 5 business days. Recovery to operational service is measured by evidence that the software and the most recent back-up of data has been restored to operational service within the 5 business days.

(b)	It is a requirement of the Metering Provider to demonstrate evidence to the effect that:

(1)	detailed documentation of a Disaster Recovery Plan is maintained fully up-to-date. The documentation to show revisions and ‘last check date’;

(2)	the Disaster Recovery Plan is witnessed and dated at least annually by the Metering Provider as being current for the systems and processes in place; and

(3)	the Disaster Recovery Plan has been subjected to an annual end-to-end test that facilitates both a ‘fail-over’ from and ‘recovery’ back to the production system.

S7A.4.4.12	Metering installation security

The Metering Provider must not remove an asset if there is evidence of tampering or electricity theft. The Metering Provider must inform the existing Metering Data Provider and/or Metering Coordinator, and the metering installation must remain as is until the Metering Coordinator has investigated. The new metering equipment can only be installed once the Metering Coordinator has given permission.

S7A.4.4.13	Safety

(a)	Metering Providers must maintain appropriate levels of OH&S policies according to jurisdictional and legislative requirements. Minimum requirements include the identification of risks and hazards and application of control measures prior to any work being performed on site.

(b)	It is expected that relevant site safety information is openly shared amongst Metering Providers, including the dispatch of safety alerts where applicable.

(c)	The Metering Provider must satisfy or perform any site induction requirements as required by the Metering Coordinator or financially responsible participant.

S7A.4.4.14	Work standards

(a)	The Metering Provider must comply with the current:

(1)	Australian Standard 3000 Wiring Rules;

(2)	Telecommunications Cabling Provider Rules 2014 (Cth) (where applicable); and

(3)	jurisdictional and Network Service Provider requirements.

(b)	If the Metering Provider identifies a metering installation that does not comply with paragraph (a), it is expected that the Metering Provider will inform the financially responsible participant, Metering Coordinator, appropriate jurisdictional administrator and/or the relevant Network Service Provider (as appropriate).

S7A.4.4.15	Time synchronisation

The Metering Provider when installing, testing and maintaining the metering installation must ensure the time setting of the metering installation is referenced to Australian Central Standard Time.

Part B 	Metering Data Provider

S7A.4.5	General

S7A.4.5.1 Definitions

In Part B of this schedule:

collect, collection, collected means a process undertaken by the Metering Data Provider to obtain metering data from a meter or metering installation.

data stream has the meaning given in clause S7A.3.1.3 of schedule 7A.3.estimate, estimation, estimated has the meaning given in clause S7A.3.1.3 of schedule 7A.3.

Service Providers means Metering Data Providers, Metering Providers and relevant Network Service Providers.

substitute, substitution, substituted has the meaning given in clause S7A.3.1.3 of schedule 7A.3.

validate, validation, validated has the meaning given in clause S7A.3.1.3 of schedule 7A.3.

S7A.4.5.2 Purpose

(a)	The purpose of Part B of this schedule is to detail the obligations, technical requirements, measurement processes and performance requirements that are to be performed, administered and maintained by the Metering Data Provider.

(b)	This Part details:

(1)	the obligations of the Metering Data Provider in the provision of metering data services;

(2)	the obligations of the Metering Data Provider to establish and maintain a metering data services database; and

(3)	the obligations of the Metering Data Provider in support of the Metering Coordinator.

S7A.4.6 	Obligations

S7A.4.6.1 Metering data services

The Metering Data Provider must:

(a)	provide metering data services in accordance with the Rules and relevant jurisdictional codes and policies;

(b)	establish, maintain and operate a metering data services database;

(c)	ensure that the metering data services database including all distributed systems, personal computers and equipment used for collection is synchronised to Australian Central Standard Time in accordance with the accuracy requirements of clause 7A.8.7(b);

(d)	ensure that all metering installations are synchronised to Australian Central Standard Time through the collection process in accordance with the accuracy requirements of clause 7A.8.7(c), for the relevant metering installation type;

(e)	maintain the security and confidentiality of any metering installation passwords;

(f)	undertake the collection, processing and delivery of metering data and significant meter alarms; and

(g)	make all reasonable endeavours to cooperate in good faith with all Registered Participants, Metering Providers and Metering Data Providers within this jurisdiction.

S7A.4.6.2	Use of contractors

(a)	If a Metering Data Provider engages a contractor to assist it to perform any of its obligations under the Rules (including this schedule) (see clause 7A.4.2(d)), the Metering Data Provider must ensure that processes are in place to certify that all work performed by the contractor on behalf of the Metering Data Provider is compliant with the Rules (including this schedule).

(b)	While the Metering Data Provider may contract out metering work, the Metering Data Provider may not delegate any of its responsibilities under the Rules. The Metering Data Provider is responsible and liable for all acts and omissions of the contractor as if they were acts and omissions of the Metering Data Provider.

S7A.4.6.3	Specific obligations for Metering Data Provider

(a)	The Metering Data Provider must:

(1)	undertake validation, substitution and estimation of metering data in accordance with schedule 7A.3, Part B;

(2)	provide metering data services which relate to the collection, calculation, processing and delivery of metering data; and

(3)	ensure metering details and parameters within the metering data services database are correct such that the metering data is accurate.

(b)	Where the metering installation includes the measurement of reactive energy, the Metering Data Provider must store this metering data with the active metering data in the metering data services database.

S7A.4.7 	System architecture and administration

S7A.4.7.1 System requirements

(a)	The Metering Data Provider must maintain and operate a metering data services database to facilitate the:

(1)	collection of metering data;

(2)	processing, calculation, validation, substitution and estimation of metering data;

(3)	delivery of metering data to Registered Participants and other Service Providers;

(4)	assignment and version control of participant roles for connection points;

(5)	commissioning of each metering installation into the Metering Data Provider’s metering data services database; and

(6)	storage and archiving of metering data and validated metering data from the metering installation.

(b)	The Metering Data Provider must maintain and operate a metering data services database that provides a full auditable trail and version control capability. This functionality must be applied to:

(1)	metering data;

(2)	assigned data quality flags;

(3)	substitution and estimation types;

(4)	significant metering data alarms (listed in schedule 7A.3, Part B);

(5)	the delivery of metering data to Registered Participants and other Metering Data Providers; and

(6)	the mapping of all metering data streams (including logical metering data streams).

(c)	The Metering Data Provider must maintain, operate and monitor a system that supports the detection of system or process errors. These exception reports must include but not be limited to:

(1)	missed reads and missing intervals of metering data within the metering data services database;

(2)	long-term substitutions and estimations;

(3)	metering data errors and data overlaps;

(4)	validation errors;

(5)	failed batch processing, database errors and hardware failures;

(6)	the capture of file syntax errors, failed and rejected metering data deliveries;

(7)	status management of collection interfaces; and

(8)	status management of metering installation malfunctions.

S7A.4.7.2 Collection process requirements

- The Metering Data Provider must use reasonable endeavours to ensure actual metering data, including significant meter and metering data alarms, is collected for all connection points for which it has responsibility for metering data services.

- The Metering Data Provider must operate a process that:

(1)	records and logs faults and problems associated with the reading function of meters. The process must record and log, but is not limited to, any:

(i)	access problems;

(ii)	metering installation security problems;

(iii)	metering installation faults;

(iv)	read failures; and

(v)	metering installation time synchronisations;

(2)	supports the Metering Coordinator, the Metering Provider, or both in the rectification of any metering installation malfunctions or problems associated with the reading function of meters; and

(3)	provides notification of any metering installation malfunction, to the Metering Coordinator and the Metering Provider, in accordance with clause 7A.6.7, so that repairs can be effected in a timely manner.

S7A.4.7.3 Specific collection process requirements for type 1, 2, 3 and 4 metering installations

- The requirements of this clause are applicable to type 1, 2, 3 and 4 metering installations.

- The Metering Data Provider must be capable of initiating a remote reading where metering data is missing, erroneous or has failed validation.

- The Metering Data Provider must operate and maintain a process which:

(1)	initiates an alternate method to collect metering data where remote acquisition becomes unavailable; and

(2)	provides a reading event log detailing successful read events for each metering installation, or alternatively an exception report of failed meter reads.

S7A.4.7.4 Specific collection process requirements for type 5 and 6 metering installations

(a)	The requirements of this clause are applicable to type 5 and 6 metering installations.

(b)	The Metering Data Provider must:

(1)	develop and maintain a meter reading schedule in accordance with schedule 7A.3, Part A;

(2)	maintain read routes with particular attention to any specific access requirements and hazard information;

(3)	use reasonable endeavours to ensure that metering data is collected at a frequency which is at least once every 3 months;

(4)	ensure that scheduled meter reading lists and programmed reading equipment are provisioned, updated and maintained;

(5)	use reasonable endeavours to ensure that the metering data is collected within 2 business days prior to, or 2 business days subsequent to, the scheduled meter reading date; and

(6)	ensure that all metering data collected and any fault reason codes associated with a reading failure are transferred to the metering data services database within 1 business day of the data being collected or attempted to be collected from the metering installation.

S7A.4.7.5 Metering data processing requirements

(a)	The Metering Data Provider must have a process to:

(1)	confirm and utilise the participant roles for connection points;

(2)	assign and store the date/time stamp of when the metering data was entered into the Metering Data Provider’s metering data services database;

(3)	ensure that, in accordance with schedule 7A.3, Part B, all metering data is stored in the metering data services database with the correct:

(i)	Quality Flag;

(ii)	Substitution or Estimation Type Code (where applicable); and

(iii)	Substitution or Estimation Reason Code (if applicable); and

(4)	check the metering data services database for missing metering data and overlaps.

(b)	Where the Metering Coordinator or the Metering Provider informs the Metering Data Provider of a situation that may cause metering data to be erroneous, the Metering Data Provider must identify and substitute any erroneous metering data.

(c)	Where any Registered Participant for the connection point disputes metering data, the Metering Data Provider must investigate, and if necessary correct the metering data in accordance with schedule 7A.3, Part B.

(d)	Where the meter assigns alarms to the metering data, the Metering Data Provider’s system must process the alarm along with the metering data as part of the validation process in accordance with schedule 7A.3, Part B.

(e)	The Metering Data Provider must use reasonable endeavours to load metering data in an alternative format provided by the Metering Provider where there is a communications or reading malfunction, or a metering installation malfunction, that prevents the normal collection of metering data from the metering installation.

(f)	The Metering Data Provider must have a process to aggregate interval metering data for a connection point into a 30 minute interval net data stream.

S7A.4.7.6 Specific metering data processing requirements for type 1, 2, 3 and 4 metering installations

(a)	The requirements of this clause are applicable to type 1, 2, 3 and 4 metering installations.

(b)	The Metering Data Provider must have a process to be capable of undertaking simple cumulative or subtractive processes to manage complex metering configurations. Typically the system must support:

(1)	an A+B+C or A-B-C aggregation configuration;

(2)	metering data validation capability for standard, partial or check meter connection points which incorporates a simple comparison of single data stream of metering data to a single data stream of check metering data within an acceptable tolerance; and

(3)	the calculation of the average of the 2 validated data sets for metering installations where the check metering installation duplicates the metering installation and accuracy level. The average of the 2 validated data sets must be delivered to Registered Participants.

S7A.4.7.7 Specific metering data processing requirements for type 7 metering installations

(a)	The requirements of this clause are applicable to type 7 metering installations.

(b)	The Metering Data Provider must store inventory tables, load tables and on/off tables, as defined in schedule 7A.3, Part B, in the metering data services database.

(c)	The Metering Data Provider must ensure:

(1)	inventory tables are updated with any changes provided by the relevant Network Service Provider or Metering Coordinator;

(2)	on/off tables are correct and compliant with details specified in schedule 7A.3, Part B; and

(3)	load tables are correct.

(d)	The Metering Data Provider must validate that load tables, inventory tables and on/off tables are complete and correct.

(e)	The Metering Data Provider must ensure the inventory table, load table and on/off table are versioned for metering data calculations.

(f)	The Metering Data Provider must ensure that all calculated metering data is validated and processed into recording intervals.

S7A.4.7.8 Specific metering data estimation requirements for types 5, 6 and 7 metering installations

(a)	The requirements of this clause are applicable to type 5, 6, and 7 metering installations.

(b)	The Metering Data Provider must have a process for the creation of estimated metering data.

(c)	To meet metering data delivery requirements, this process must either:

(1)	create individual blocks of estimated metering data on a daily basis; or

(2)	create a single block of estimated metering data:

(i)	from the current reading event to a period beyond the newly published next scheduled read date for types 5 and 6 metering installations; or

(ii)	from the current calculation event to a period beyond the next scheduled calculation event for type 7 metering installations.

S7A.4.7.9 Delivery performance requirements for metering data

(a)	The Metering Data Provider must ensure only metering data which has passed validation is delivered to other Metering Data Providers and Registered Participants.

(b)	The Metering Data Provider must:

(1)	deliver to other Metering Data Providers and Registered Participants all actual metering data which has passed validation within 2 business days of the actual metering data being received into the metering data services database;

(2)	substitute, validate and deliver to other Metering Data Providers and Registered Participants the substituted metering data within 2 business days of the actual metering data being received into the metering data services database and failing validation; and

(3)	substitute, validate and deliver to other Metering Data Providers and Registered Participants the substituted metering data within 2 business days of the receipt of any fault reason codes associated with a reading failure or failed interrogation event, into the metering data services database.

(c)	The Metering Data Provider must validate and deliver to other Metering Data Providers and Registered Participants all substituted metering data within 2 business days of the metering data being substituted.

(d)	For type 5, 6 and 7 metering installations the Metering Data Provider must validate and deliver to other Metering Data Providers and Registered Participants all estimated metering data within 2 business days of the metering data being estimated.

(e)	The Metering Data Provider must provide metering data to the financially responsible participant within 2 business days of receiving a completed notification of a change of financially responsible participant, including estimated metering data, for a type 5, 6 or 7 metering installation.

(f)	The Metering Data Provider must ensure that all failed validations are reviewed promptly such that:

(1)	where the initial review of the failed validation identifies that the actual metering data is valid, deliver the actual metering data other Metering Data Providers and Registered Participants within 2 business days of the metering data being received into the metering data services database; and

(2)	where further information is required to validate the actual metering data, and the receipt of such information identifies that the actual metering data is valid, deliver the actual metering data to other Metering Data Providers and Registered Participants within 2 business days of the metering data passing validation.

(g)	The Metering Data Provider must notify affected participants of any operational delays which impact on normal expected metering data delivery.

S7A.4.8 System architecture and administration

S7A.4.8.1 Data back-up

All metering data must be backed-up at a minimum on a daily basis and held in a secure environment.

S7A.4.8.2 Disaster recovery

(a)	The Metering Data Provider must ensure that a Disaster Recovery Plan is established and in place to ensure that in the event of a system failure, the system can be returned to normal operational service within 2 business days.

(b)	The Metering Data Provider must ensure that the Disaster Recovery Plan is:

(1)	up-to-date with all documentation showing revisions; and

(2)	witnessed and dated at least annually by the Metering Data Provider as being current for the systems and processes in place.

(c)	Where the Metering Data Provider adopts a Disaster Recovery Plan that has a complete ‘fail-over’ system approach, the Disaster Recovery Plan must be subjected to a test annually that facilitates a full ‘fail-over’ to the recovery system.

(d)	Where the Metering Data Provider adopts a Disaster Recovery Plan that has a segmented system approach, the Disaster Recovery Plan must:

(1)	detail the interfaces and relationships between system segments;

(2)	be established for each individual system segment;

(3)	be tested annually with evidence retained to show disaster recovery for each individual system segment; and

(4)	have, for each individual system segment, a procedure that clearly details the process to establish a return to full operation.

(e)	Expected evidence to support Disaster Recovery Plan testing should include, but not be limited to:

(1)	a Test Plan of the fail-over;

(2)	results of the fail-over including timing;

(3)	system logs indicating fail-over and recovery; and

(4)	logs or notations evidencing resumption of Metering Data Provider operations.

(f)	In the event a system failure does occur, the Metering Data Provider must ensure that its metering data services database is restored to operational service within 2 business days.

S7A.4.8.3 System administration and data management

The metering data services database must be operated and administered to facilitate:

(a)	controlled access to systems and data using unique identification and passwords for each user;

(b)	the restriction of access to the underlying database tables to nominated System Administrators; and

(c)	a minimum of 95% system availability (i.e. hardware and systems downtime do not exceed a maximum of 438 hours per annum).

S7A.4.9 	Administration

S7A.4.9.1 Bilateral agreements

(a)	A Registered Participant may request the Metering Data Provider to do any of the following:

(1)	provide metering data in an alternate format;

(2)	deliver metering data by an alternate method;

(3)	deliver metering data in an alternate time frame;

(4)	provide any other metering data services.

(b)	Under paragraph (a), there is no mandated requirement for a Metering Data Provider to implement system changes and processes to facilitate bilateral agreements.

(c)	Any acceptance by the Metering Data Provider to deliver metering data to a Registered Participant in accordance with paragraph (a) must not impact on metering data delivery to any other Registered Participant for the connection point(s) concerned.

S7A.4.9.2 Quality systems

The Metering Data Provider must operate and retain a quality system that is at least equal to a quality accreditation to the ISO9001 or ISO9002 standards.

Schedule 7A.5 Meter functionality requirements for type 1, 2, 3 and 4 metering installations

S7A.5.1	Introduction

S7A.5.1.1	Purpose

This schedule specifies the meter functionality requirements for type 1, 2, 3 and 4 metering installations in this jurisdiction.

S7A.5.1.2	Definitions

In this schedule:

communications network means all communications equipment, processes and arrangements that lie between the meter and the NMS.

end user customer means the customer or retail customer who consumes electricity at the point of use.

export means the delivery of energy from the network to an end-use customer.

import means the delivery of energy from an end-use customer into a distribution network.

local disconnection means the operation of the supply contactor to effect a disconnection of supply performed locally at the meter by alternative electronic means.

metering system means the installed metering installation, communications network or infrastructure, and any other systems required under this schedule.

NMS (Network Management System) means the component of a metering system that manages the communications network.

remote disconnection means the utilisation of the communication system to disconnect the end-use customer’s supply at the meter by the operation of a contactor.

supply contactor means the contactor in the meter that, when opened, causes the supply to be disconnected and, when closed, allows the supply to become connected.

total accumulated energy means the total or accumulated amount of energy measured and recorded per channel of a meter since the installation of the meter or the resetting of the value.

S7A.5.2	Functionality Requirements for Meters in Type 1, 2, and 3 metering installations

S7A.5.2.1	Application

Clause S7A.5.2 applies to meters in type 1, 2 and 3 metering installations.

S7A.5.2.2	Applicable meter configurations

(a)	The configuration for a meter must be:

(1)	three phase Low Voltage CT connect (excluding supply contactor); or

(2)	three phase CT/VT.

(b)	Meters must meet the relevant requirements of AS 62052.11, AS 62053.22 and AS 62053.21, and any pattern approval requirements of the National Measurement Institute.

S7A.5.2.3	Metrology

Meters must comply with the following requirements:

(a)	three phase meters must be four quadrant meters and must be able to separately record active energy and reactive energy, import and export in recording intervals;

(b)	meters must record total accumulated energy for each recorded channel of interval data;

(c)	the resolution for collection of interval energy data must be at least 0.1 kWh for active energy and 0.1 kVArh for reactive energy;

(d)	meters must have a minimum storage of 35 days per channel of interval energy data;

(e)	all channels of interval energy data must be able to be read locally as well as remotely read;

(f)	it must be possible to remotely and locally select or configure whether import interval energy data is recorded or not;

(g)	it must be possible to remotely and locally select or configure whether reactive energy interval energy data is recorded from three phase meters or not.

S7A.5.3	Functionality Requirements for Meters in Type 4 metering installations

S7A.5.3.1 Application

Clause S7A.5.3 applies to meters in type 4 metering installations.

S7A.5.3.2 Applicable meter configurations

- The configuration for a meter must be:

- single phase, single element;

- single phase, two element;

- three phase direct connect; or

- three phase CT connect (excluding supply contactor).

- Meters must meet the relevant requirements of AS 62052.11, AS 62053.22 and AS 62053.21, and any pattern approval requirements of the National Measurement Institute.

S7A.5.3.3 Metrology

Meters must comply with the following requirements:

(a)	single phase meters must be two quadrant meters and must be able to separately record active energy for import and export in recording intervals;

(b)	three phase meters must be four quadrant meters and must be able to separately record active energy and reactive energy, import and export in recording intervals;

(c)	meters must record total accumulated energy data for each recorded channel of interval energy data;

(d)	the resolution for collection of interval energy data must be at least 0.1 kWh for active energy and 0.1 kVArh for reactive energy;

(e)	the resolution of energy consumption displayed on a meter’s display must be at least 0.1 kWh and 0.1 kVArh for direct connected meters;

(f)	meters must have a minimum storage of 200 days per channel of interval energy data;

(g)	all channels of interval energy data must be able to be read locally as well as by remote acquisition;

(h)	the values that must be recorded for import and export are the actual values at the connection point for direct connect meters;

(i)	it must be possible to remotely and locally select or configure whether import interval energy data is recorded or not;

(j)	it must be possible to remotely and locally select or configure whether reactive energy interval energy data is recorded from three phase meters or not.

Note:

Export is when energy is exported from the network to a customer and import is when the customer delivers energy into the network. See clause S7A5.1.2.

S7A.5.3.4 Remote and local reading of meters

- If a meter is remotely read:

  - the meter’s total accumulated energy data per collected channel must be able to be collected once every 24 hours; and

  - the interval energy data per collected channel must be able to be collected once every 24 hours.

- If a meter is locally read, the meter’s total accumulated energy per collected channel and the interval energy data per collected channel must be able to be collected.

- For individual reads of meters, it must be possible to select up to 35 days of interval energy data to be collected per channel.

S7A.5.3.5 Supply disconnection and reconnection

S7A.5.3.5.1 General requirements

- Meters excluding CT connected meters must have a supply contactor.

- Meters must support both local and remote disconnect, and local and remote reconnection of end-use customer supply via the supply contactor. When a meter performs a disconnection operation, all outgoing circuits from the meter must be disconnected.

- To confirm the current state of a meter, the meter must support “on-demand” remote polling of the meter to determine whether the supply contactor is open or closed.

- A meter must provide clear local visual indication of the status (open/closed) of the supply contactor.

S7A.5.3.5.2 Disconnection

(a)	A meter must support both local and remote end-use customer supply disconnection functionality.

Local disconnection

Note:

The circumstances in which local disconnection may occur include where:

(a)	a technician is already on-site performing works and it is most efficient for the technician to perform the disconnection; or

(b)	a meter that is capable of remote reading is installed; however the communications infrastructure has not been rolled out or has failed.

(b)	Local disconnection via the meter must only be able to be performed by an authorised technician. Unauthorised persons must be physically prevented from operating the supply contactor to disconnect supply.

(c)	A meter must support the following:

  - opening of the supply contactor performed locally;

  - remote communication of the status (open/closed) of the supply contactor (if communications are active) from the meter to the NMS;

  - event logging of the local disconnection at that meter.

Remote disconnection

(d)	A meter must support the following:

(1)	opening of the supply contactor performed remotely;

(2)	remote communication of the status (open/closed) of the supply contactor (if communications are active) from the meter to the NMS;

(3)	event logging of the remote disconnection at that meter.

S7A.5.3.5.3 Reconnection

(a)	A meter must support both local and remote end-use customer supply reconnection functionality.

Local reconnection

(b)	Reconnection via the meter must only be able to be performed locally by an authorised technician. Unauthorised persons must be physically prevented from operating the supply contactor to reconnect supply.

(c)	A meter must support the following:

  - closing of the supply contactor performed locally;

  - remote communication of the status (open/closed) of the supply contactor (if communications are active) from the meter to the NMS;

  - event logging of local reconnection at that meter.

Remote reconnection

(d)	A meter must support the following:

(1)	closing of the supply contactor performed remotely;

(2)	remote communication of the status (open/closed) of the supply contactor from the meter to the NMS; and

(3)	event logging of remote reconnection.

S7A.5.3.6	Time clock synchronisation

Date and time within meters must be maintained within 20 seconds of Australian Central Standard Time.

S7A.5.3.7 Quality of Supply and other event recording

(a)	A meter must support the recording of Quality of Supply (QoS) events and other events that occur at each meter as detailed as follows:

| ID | Events |
| --- | --- |
| 1 | Import energy detected |
| 2 | Supply contactor opened – local |
| 3 | Supply contactor opened – remote |
| 4 | Supply contactor closed – local |
| 5 | Supply contactor closed – remote |
| 6 | Undervoltage event |
| 7 | Overvoltage event |
| 8 | Tamper detected |
| 9 | Whenever there is a change of meter settings locally |

Undervoltage and overvoltage recording

(b)	A meter must support the recording of undervoltage and overvoltage events. The thresholds shall be remotely and locally settable for undervoltage in the range of at least -5% to -20% in 1% steps and for overvoltage in the range of at least +5% to +20% in 1% steps.

Tamper detection

(c)	A meter must support the detection and recording of an attempt to tamper with the meter as an event.

S7A.5.3.8 Tamper detection

A meter must support the detection and recording as an event attempts to tamper with the meter.

S7A.5.3.9 Communications and data security

All device elements must contain the necessary security to prevent unauthorised access or modification of data.

S7A.5.3.10 Remote firmware upgrades

Meters must have the capability for their firmware to be remotely upgraded. It must be possible to remotely change firmware without impacting the metrology functions of the meter.

S7A.5.3.11 Remote arming

Meters must have the capability to be remotely armed.

88	Clause 8.1.3 modified

After clause 8.1.3, heading

insert

Note

Clause 8.1.3(b)(5) and (7) has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

89	Chapter 8, Part B modified

After Chapter 8, Part B, heading

insert

Note

This Part has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of this Part will be revisited as part of the phased implementation of the Rules in this jurisdiction.

90	Clause 8.6.1 modified

After clause 8.6.1, heading

insert

Note

Clause 8.6.1(d) and (e) has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

91	Clause 8.6.2 modified

After clause 8.6.2, heading

insert

Note

Clause 8.6.2(l) has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

92	Clause 8.6.5 replaced

Clause 8.6.5

repeal, insert

- 8.6.5	Indemnity to AER and AEMC

Each Registered Participant must indemnify the AER and the AEMC against any claim, action, damage, loss, liability, expense or outgoing which the AER or the AEMC pays, suffers, incurs or is liable for in respect of any breach by that Registered Participant or any officer, agent or employee of that Registered Participant of this rule 8.6.

93	Clauses 8.6.6 and 8.6.7 modified

After clauses 8.6.6 and 8.6.7, headings

insert

Note

This clause has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

94	Clause 8.7.1 modified

(1)	Clause 8.7.1(b)(1)

omit

and AEMO

(2)	Clause 8.7.1(c)(3)

omit

, all Registered Participants and AEMO

insert

and all Registered Participants

95	Clause 8.7.2 modified

(1)	Clause 8.7.2, heading

omit, insert

8.7.2	Reporting requirements and monitoring standards for Registered Participants

Note

Clause 8.7.2(a)(2) and (4) and (b)(2) has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

(2)	Clause 8.7.2(a)(5)

omit

or AEMO

(3)	Clause 8.7.2(b)(1)

omit

, AEMO

(4)	Clause 8.7.2(b)(1)

omit

, (4)

(5)	Clause 8.7.2(c)

omit

AEMO and

(6)	Clause 8.7.2(e)

omit (all references)

and AEMO

(7)	Clause 8.7.2(f)

omit

all words from "neither" to "be)"

insert

a Registered Participant must not recklessly or knowingly provide, or permit any other person to provide on behalf of that Registered Participant

(8)	Clause 8.7.2(g)

omit

or AEMO

(9)	Clause 8.7.2(g) and (h)

omit

and/or AEMO (as the case may be)

(10)	Clause 8.7.2(g)

omit

and (to the extent relevant) AEMO

96	Clause 8.7.6 modified

After clause 8.7.6, heading

insert

Note

Clause 8.7.6 has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

97	Chapter 8, Parts E and G modified

After Chapter 8, Parts E and G, headings

insert

Note

This Part has no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

98	Chapter 8, Parts H modified

After Chapter 8, Part H, heading

insert

Note

This Part has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

99	Chapter 10 modified

(1)	Chapter 10, definitions accumulated energy data, accumulated metering data, application to connect, business day, calculated metering data, check meter, check metering data, check metering installation, Connection Applicant, connection point, control centre, Customer, customer authorised representative, day, Distribution Network Service Provider, distribution system, estimated metering data, facilities, financially responsible, Generator, interval energy data, interval metering data, Metering Coordinator, Metering Data Provider, metering data services, metering data services database, metering installation malfunction, Metering Provider, National Electricity Law, national grid, Network Service Provider, NMI, nominal voltage, nominated pass through event considerations, positive change event, power system, regulatory control period, remote acquisition, Rules, substituted metering data, telecommunications network, time, transmission network, Transmission Network Service Provider, transmission or distribution system and unmetered connection point

omit

(2)	Chapter 10

insert (in alphabetical order)

1st regulatory control period

In relation to a Network Service Provider in this jurisdiction, means the first period during which the provider will be or is subject to a control mechanism imposed by a distribution determination, being the period from 1 July 2019 to 30 June 2024.

2009-14 NT regulatory control period

The regulatory control period that commenced on 1 July 2009 under the NT Network Access Code.

2014-19 NT regulatory control period

The regulatory control period that commenced on 1 July 2014 under the NT Network Access Code.

2014 NT Ministerial Direction

The direction issued by the shareholding Minister of Power and Water Corporation ABN 15 947 352 360 to the board of the Corporation under section 8(4)(a) of the Government Owned Corporations Act (NT), dated 19 June 2014.

2014 NT Network Price Determination

The “2014 Network Price Determination” made by the Utilities Commission under the Utilities Commission Act (NT), Electricity Reform Act (NT) and Chapter 6 of the NT Network Access Code that:

(a)	applies, or applied, from 1 July 2014 to 30 June 2019; and

(b)	because of section 57 of the Electricity Networks (Third Party Access) Act (NT), is, or was, a network pricing determination made under section 6A(1) of that Act,

as amended, varied or substituted from time to time.

accumulated energy data

The data that results from the measurement of the flow of electricity in a power conductor where the data represents a period in excess of a recording interval. Accumulated energy data is held in the metering installation. The measurement is carried out at a metering point.

accumulated metering data

The accumulated energy data, once collected from a metering installation, is accumulated metering data. Accumulated metering data is held in a metering data services database.

application to connect

An application made by a Connection Applicant in accordance with Chapter 5, Part A for connection to a network and/or the provision of network services or modification of a connection to a network and/or the provision of network services.

Australian Central Standard Time (ACST)

The time that is set at 9 hours and 30 minutes in advance of Co-ordinated Universal Time.

business day

A day that is not:

(a)	a Saturday or Sunday; or

(b)	a public holiday as defined in section 17 of the Interpretation Act (NT) (other than a public holiday that is part of a day) in the City of Darwin.

calculated metering data

The recording interval data corresponding to the calculation of consumed energy for a type 7 metering installation in accordance with schedule 7A.3. Calculated metering data is held in the metering data services database.

check meter

An additional meter used as a source of check metering data for type 1 and 2 metering installations as specified in schedule 7A.1.

check metering data

The energy data, once collected from a check metering installation, is check metering data. Check metering data is held in a metering data services database.

check metering installation

A metering installation that includes a check meter which is used as the source of check metering data for data validation.

Connection Applicant

A:

(a)	Registered Participant;

(b)	person intending to become a Registered Participant; or

(c)	non-registered embedded generator who elects to seek connection of an embedded generating unit under Chapter 5 in accordance with clause 5A.A.2(c),

who wants to establish or modify a connection to a transmission network or distribution network and/or who wishes to receive network services and who makes an application to connect.

Note:

In the context of Chapter 5A, the above definition has been displaced by a definition specifically applicable to that Chapter. See clause 5A.A.1.

connection point

The agreed point of supply established between Network Service Provider(s) and another Registered Participant, Non-Registered Customer or franchise customer.

control centre

The facilities used by a Network Service Provider for managing the power system.

Customer

A person who:

(a)	under Part 3 of the Electricity Reform Act (NT), holds a licence authorising the selling of electricity; but

(b)	does not hold a licence authorising the ownership or operation of an electricity network under that Part.

customer authorised representative

A person authorised by a retail customer to request and receive information under Chapter 7A on the retail customer’s behalf.

day

Unless otherwise specified, the 24 hour period beginning and ending at midnight Australian Central Standard Time.

Distribution Network Service Provider

A person who:

(a)	engages in the activity of owning, controlling, or operating a distribution system; and

(b)	under Part 3 of the Electricity Reform Act (NT), holds a licence authorising the ownership or operation of an electricity network.

distribution system

Means:

(a)	a distribution network, together with the connection assets associated with the distribution network, which is connected to another transmission or distribution system within the other participating jurisdictions; or

(b)	a distribution network that forms part or all of a local electricity system, together with the connection assets associated with the distribution network.

Connection assets on their own do not constitute a distribution system.

estimated metering data

The estimated values of accumulated metering data, interval metering data or calculated metering data that have been prepared in accordance with schedule 7A.3. Estimated metering data is held in a metering data services database.

facilities

A generic term associated with the apparatus, equipment, buildings and necessary associated supporting resources provided at, typically:

(a)	a power station or generating unit;

(b)	a substation or power station switchyard;

(c)	a control centre;

(d)	facilities providing an exit service.

financially responsible

In relation to a connection point, a term which is used to describe the person authorised to have either:

1.	the load connected at that connection point; or

2.	the generating unit connected at that connection point.

Note:

The obligations on Customers (including retailers) and Generators in relation to the authorisation of, respectively, load or generating units connected at a connection point will be considered as part of the phased implementation of the Rules in this jurisdiction.

Generator

A person who:

(a)	engages in the activity of owning, controlling or operating a generating system that is connected to, or who otherwise supplies electricity to, a transmission or distribution system; and

(b)	is a Registered Participant who, under Part 3 of the Electricity Reform Act (NT), holds a licence authorising the generation of electricity.

interval energy data

The data that results from the measurement of the flow of electricity in a power conductor where the data is prepared and recorded by the metering installation in intervals which correspond to a recording interval or are submultiples of a recording interval. Interval energy data is held in the metering installation.

interval meter

A meter that records interval energy data.

interval metering data

The interval energy data, once collected from a metering installation, is interval metering data. Interval metering data is held in a metering data services database.

Metering Coordinator

A person appointed to the role of Metering Coordinator in this jurisdiction.

Metering Data Provider

A person appointed to be a Metering Data Provider for a connection point.

metering data services

The services that involve the collection, processing, storage and delivery of metering data and the management of relevant NT NMI data in accordance with the Rules.

metering data services database

The database established and maintained by the Metering Data Provider that holds metering data and NT NMI data relating to each metering installation for which the Metering Coordinator has appointed the Metering Data Provider to provide metering data services.

metering installation malfunction

The full or partial failure of the metering installation in which the metering installation does not:

(a)	meet the requirements of schedule 7A.1;

(b)	record, or incorrectly records, energy data; or

(c)	allow, or provide for, collection of energy data.

Metering Provider

A person appointed to be a Metering Provider for a connection point.

National Electricity Law

The National Electricity (NT) Law.

national grid

The sum of:

(a)	all connected transmission systems and distribution systems within the other participating jurisdictions; and

(b)	the transmission systems and distribution systems in this jurisdiction.

Network Service Provider

A Distribution Network Service Provider or Transmission Network Service Provider.

NMI

A National Metering Identifier issued by the relevant Network Service Provider.

nominal voltage

The design voltage level, nominated for a particular location on the power system, such that power lines and circuits that are electrically connected other than through transformers have the same nominal voltage regardless of operating voltage.

nominated pass through event considerations

The nominated pass through event considerations are:

(a)	whether the event proposed is an event covered by a category of pass through event specified in clause 6.6.1(a1)(1AA) to (4) (in the case of a distribution determination) or clause 6A.7.3(a1)(1) to (4) (in the case of a transmission determination);

(b)	whether the nature or type of event can be clearly identified at the time the determination is made for the service provider;

(c)	whether a prudent service provider could reasonably prevent an event of that nature or type from occurring or substantially mitigate the cost impact of such an event;

(d)	whether the relevant service provider could insure against the event, having regard to:

(1)	the availability (including the extent of availability in terms of liability limits) of insurance against the event on reasonable commercial terms; or

(2)	whether the event can be self-insured on the basis that:

(i)	it is possible to calculate the self-insurance premium; and

(ii)	the potential cost to the relevant service provider would not have a significant impact on the service provider’s ability to provide network services; and

(e)	any other matter the AER considers relevant and which the AER has notified Network Service Providers is a nominated pass through event consideration.

NT equivalent services

Regulated network access services (as defined in clause 3 of the NT Network Access Code) that are designated as direct control services in Table 3.1 of Part A of the 2014 NT Network Price Determination.

NT Network Access Code

The Network Access Code as defined in section 2A(1) of the Electricity Networks (Third Party Access) Act (NT).

NT NMI data

The following data in respect of a connection point:

(a)	the NMI of the connection point and the street address of the relevant connection point to which that NMI is referable;

(b)	the NMI checksum for the connection point;

(c)	the identity of the relevant Network Service Provider;

(d)	the relevant distribution loss factor applicable to the connection point;

(e)	the Network Tariff (identified by a code) applicable in respect of the connection point;

(f)	the read cycle date, or date of next scheduled read or date in a relevant code representing the read cycle date or date of next scheduled read, for that connection point,

and, to avoid doubt, does not include any metering data or other details of an end-user’s consumption at that connection point.

positive change event

For a Distribution Network Service Provider, a pass through event which entails the Distribution Network Service Provider incurring materially higher costs in providing direct control services than it would have incurred but for that event, but does not include a contingent project or an associated trigger event.

For a Transmission Network Service Provider, a pass through event which entails the Transmission Network Service Provider incurring materially higher costs in providing prescribed transmission services than it would have incurred but for that event, but does not include a contingent project or an associated trigger event.

power system

The electricity power system of the national grid including associated generation and transmission and distribution networks for the supply of electricity, operated as an integrated arrangement or arrangements.

recording interval

A 30 minute period ending on the hour (Australian Central Standard Time) or on the half-hour and, if identified by a time, means the 30 minute period ending at that time.

regulatory control period

In respect of a Network Service Provider, a period of not less than 5 regulatory years for which the provider is subject to a control mechanism imposed by a distribution determination.

remote acquisition

The acquisition of interval metering data from a telecommunications network connected to a metering installation that:

(a)	does not, at any time, require the presence of a person at, or near, the interval metering installation for the purposes of data collection or data verification (whether this occurs manually as a walk-by reading or through the use of a vehicle as a close proximity drive-by reading); and

(b)	includes but is not limited to methods that transmit data via:

(1)	fixed-line telephone (‘direct dial-up’);

(2)	satellite;

(3)	the internet;

(4)	wireless or radio, including mobile telephone networks;

(5)	power line carrier; or

(6)	any other equivalent technology.

Rules

The National Electricity Rules as defined in section 2(1) of the National Electricity Law.

substituted metering data

The substituted values of accumulated metering data, interval metering data or calculated metering data prepared in accordance with schedule 7A.3. Substituted metering data is held in a metering data services database.

telecommunications network

A telecommunications network that provides access for public use.

time

Australian Central Standard Time.

transmission network

Means:

(a)	a network in this jurisdiction operating at nominal voltages of 66kV and above; or

(b)	a network or part of a network prescribed by local instrument to be a transmission network or part of a transmission network,

but does not include a network or part of a network prescribed by local instrument not to be a transmission network or part of a transmission network.

Note:

The National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations are a local instrument.

Transmission Network Service Provider

A person who:

(a)	engages in the activity of owning, controlling or operating a transmission system; and

(b)	under Part 3 of the Electricity Reform Act (NT), holds a licence authorising the ownership or operation of an electricity network.

transmission or distribution system

A transmission system or a distribution system.

unmetered connection point

A connection point at which a meter is not necessary under schedule 7A.1.

Utilities Commission

The Utilities Commission of the Northern Territory established by section 5 of the Utilities Commission Act (NT).

(3)	Chapter 10, definition applicable regulatory instruments, at the end

insert

(6A)	Northern Territory:

(a)	the Electricity Reform Act (NT);

(b)	all instruments made and licences granted under the Electricity Reform Act (NT);

(c)	the Utilities Commission Act (NT); and

(d)	all instruments made under the Utilities Commission Act (NT).

(4)	Chapter 10, definition franchise customer, at the end

insert

Note:

There are no franchise customers in this jurisdiction.

100	Chapter 10 modified (expires on 1 July 2019)

Chapter 10, definition Registered Participant

omit, insert

Registered Participant

A Registered participant as defined in the National Electricity Law.

101	Chapter 10 modified (expires on 1 July 2024)

(1)	Chapter 10, definitions approved pass through amount, negative pass through amount and positive pass through amount

omit

(2)	Chapter 10

insert (in alphabetical order)

approved pass through amount

In respect of a positive change event for a Transmission Network Service Provider:

(a)	the amount which the AER determines should be passed through to Transmission Network Users under clause 6A.7.3(d)(2); or

(b)	the amount which the AER is taken to have determined under clause 6A.7.3(e)(1),

as the case may be.

In respect of a positive change event or NT positive change event for a Distribution Network Service Provider:

(a)	the amount the AER determines should be passed through to Distribution Network Users under clause 6.6.1(d)(2) or 6.6.1AB(d)(2); or

(b)	the amount the AER is taken to have determined under clause 6.6.1(e)(1) or 6.6.1AB(e)(1),

as the case may be.

Note:

The modification to this definition expires on 1 July 2024.

negative pass through amount

In respect of a negative change event for a Transmission Network Service Provider, an amount that is not greater than a required pass through amount as determined by the AER under clause 6A.7.3(g).

In respect of a negative change event or NT negative change event for a Distribution Network Service Provider, an amount that is not greater than a required pass through amount as determined by the AER under clause 6.6.1(g) or 6.6.1AB(g).

Note:

The modification to this definition expires on 1 July 2024.

NT negative change event

A negative change event (as defined in Part B of the 2014 NT Network Price Determination) for a Distribution Network Service Provider:

(a)	that occurred during the 2014-19 NT regulatory control period; and

(b)	in relation to which, on or before 30 June 2019, a determination had not been made under clause 3.1.5(a) of Part B of the 2014 NT Network Price Determination and the time for making it had not expired.

Note:

This definition expires on 1 July 2024.

NT positive change event

A positive change event (as defined in Part B of the 2014 NT Network Price Determination) for a Distribution Network Service Provider:

(a)	that occurred during the 2014-19 NT regulatory control period; and

(b)	in relation to which, on or before 30 June 2019, either:

(i)	a statement had not been submitted under clause 3.1.2 of Part B of the 2014 NT Network Price Determination and the time fixed for submitting it had not expired; or

(ii)	a statement had been submitted under clause 3.1.2 of Part B of the 2014 NT Network Price Determination but a determination had not been made under clause 3.1.3(a) of Part B of the Determination and the time for making it had not expired.

Note:

This definition expires on 1 July 2024.

positive pass through amount

For a Transmission Network Service Provider, an amount (not exceeding the eligible pass through amount) proposed by the provider under clause 6A.7.3(c).

For a Distribution Network Service Provider, an amount (not exceeding the eligible pass through amount) proposed by the provider under clause 6.6.1(c) or 6.6.1AB(c).

Note:

The modification to this definition expires on 1 July 2024.

(3)	Chapter 10, definition eligible pass through amount, at the end

insert

In respect of an NT positive change event for a Distribution Network Service Provider, the increase in costs in the provision of direct control services or NT equivalent services that, as a result of that NT positive change event, the Distribution Network Service Provider has incurred and is likely to incur (as opposed to the revenue impact of that event) until the end of the 1st regulatory control period.

Note:

The modification to this definition expires on 1 July 2024.

(4)	Chapter 10, definition required pass through amount, at the end

insert

In respect of an NT negative change event for a Distribution Network Service Provider, the costs in the provision of direct control services or NT equivalent services that, as a result of the NT negative change event, the Distribution Network Service Provider has saved and is likely to save (as opposed to the revenue impact of that event) until the end of the 1st regulatory control period.

Note:

The modification to this definition expires on 1 July 2024.

102	Chapter 10 modified (expires on 1 July 2029)

Chapter 10

insert (in alphabetical order)

2nd regulatory control period

In relation to a Network Service Provider in this jurisdiction, means the second period during which the provider will be or is subject to a control mechanism imposed by a distribution determination, being the period from 1 July 2024 to 30 June 2029.

Note:

This definition expires on 1 July 2029.

103	Chapter 10 modified (expires when NERL is applied)

Chapter 10, definition energy laws

omit, insert

energy laws

Means:

(a)	the national electricity legislation as defined in the National Electricity Law;

(b)	these Rules and instruments made under these Rules;

(c)	the national gas legislation as defined in the National Gas (NT) Law;

(d)	the National Gas Rules as defined in the National Gas (NT) Law and instruments made under those Rules; and

(e)	any other Northern Territory legislation that regulates energy.

Note:

The modifications to this definition expire when the National Energy Retail Law is applied as a law of this jurisdiction.

104	Chapter 11 modified

After Chapter 11, heading

insert

Note:

Parts A to ZZI, ZZK, ZZL, ZZN (except for clause 11.86.8), ZZO to ZZT, ZZV and ZZX have no effect in this jurisdiction (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of those Parts may be revisited as part of the phased implementation of the Rules in this jurisdiction.

105	Clause 11.93.1 modified

Clause 11.93.1, definition subsequent regulatory control period

omit, insert

subsequent regulatory control period of:

(a)	Power and Water Corporation – means the 1st regulatory control period; or

(b)	another affected DNSP or affected TNSP – means the regulatory control period for that affected DNSP or affected TNSP that immediately follows the current regulatory control period.

106	Chapter 11A inserted

After Chapter 11

insert

- 11A.	NT Savings and Transitional Rules

- Part A	Savings and transitional rules for Chapter 5

Note

Part A of this Chapter has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

- 11A.1	Distribution Annual Planning Report

A Distribution Network Service Provider is not required to include in its first Distribution Annual Planning Report published under clause 5.13.2 the information specified in clause S5.8(a)(5) if information on energy and demand forecasts was not required to be reported by the Distribution Network Service Provider under jurisdictional electricity legislation applicable at the time the previous report was prepared.

- Part B	Savings and transitional rules for Chapter 5A

Note

Part B of this Chapter has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).

- 11A.2	Model standing offers

- 11A.2.1	Definitions

In this Rule:

NT distributor means Power and Water Corporation ABN 15 947 352 360.

relevant provisions means Chapter 5A and Chapter 6, Part DA.

transition date means the date on which the transition period ends.

transition period means the period from the commencement of the 1st regulatory control period (being 1 July 2019) to 30 June 2020.

- 11A.2.2	Extended meaning of some terms

During the transition period:

(a)	a basic connection service includes not only a connection service for which a model standing offer has been approved by the AER (see paragraph (c) of the definition in clause 5A.A.1) but also one for which the AER’s approval of a model standing offer is not required;

(b)	a standard connection service includes not only a connection service for which a model standing offer has been approved by the AER (see the definition in clause 5A.A.1) but also one for which the AER’s approval of a model standing offer is not required; and

(c)	a model standing offer includes a document prepared and published by the NT distributor, without the AER’s approval, as a model standing offer to have effect during the transition period (but not beyond the end of that period).

- 11A.2.3	Transitional operation of relevant provisions

(a)	During the transition period, the relevant provisions operate subject to the exclusions, qualifications and modifications prescribed by this Rule.

(b)	However, the relevant provisions operate without the exclusions, qualifications and modifications prescribed by this Rule insofar as they relate to:

(1)	a period beyond the transition period; or

(2)	a person (such as a new entrant to the industry) that is not the NT distributor.

Example

If the NT distributor submits a regulatory proposal for the regulatory control period that follows the transition period, the distributor is bound by the relevant provisions (without exclusion, qualification or modification) in relation to the regulatory proposal even though the proposal is submitted during the transition period.

(c)	A transaction commenced by or with the NT distributor during the transition period may be continued and completed after the transition period without regard to changes to the rules governing the transaction that take effect at the end of the transition period.

- 11A.2.4	Exclusions, qualifications and modifications

During the transition period, the relevant provisions apply to, and in relation to, the NT distributor subject to the following exclusions, qualifications and modifications:

Model standing offers (basic connection services)

(a)	A document, prepared by the NT distributor and published on the NT distributor’s website, will (although not approved by the AER) be regarded as a model standing offer to provide basic connection services during the transition period if it complies with the requirements of clause 5A.B.2(b) as to its terms and conditions.

(b)	If, during the transition period, the AER approves a model standing offer for the same basic connection services, the approved model standing offer supersedes the former model standing offer under this clause.

(c)	The NT distributor’s obligation to have a model standing offer to provide basic connection services (clause 5A.B.1) operates during the transition period but the AER’s approval of the model standing offer is not required until the transition date.

(d)	The NT distributor’s obligation to submit for the AER’s approval a proposed model standing offer to provide basic connection services (clause 5A.B.2(a)) does not arise until 31 December 2019.

Model standing offer (standard connection services)

(e)	A document, prepared by the NT distributor and published on the NT distributor’s website, will (although not approved by the AER) be regarded as a model standing offer to provide standard connection services during the transition period if it complies with the requirements of clause 5A.B.4(c) as to its terms and conditions.

(f)	If, during the transition period, the AER approves a model standing offer for the same standard connection services, and the approved model standing offer is to take effect before the end of the transition period, the approved model standing offer supersedes the former model standing offer.

(g)	The NT distributor may submit for the AER’s approval a model standing offer to provide standard connection services (clause 5A.B.4) during the transition period but the AER’s approval of the standing offer is not required until the transition date.

Amendment of standing offers

(h)	During the transition period, the NT distributor may amend a standing offer to provide basic connection services or standard connection services during the transition period by publishing the amendments and the amended text on its website. (This paragraph applies during the transition period to the exclusion of clause 5A.B.6.)

- 11A.2.5	References

A reference to any of the relevant provisions in a legislative or other instrument will be construed, during the transition period, as a reference to the provision as modified by this Rule.

- Part C	Savings and transitional rules for Chapter 7A

Note

Part C of this Chapter has no effect in this jurisdiction until 1 July 2019 (see regulation 5A of the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations).  The application of Part C will be revisited as part of the phased implementation of the Rules in this jurisdiction.

- 11A.3	Existing metering installations

(a)	This rule applies in relation to a metering installation installed at a connection point on a transmission network or distribution network in this jurisdiction that is in service immediately before 1 July 2019.

(b)	The following requirements must be complied with in relation to the metering installation:

(1)	the requirements imposed on a metering installation at a connection point on a distribution network or transmission network in this jurisdiction by, under or for the purposes of a law of this jurisdiction that is in force immediately before 1 July 2019 (the NT requirements); and

(2)	the requirements imposed in respect of the metering installation by the Rules.

(c)	The requirements imposed in respect of the metering installation by the following provisions are taken to be complied with:

(1)	clause 7A.6.2(a);

(2)	clause 7A.6.3(a);

(3)	clause 7A.6.4, other than paragraph (b);

(4)	clause 7A.6.5;

(5)	schedule 7A.1, other than clause S7A.1.3;

(6)	clause S7A.3.2.2;

(7) 	schedule 7A.5.

(d)	For the purposes of the operation of Chapter 7A in respect of the metering installation, a reference in:

(1)	clause 7A.7.2 to “the technical requirements”;

(2)	clause 7A.7.3 to “requirements of the Rules”;

(3)	clause 7A.7.4 to “schedule 7A.1” or “relevant accuracy requirement”;

(4)	clause 7A.8.7 to “schedule 7A.1”;

(5)	clause S7A.3.2.2(c) to “requirements of the Rules”; and

(6)	Chapter 10, definition metering installation malfunction, to “the requirements of schedule 7A.1”,

must be regarded as a reference to “the NT requirements”.

(e)	If the metering installation is replaced on or after 1 July 2019, paragraphs (b) to (d) no longer apply in respect of the metering installation.

Schedule 3	Further modifications to operation of National Electricity Rules commencing on 1 December 2017

regulation 9

1	Rules modified

This Schedule modifies the operation of the National Electricity Rules with effect on and from 1 December 2017.

2	Clause 8.6.1A replaced

Clause 8.6.1A

repeal, insert

- 8.6.1A	Application

- For the purposes of this Part only, “Registered Participant” is deemed to include not just Registered Participants but also Metering Providers and Metering Data Providers.

3	Chapter 10 modified

Chapter 10, definition retail customer

omit, insert

retail customer

Has the same meaning as in the National Electricity Law.

Otherwise, a person to whom electricity is sold by a retailer, and supplied in respect of connection points, for the premises of the person, and includes a person (or a person who is of a class of persons) prescribed by these Rules for the purposes of this definition.

Note:

In the context of Chapter 5A, the above definition has been supplemented by a definition specifically applicable to that Chapter. See clause 5A.A.1.

Schedule 4	Further modifications to operation of National Electricity Rules commencing on 1 July 2019

regulation 9A

1	Rules modified

This Schedule modifies the operation of the National Electricity Rules with effect on and from 1 July 2019.

2	Chapter 10 modified

Chapter 10, definition Registered Participant

omit, insert

Registered Participant

Each of the following:

(a)	a Registered participant as defined in the National Electricity Law;

(b)	for the purposes of the Rules, other than Chapter 5, Part A – a Metering Coordinator;

(c)	as set out in clause 8.6.1A, for the purposes of Chapter 8, Part C – a Metering Provider or Metering Data Provider.

ENDNOTES

1	KEY

Key to abbreviations

amd = amended 				od = order

app = appendix				om = omitted

bl = by-law					pt = Part

ch = Chapter					r = regulation/rule

cl = clause					rem = remainder

div = Division					renum = renumbered

exp = expires/expired				rep = repealed

f = forms					s = section

Gaz = Gazette					sch = Schedule

hdg = heading					sdiv = Subdivision

ins = inserted					SL = Subordinate Legislation

lt = long title					sub = substituted

nc = not commenced

2	LIST OF LEGISLATION

| National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations 2016 (SL No. 17, 2016) |  |
| --- | --- |
| Notified | 27 April 2016 |
| Commenced | r 9 and sch 3: 1 December 2016; rem:1 July 2016 (r 2) |
| National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Amendment Regulations 2017 (SL No. 17, 2017) |  |
| Notified | 29 June 2017 |
| Commenced | 1 July 2017 (r 2) |

3	LIST OF AMENDMENTS

r 2A	ins No. 17, 2017, r 4

r 4	amd No. 17, 2017, r 5

r 5A	ins No. 17, 2017, r 6

r 6	amd No. 17, 2017, r 7

r 6A	ins No. 17, 2017, r 8

r 9	sub No. 17, 2017, r 9

r 9A	ins No. 17, 2017, r 9

pt 4 hdg 	amd No. 17, 2017, r 10

r 10A	ins No. 17, 2017, r 11

r 11	sub No. 17, 2017, r 12

Sch 1	amd No. 17, 2017, r 13

Sch 2	amd No. 17, 2016, r 11(6); No. 17, 2017, r 14

Sch 3	sub No. 17, 2017, r 15

Sch 4	ins No. 17, 2017, r 15