Serial 50
Electrical Safety Amendment Bill 2026
Ms Boothby
A Bill for an Act to amend the Electrical Safety Act 2022
NORTHERN TERRITORY OF AUSTRALIA
Electrical Safety AMENDMENT ACT 2026
____________________

Act No. [   ] of 2026
____________________

Table of provisions
11
Short title

2
Commencement
1
3
Act amended
1
4
Section 42 amended (Exemption from certificate of compliance requirements)
1
5
Repeal of Act
2


[image: image1.wmf]
NORTHERN TERRITORY OF AUSTRALIA
____________________

Act No. [   ] of 2026
____________________

An Act to amend the Electrical Safety Act 2022
[Assented to [   ] 2026]

[Introduced [   ] 2026]

The Legislative Assembly of the Northern Territory enacts as follows:

1 Short title

This Act may be cited as the Electrical Safety Amendment Act 2026.
2 Commencement

This Act commences on the day after the day on which the Administrator's assent to this Act is declared.

3 Act amended

This Act amends the Electrical Safety Act 2022.
4 Section 42 amended (Exemption from certificate of compliance requirements)

(1)
After section 42(1)(b)
insert

(ba)
electrical work that consists of the replacement of an existing electrical fitting or appliance with a similar electrical fitting or appliance, at the same location, that does not materially differ in function to, or draw higher electrical load than, the existing electrical fitting or appliance;
(2)
Section 42(1), at the end
insert

Example for subsection (1)(ba)

A material difference in function for an electrical fitting or appliance would include a need to install an additional conductor or circuit protector, but would not include a need to cut or strip an existing wire to connect the new fitting or appliance to the electrical installation.
5 Repeal of Act

This Act is repealed on the day after it commences.

1

