NORTHERN TERRITORY OF AUSTRALIA

National Electricity (Northern Territory) (National Uniform Legislation) (Modification) AMENDMENT REGULATIONS 2024

_____________________________

Subordinate Legislation No. 12 of 2024

_____________________________

Table of provisions

1	Title	2

2	Commencement	2

3	Regulations amended	2

4	Schedule 2, clause 87 amended	2

7A.4.1 	Metering Providers

7A.4.2 	Metering Data Providers

5	Schedule 2, clause 106 amended	4

6	Repeal of Regulations	4

NORTHERN TERRITORY OF AUSTRALIA

_____________________________

Subordinate Legislation No. 12 of 2024

_____________________________

National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Amendment Regulations 2024

I, Hugh Crosby Heggie, Administrator of the Northern Territory of Australia, acting with the advice of the Executive Council, make the following regulations under the National Electricity (Northern Territory) (National Uniform Legislation) Act 2015.

Responsible Minister:

K. J. WORDEN

Minister for Renewables and Energy

H. C. HEGGIE

Administrator

Date of making: 27 June 2024

- Title

These Regulations may be cited as the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Amendment Regulations 2024.

- Commencement

These Regulations commence on the day after the day on which they are made.

- Regulations amended

These Regulations amend the National Electricity (Northern Territory) (National Uniform Legislation) (Modification) Regulations 2016.

- Schedule 2, clause 87 amended

(1)	Schedule 2, clause 87, inserted clause 7A.1.3, definition MDFF Specification

omit, insert

MDFF Specification means:

(a)	the Metering Data File Format Specification published by NTESMO in a communication guideline under clause S7A.1.3; or

(b)	if no Metering Data File Format Specification is published by NTESMO – the Metering Data File Format Specification NEM 12 and NEM 13, published by AEMO, with an effective date of 1 May 2022 (version 2.5).

(2)	Schedule 2, clause 87, inserted rules 7A.4.1 and 7A.4.2

omit, insert

7A.4.1 	Metering Providers

(a)	A Metering Provider must have an ISO 9000 series quality system in place.

(b)	For a connection point in respect of which a type 1, 2 or 3 metering installation is installed, or is required to be installed under this Chapter:

(1)	the Local Network Service Provider is taken to be accredited to provide metering provision services in this jurisdiction (including the services mentioned in the schedules in respect of which a Metering Provider requires accreditation); and

(2)	the Metering Coordinator at the connection point is taken to have appointed the Local Network Service Provider as the Metering Provider for the connection point.

(c)	For a connection point in respect of which a type 4, 4A, 5 or 6 metering installation is installed, or is required to be installed under this Chapter:

(1)	the Local Network Service Provider is taken to be accredited to provide metering provision services in this jurisdiction (including the services mentioned in the schedules in respect of which a Metering Provider requires accreditation); and

(2)	the Metering Coordinator at the connection point is taken to have appointed the Local Network Service Provider as the Metering Provider for the connection point.

(d)	A Metering Provider may, in providing metering provision services under this Chapter, contract with another person to assist it in the provision of those services, if that person meets all relevant safety and technical requirements in any applicable regulatory instruments or other relevant law.

7A.4.2 	Metering Data Providers

(a)	A Metering Data Provider must have an ISO 9000 series quality system in place.

(b)	For a connection point in respect of which a type 1, 2 or 3 metering installation is installed, or is required to be installed under this Chapter:

(1)	the Local Network Service Provider is taken to be accredited to provide metering data services in this jurisdiction (including the services mentioned in the schedules in respect of which a Metering Data Provider requires accreditation); and

(2)	the Metering Coordinator at the connection point is taken to have appointed the Local Network Service Provider as the Metering Data Provider for the connection point.

(c)	For a connection point in respect of which a type 4, 4A, 5, 6 or 7 metering installation is installed, or is required to be installed under this Chapter:

(1)	the Local Network Service Provider is taken to be accredited to provide metering data services in this jurisdiction (including the services mentioned in the schedules in respect of which a Metering Data Provider requires accreditation); and

(2)	the Metering Coordinator at the connection point is taken to have appointed the Local Network Service Provider as the Metering Data Provider for the connection point.

(d)	A Metering Data Provider may, in providing metering data services under this Chapter, contract with another person to assist it in the provision of those services, if that person meets all relevant safety and technical requirements in any applicable regulatory instrument or other relevant law.

(3)	Schedule 2, clause 87, inserted rule 7A.5(a) and note

omit

(4)	Schedule 2, clause 87, inserted clause 7A.10.2(b)

omit

- Schedule 2, clause 106 amended

(1)	Schedule 2, clause 106, inserted rule 11A.5(1)(a)

omit (all references)

1 January 2024

insert

31 March 2025

(2)	Schedule 2, clause 106, after inserted rule 11A.5(3)

insert

(4)	For the transitional period, if information about a metering installation is included in the metering register, then the metering installation is to be taken, for the purposes of Chapter 7A, to be registered with NTESMO.

- Repeal of Regulations

These Regulations are repealed on the day after they commence.