
NORTHERN TERRITORY OF AUSTRALIA
Electrical Safety AMENDMENT REGULATIONS 2026
_____________________________

Subordinate Legislation No. 13 of 2026
_____________________________

Table of provisions
21
Title

2
Commencement
2
3
Regulations amended
2
4
Regulation 3 amended (Definitions)
2
5
Part 8 replaced
2
Part 8
Approved safety switches
191
Performing electrical installation work for domestic residences and residential premises
6
Schedule 6 replaced (Infringement notice penalties)
3
Schedule 6
Infringement notice penalties
7
Repeal of Regulations
7


[image: image1.wmf]
NORTHERN TERRITORY OF AUSTRALIA
_____________________________

Subordinate Legislation No. 13 of 2026
_____________________________

Electrical Safety Amendment Regulations 2026
I, David Robert Connolly, Administrator of the Northern Territory of Australia, acting with the advice of the Executive Council, make the following regulations under the Electrical Safety Act 2022.

Responsible Minister:

M-C. J. BOOTHBY
Attorney-General
D. R. CONNOLLY
Administrator

Date of making: 27 May 2026
1 Title
These Regulations may be cited as the Electrical Safety Amendment Regulations 2026.

2 Commencement

These Regulations commence on the day after the day on which they are made.

3 Regulations amended

These Regulations amend the Electrical Safety Regulations 2024.

4 Regulation 3 amended (Definitions)

Regulation 3
insert

approved safety switch means a residual current device with or without integral overcurrent protection that is certified and registered in the Electrical Equipment Safety System (EESS) framework.
5 Part 8 replaced
Part 8

repeal, insert

Part 8
Approved safety switches
191
Performing electrical installation work for domestic residences and residential premises


(1)
This regulation applies in relation to electrical work on an electrical installation in a domestic residence or residential premises that occurs on or after 1 December 2028.


(2)
A person must not perform electrical work on the electrical installation unless:

(a)
an approved safety switch is installed; or

(b)
if an approved safety switch is not installed:

(i)
the work consists of the connection of the residence or premises to a source of electricity; or

(ii)
the work must be performed without delay because of an emergency, to prevent an emergency from happening or for safety reasons.


(3)
A person commits an offence of strict liability if the person contravenes subregulation (2).

Maximum penalty:
50 penalty units.

6 Schedule 6 replaced (Infringement notice penalties)

Schedule 6

repeal, insert
Schedule 6
Infringement notice penalties

regulation 201

	Item
	Provision
	Infringement 
amount

	
	Electricity Safety Act 2022
	

	1
	section 45(1)
	64 penalty units for an individual, other than as a person conducting a business or undertaking or as an officer of a person conducting a business or undertaking

130 penalty units for an individual as a person conducting a business or undertaking or as an officer of a person conducting a business or undertaking

640 penalty units for a body corporate

	2
	section 47(1) and (2)
	20 penalty units

	3
	section 48(1)
	10 penalty units

	4
	section 48(2)
	20 penalty units

	5
	section 60(2)
	80 penalty units

	6
	sections 65(1), 66(1) and 67(1) and (3)
	100 penalty units

	7
	sections 68(1) and (2), 71(2) and (5), 73(2) and 74(2)
	10 penalty units

	8
	sections 75(2) and 76(2)
	20 penalty units

	9
	section 76(3)
	10 penalty units

	10
	section 82(1), (2) and (3)
	400 penalty units for a body corporate

	11
	section 84(2) and (3)
	20 penalty units

	12
	section 85(1)
	40 penalty units

	13
	section 85(2) and (3)
	20 penalty units

	14
	section 86(1)
	40 penalty units

	15
	section 86(3)
	10 penalty units

	16
	section 86(4)
	20 penalty units

	17
	sections 87(2) and 88(2)
	40 penalty units

	18
	sections 89(6) and 91(4)
	20 penalty units

	19
	section 94(1)
	10 penalty units

	20
	section 94(4)
	5 penalty units

	21
	section 100(1)
	10 penalty units

	22
	sections 161(6), 168(4) and (7) and 169(5)
	20 penalty units

	23
	section 171(4)
	10 penalty units

	24
	sections 180(1) and 181
	20 penalty units

	25
	sections 182(1) and (2) and 183(1)
	40 penalty units

	26
	section 187(2)
	20 penalty units

	27
	section 190(2)
	50 penalty units

	28
	section 197(2)
	100 penalty units

	29
	section 198(6)
	200 penalty units

	30
	sections 201(2) and 202(2)
	100 penalty units

	31
	section 203(3)
	10 penalty units

	32
	section 205(3)
	100 penalty units

	33
	section 211(3)
	10 penalty units

	34
	section 211(5)
	20 penalty units

	
	Electrical Safety Regulations 2024
	

	35
	regulations 12(5), 13(2), 41(4) and 46(3)
	10 penalty units

	36
	regulation 49(2)
	1 penalty unit

	37
	regulation 50(3)
	4 penalty units

	38
	regulations 58(1) and 63(2)
	10 penalty units

	39
	regulation 64(3)
	4 penalty units

	40
	regulations 67(2) and 68(2)
	10 penalty units

	41
	regulation 69(5)
	3 penalty units

	42
	regulations 70(6), 71(2), 73(3), 74(2), 75(2), 76(3), 77(5), 78(2), 79(2), 80(5), 81(3), 85(2), 86(3), 87(2), 90(2), 91(2), 92(5), 93(2), 94(5), 95(2), 96(2) and 98(3)
	10 penalty units

	43
	regulation 99(3)
	20 penalty units

	44
	regulations 100(3), 101(3), 102(2), 103(3), 104(3), 105(2), 106(2) and 108(3) 
	10 penalty units

	45
	regulations 109(2), 110(7), 111(4), 112(6), 113(5) and 115(3)
	3 penalty units

	46
	regulation 116(6)
	10 penalty units

	47
	regulations 117(6) and 118(5)
	3 penalty units

	48
	regulations 119(2), 120(7), 121(2), 122(5), 123(2), 124(3), 125(2), 127(2) and 129(1)
	10 penalty units

	49
	regulations 130(2) and 131(2)
	3 penalty units

	50
	regulation 132(2)
	10 penalty units

	51
	regulation 133(2)
	4 penalty units

	52
	regulations 134(2), 135(3), 136(3), 137(4), 138(5), 139(2) and 140(2)
	10 penalty units

	53
	regulation 141(4)
	1 penalty unit

	54
	regulations 142(2), 143(4), 144(7) and 145(6)
	10 penalty units

	55
	regulations 146(2), 147(6), 148(2) and 149(3) 
	1 penalty unit

	56
	regulations 150(4), 151(3) and 152(6)
	10 penalty units

	57
	regulation 153(5)
	1 penalty unit

	58
	regulation 154(5)
	10 penalty units

	59
	regulation 155(4)
	5 penalty units

	60
	regulations 156(4), 157(3), 158(2) and 159(3)
	10 penalty units

	61
	regulation 160(2)
	8 penalty units

	62
	regulations 162(4), 164(6), 166(4), 167(2), 168(2), 169(2), 170(2) and 171(2)
	10 penalty units

	63
	regulation 172(3)
	5 penalty units

	64
	regulations 173(3) and 175(2)
	10 penalty units

	65
	regulation 176(2)
	5 penalty units

	66
	regulation 178(4)
	10 penalty units

	67
	regulation 182(2)
	20 penalty units

	68
	regulation 191(3)
	10 penalty units

	69
	regulation 196(2) and (5)
	5 penalty units

	70
	regulations 198(1) and 200(5) 
	10 penalty units


7 Repeal of Regulations

These Regulations are repealed on the day after they commence.

PAGE  
Electrical Safety Amendment Regulations 2026
i

